Bansilal Ramnath Agarwal Charitable Trust’s

Vishwakarma Institute of Technology

(An Autonomous Institute affiliated to University of Pune)

Structure & Syllabus of

B.Tech. (Instrumentation and Control Engineering)

Pattern ‘F-11_Revised’

Effective from Academic Year 2014-15

(S.Y. B.Tech. onwards)

Prepared by: - Board of Studies in Instrumentation & Control Engineering

Approved by: - Academic Board, Vishwakarma Institute of Technology, Pune

Signed by

Chairman – BOS 	     Chairman – Academic Board

Content

| Sr. No. | Title | Page No. |
| --- | --- | --- |
|  |  | Course Structure | 6 |
| 2 |  | Course Syllabi for courses - Module III | 15 |
|  | 2.1 | Theory Courses: |  |
|  | 2.1a | IC20101 | Signals & Systems | 16 |
|  | 2.1b | IC20103 | Sensors & Transducers for Mechanical Measurements | 18 |
|  | 2.1c | IC20105 | Electrical Circuits and Measurements | 20 |
|  | 2.1d | IC20107 | Electronic Devices and Circuits | 22 |
|  | 2.1e | IC21101 | Network Theory | 24 |
|  | 2.2 | Tutorial Courses: |  |
|  | 2.2a | IC20201 | Signals & Systems | 25 |
|  | 2.2b | IC21201 | Network Theory | 26 |
|  | 2.3 | Laboratory Courses: |  |
|  | 2.3a | IC20307 | Sensors & Transducers for Mechanical Measurements | 27 |
|  | 2.3b | IC20303 | Electrical Circuits and Measurements | 28 |
|  | 2.3c | IC20309 | Electronic Devices and Circuits | 29 |
|  | 2.4 | Skills Development Courses: (Laboratory) |  |
|  | 2.4a | IC24311 | Applications of Electronic Instrumentation | 30 |
|  | 2.4b | IC24307 | VB & JAVA | 31 |
|  | 2.5 | IC20401 | Comprehensive Viva Voce | 33 |
|  | 2.6 | IC27401 | Mini Project | 34 |
|  | 2.7 | General Proficiency Courses | 35 |
|  | 2.7a | HS25301 | Campus Recruitment Training | 36 |
|  | 2.7b | HS25303 | Corporate Craft | 37 |
|  | 2.7c | HS25304 | Corporate Soft Skills | 38 |
|  | 2.7d | HS25305 | CRT: Foundation Workshop IT | 39 |
|  | 2.7e | HS25306 | CRT: Foundation Workshop Non IT | 40 |
|  | 2.7f | HS25307 | Digital Photography | 41 |
|  | 2.7g | HS25308 | Floor Exercise | 42 |
|  | 2.7h | HS25309 | Guitar | 43 |
|  | 2.7i | HS25310 | Flute | 44 |
|  | 2.7j | HS25311 | Numerology | 45 |
|  | 2.7k | HS25314 | Photography | 46 |
|  | 2.7l | HS25317 | Self Defense : Taekwondo | 47 |
|  | 2.7m | HS25318 | Spirit of Entrepreneurship | 48 |
|  | 2.7n | HS25319 | Synthesizer | 49 |
|  | 2.7o | HS25320 | Volleyball | 50 |
|  | 2.7p | HS25321 | Yoga | 51 |
|  | 2.7q | HS25322 | Film Appreciation-Understanding Cinema | 52 |
|  | 2.7r | HS25323 | Business Communication Through Effective Presentation | 53 |
|  | 2.7s | HS25324 | Aerobics | 54 |
|  | 2.7t | HS25325 | Yoga And Pranayam | 55 |
|  | 2.8 | HS20108 | Technical Writing | 56 |
| 3 |  | ‘Separator’ - Module IV | 57 |
| 4 |  | Course Syllabi for courses - Module IV | 58 |
|  | 4.1 | Theory Courses: |  |
|  | 4.1a | IC20102 | Process Parameter Measurements | 58 |
|  | 4.1b | IC20104 | Control Systems | 60 |
|  | 4.1c | IC20106 | Linear Integrated Circuits | 63 |
|  | 4.1d | IC20108 | Digital Electronics | 65 |
|  | 4.1e | IC21102 | Data Structures | 67 |
|  | 4.2 | Tutorial Courses: |  |
|  | 4.2a | IC20204 | Control Systems | 68 |
|  | 4.2b | IC21202 | Data Structures | 69 |
|  | 4.3 | Laboratory Courses: |  |
|  | 4.3a | IC20306 | Process Parameter Measurements | 70 |
|  | 4.3b | IC20308 | Linear Integrated Circuits | 71 |
|  | 4.3c | IC20310 | Digital Electronics | 72 |
|  | 4.4 | Skills Development Courses: (Laboratory) |  |
|  | 4.4a | IC24302 | LATEX | 73 |
|  | 4.4b | IC24310 | LabView Programming | 74 |
|  | 4.5 | IC20402 | Comprehensive Viva Voce | 75 |
|  | 4.6 | IC27402 | Mini Project | 76 |
|  | 4.7 | General Proficiency Courses | 77 |
|  | 4.8 | HS20307 | General Seminar- II | 77 |
| 5 |  | ‘Separator’ - Module V | 78 |
| 6 |  | Course Syllabi for courses - Module V | 79 |
|  | 6.1 | Theory Courses: |  |
|  | 6.1a | IC30105 | Control System Components | 79 |
|  | 6.1b | IC31101 | Electronic Instrument and System Design | 81 |
|  | 6.1c | IC30103 | Microcontroller Based Systems | 83 |
|  | 6.1d | IC31105 | Digital Signal Processing | 85 |
|  | 6.1e | IC30107 | Unit Operations | 87 |
|  | 6.2 | Tutorial Courses: |  |
|  | 6.2a | IC30205 | Control System Components | 88 |
|  | 6.2b | IC31201 | Electronic Instrument and System Design | 89 |
|  | 6.3 | Laboratory Courses: |  |
|  | 6.3a | IC30305 | Control System Components & Electronic Instrument and System Design | 90 |
|  | 6.3b | IC30307 | Microcontroller Based Systems | 91 |
|  | 6.3c | IC30309 | Digital Signal Processing | 92 |
|  | 6.4 | Professional Development Courses: |  |
|  | 6.4a | IC33301 | Calibration and Standards | 93 |
|  | 6.4b | IC33311 | Graphical User Interface for Embedded Systems | 94 |
|  | 6.4c | IC33313 | Lab view applications | 95 |
|  | 6.5 | IC30401 | Comprehensive Viva Voce | 97 |
|  | 6.6 | IC37301 | Seminar | 98 |
|  | 6.7 | IC37401 | Mini project | 99 |
| 7 |  | ‘Separator’ - Module VI | 100 |
| 8 |  | Course Syllabi for courses - Module VI | 101 |
|  | 8.1 | Theory Courses: |  |
|  | 8.1a | IC30102 | Process Loop Components | 101 |
|  | 8.1b | IC30110 | Industrial Automation | 103 |
|  | 8.1c | IC30106 | Biomedical Instrumentation | 105 |
|  | 8.1d | IC30108 | Modern Control Theory | 107 |
|  | 8.1e | IC31108 | Analytical Instrumentation | 109 |
|  | 8.2 | Tutorial Courses: |  |
|  | 8.2a | IC30206 IC30206 | Industrial Automation | 110 |
|  | 8.2b | IC30208 | Modern Control Theory | 111 |
|  | 8.3 | Laboratory Courses: |  |
|  | 8.3a | IC30306 | Biomedical Instrumentation and Analytical Instrumentation | 112 |
|  | 8.3b | IC30310 | Industrial Automation | 113 |
|  | 8.3c | IC30308 | Process Loop Components | 114 |
|  | 8.4 | Professional Development Courses: |  |
|  | 8.4a | IC33309 | Image Processing with Matlab | 115 |
|  | 8.4b | IC33315 | Joint time Frequency Analysis | 116 |
|  | 8.4c | IC33307 | Flow Measurement | 117 |
|  | 8.5 | IC30402 | Comprehensive Viva Voce | 118 |
|  | 8.6 | IC37302 | Project Stage - I | 119 |
| 9 |  | ‘Separator’ - Module VII | 120 |
| 10 |  | Course Syllabi for courses - Module VII | 121 |
|  | 10.1 | Theory Courses: |  |
|  | 10.1a | IC40101 | Project Engineering & Management | 121 |
|  | 10.1b | IC40103 | Process Control | 123 |
|  | 10.2 | Elective Courses: |  |
|  | 10.2a | Elective -1 Courses |  |
|  | 10.2ai | IC42113 | Hybrid-Electric Vehicle – Power Electronics & Electric Machines | 125 |
|  | 10.2aii | IC42115 | Signal Processing for Embedded Systems | 128 |
|  | 10.2aiii | IC42117 | Biomedical Signal Processing | 131 |
|  | 10.2b | Elective -2 Courses |  |
|  | 10.2bi | IC42107 | Control System Design | 133 |
|  | 10.2bii | IC42109 | Power Plant Instrumentation | 135 |
|  | 10.2biii | IC42111 | VLSI Design | 137 |
|  | 10.3 | Tutorial Courses: |  |
|  | 10.3a | Elective -1 Courses |  |
|  | 10.3ai | IC42213 | Hybrid-Electric Vehicle – Power Electronics & Electric Machines | 139 |
|  | 10.3aii | IC42215 | Signal Processing for Embedded Systems | 140 |
|  | 10.3aiii | IC42217 | Biomedical Signal Processing | 141 |
|  | 10.3b | Elective -2 Courses |  |
|  | 10.3bi | IC42207 | Control System Design | 142 |
|  | 10.3bii | IC42209 | Power Plant Instrumentation | 143 |
|  | 10.3biii | IC42211 | VLSI Design | 145 |
|  | 10.4 | Laboratory Courses: |  |
|  | 10.4a | IC40301 | Project Engineering and Management | 146 |
|  | 10.4b | IC40303 | Process Control | 147 |
|  | 10.4c | IC47301 | Project Stage – II | 148 |
| 11 |  | ‘Separator’ - Module VIII | 149 |
| 12 |  | Course Syllabi for courses - Module VIII | 150 |
|  | 12.1 | Theory Courses: |  |
|  | 12.1a | IC40102 | Process Instrumentation | 150 |
|  | 12.1b | IC40106 | Digital Control | 152 |
|  | 12.2 | Elective Courses: |  |
|  | 12.2a | Elective -3 Courses |  |
|  | 12.2ai | IC42102 | Robotics | 154 |
|  | 12.2aii | IC42104 | Communication Protocols | 156 |
|  | 12.2aiii | IC42116 | Batch Process Control | 158 |
|  | 12.2b | Elective -4 Courses |  |
|  | 12.2bi | IC42108 | Process Modeling & Optimization | 160 |
|  | 12.2bii | IC42110 | Building Automation & Security Systems | 162 |
|  | 12.2biii | IC42114 | Industrial Flow Measuring Techniques | 164 |
|  | 12.3 | Tutorial Courses: |  |
|  | 12.3a | Elective -3 Courses |  |
|  | 12.3ai | IC42202 | Robotics | 166 |
|  | 12.3aii | IC42204 | Communication Protocols | 167 |
|  | 12.3aiii | IC42206 | Batch Process Control | 168 |
|  | 12.3b | Elective -4 Courses |  |
|  | 12.3bi | IC42208 | Process Modeling & Optimization | 169 |
|  | 12.3bii | IC42210 | Building Automation & Security Systems | 170 |
|  | 12.3biii | IC42212 | Industrial Flow Measuring Techniques | 171 |
|  | 12.4 | Laboratory Courses: |  |
|  | 12.4a | IC40302 | Process Instrumentation | 172 |
|  | 12.4b | IC40306 | Digital Control | 174 |
|  | 12.4c | IC47304 | Project Stage –III | 175 |

$ Please Refer Academic Information Section

! Please Refer F.E.B.E. Structure and Syllabi Booklet

@ Please Refer GP-PD-OE Structure & Syllabi Booklet

Bansilal Ramnath Agarwal Charitable Trust’s

VISHWAKARMA INSTITUTE OF TECHNOLOGY – PUNE

(An autonomous Institute affiliated to University of Pune)

666, Upper Indiranagar, Bibwewadi, Pune – 411 037.

FF No. 653														Issue 4, Rev. 1 , Dt. 01/03/2014

S.Y. B.Tech - Instrumentation and Control Engineering Structure Pattern F-11_Revised

Module 3                                               [With Effective from AY: 2014-15]

| Code | Sub | Type | Subject | Teaching Scheme | Assessment Scheme | Credits |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | P | Tut. | ISA | ESA |  |
|  |  |  |  |  |  |  | Test 1 | Test 2 | HA | Tut. | CA | ESE |  |
| IC20101 | S1 | Theory core | Signals & Systems | 3 | - | 1 | 10 | 20 | 5 | 5 | - | 60 | 4 |
| IC20103 | S2 | Theory core | Sensors & Transducers for Mechanical Measurements | 3 | - |  | 15 | 20 | 5 |  | - | 60 | 3 |
| IC20105 | S3 | Theory core | Electrical Circuits and Measurements | 3 | - | - | 15 | 20 | 5 | - | - | 60 | 3 |
| IC20107 | S4 | Theory core | Electronic Devices and Circuits | 3 | - | - | 15 | 20 | 5 | - | - | 60 | 3 |
| IC21101 | S5 | Theory MD | Network Theory | 2 | - | 1 | 10 | 20 | 5 | 5 | - | 60 | 3 |
| IC20307 | Lab 1 | Lab Core | Sensors & Transducers for Mechanical Measurements | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC20303 | Lab 2 | Lab Core | Electrical Circuits and Measurements | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC20309 | Lab 3 | Lab Core | Electronic Devices and Circuits | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC24311 | Lab 4 | Lab- SD | Applications of Electronic Instrumentation | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC24307 |  |  | VB & JAVA |  |  |  |  |  |  |  |  |  |  |
|  | Lab 5 | Lab-GP3 | Softskills | - | 2 | - | - | - | - | - | 70 | 30 | 1 |
| IC27401 | Mini Proj. | Project | Mini Project | - | 4 | - | - | - | - |  | 70 | 30 | 2 |
| IC20401 | CVV | oral | Comprehensive Viva Voce | - | - | - | - | - | - | - | - | 100 | 2 |
|  |  |  | TOTAL | 14 | 14 | 2 |  |  |  |  |  |  | 25 |

Bansilal Ramnath Agarwal Charitable Trust’s

VISHWAKARMA INSTITUTE OF TECHNOLOGY – PUNE

(An autonomous Institute affiliated to University of Pune)

666, Upper Indiranagar, Bibwewadi, Pune – 411 037.

FF No. 653														Issue 4, Rev. 1 , Dt. 01/03/2014

S.Y. B.Tech - Instrumentation and Control Engineering Structure Pattern F-11_Revised

Module 4                                       [With Effective from AY:  2014-15]

| Code | Sub | Type | Subject | Teaching Scheme | Assessment Scheme | Credits |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | P | Tut. | ISA | ESA |  |
|  |  |  |  |  |  |  | Test 1 | Test 2 | HA | Tut. | CA | ESE |  |
| IC20102 | S1 | Theory core | Process Parameter Measurements | 3 | - |  | 15 | 20 | 5 | - | - | 60 | 3 |
| IC20104 | S2 | Theory core | Control Systems | 3 | - | 1 | 10 | 20 | 5 | 5 | - | 60 | 4 |
| IC20106 | S3 | Theory core | Linear Integrated Circuits | 3 | - | - | 15 | 20 | 5 | - | - | 60 | 3 |
| IC20108 | S4 | Theory core | Digital Electronics | 3 | - | - | 15 | 20 | 5 | - | - | 60 | 3 |
| IC21102 | S5 | Theory MD | Data Structures | 2 | - | 1 | 10 | 20 | 5 | 5 | - | 60 | 3 |
| IC20306 | Lab 1 | Lab Core | Process Parameter Measurements | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC20308 | Lab 2 | Lab Core | Linear Integrated Circuits | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC20310 | Lab 3 | Lab Core | Digital Electronics | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC24302 | Lab 4 | Lab-SD | LaTeX | - | 2 | - | - | - | - |  | 70 | 30 | 1 |
| IC24310 |  |  | Labview Programming |  |  |  |  |  |  |  |  |  |  |
|  | Lab 5 | Lab-GP4 | Softskills | - | 2 | - | - | - | - | - | 70 | 30 | 1 |
| IC27402 | Mini Proj. |  | Mini Project | - | 4 | - | - | - | - |  | 70 | 30 | 2 |
| IC20402 | CVV | Comprehensive Viva Voce | - | - | - | - | - | - | - | - | 100 | 2 |
|  |  | TOTAL | 14 | 14 | 2 |  |  |  |  |  |  | 25 |

Bansilal Ramnath Agarwal Charitable Trust’s

VISHWAKARMA INSTITUTE OF TECHNOLOGY – PUNE

(An autonomous Institute affiliated to University of Pune)

666, Upper Indiranagar, Bibwewadi, Pune – 411 037.

FF No. 653														Issue 4, Rev. 1 , Dt. 01/03/2014

S.Y. B.Tech  - Instrumentation and Control Engineering Structure Pattern F-11_Revised

Semester I – Irrespective of Module                         [With Effective from AY:2014-15]

| Code | Sub Type | Subject | Teaching Scheme | Assessment Scheme | Credits |
| --- | --- | --- | --- | --- | --- |
|  |  |  | L | P | Tut. | ISA | ESA |  |
|  |  |  |  |  |  | Test 1 | Test 2 | HA | Tut. | CA | ESE |  |
| HS20108 | Lab | Technical Writing | - | 2 | - | - | - | - | - | 70 | 30 | 1 |
| TOTAL | - | 2 | - |  |  |  |  |  |  | 1 |

S.Y. B.Tech  - Instrumentation and Control Engineering Structure Pattern F-11_Revised

Semester II – Irrespective of Module

| Code | Sub Type | Subject | Teaching Scheme | Assessment Scheme | Credits |
| --- | --- | --- | --- | --- | --- |
|  |  |  | L | P | Tut. | ISA | ESA |  |
|  |  |  |  |  |  | Test 1 | Test 2 | HA | Tut. | CA | ESE |  |
| HS20307 | Lab | General Seminar-II | - | 2 | - | - | - | - | - | 70 | 30 | 1 |
| TOTAL | - | 2 | - |  |  |  |  |  |  | 1 |

FF No. : 654

IC20101 :: SIGNALS AND SYSTEMS

| Credits: 03 | Teaching Scheme: - Theory 3 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical engineering, electronic devices and circuits.

Objectives: Upon completion of this course, student should be able to: Know the fundamentals of systems. Understand fundamentals of Fourier, Z transform. Correlation of transforms with system.

| Unit I | (8+1 Hrs) |
| --- | --- |
| Continuous and Discrete time Signals and Systems |
| A. Continuous and Discrete Time Signals: Mathematical Representation, Classification: Periodic and aperiodic Signals, Even and Odd Signals, Signal Energy and Power Transformations of the Independent Variable, Arithmetic Operations on Sequences, Standard test signals: Unit Step, unit Impulse, Continuous Time and Discrete Time Complex Exponential. Continuous and Discrete Systems: Interconnections of Systems, Basic System Properties. |
| B. Numerical on verifying system properties. |

| Unit II | (8+1 Hrs) |
| --- | --- |
| Linear Time Invariant Systems |
| A. Representation of Discrete Time Signals in Terms of impulse, Convolution Sum, Convolution Integral, Properties of LTI Systems (Commutative, Distributive, Associative properties, Inevitability, Causality, Stability). Unit Step Response of an LTI System, LTI Systems Described by Differential and the Difference Equations; FIR and IIR systems. |
| B. Analysis of first order systems described by differential and the difference equations. |

| Unit III | (8+1 Hrs) |
| --- | --- |
| Laplace transforms |
| A. Introduction and definition of Laplace transform, Laplace transforms of conventional functions, properties of Laplace Transform, inverse Laplace Transform. Concept of ROC and relevance to system analysis. |
| B. Laplace transform of special functions, Applications to Engineering Problems. |

| Unit IV | (8+1 Hrs) |
| --- | --- |
| Fourier Series & Z Transform |
| A. Trigonometric and exponential Fourier series, Representation of continuous signal using Fourier series, symmetry conditions, Introduction to Z Transform, properties of Z transform. System function and Z transform, Concept of ROC. |
| B. Computation of Computation of Inverse Z transform. |

| Unit V | (8+1 Hrs) |
| --- | --- |
| Introduction to Probability |
| A. Random variables, Probability distributions, Mean and variance of distributions, Binomial, Poission, Hypergeometric and Normal distributions. Regression and correlation analysis of the given data. |
| B. Computation of regression functions for random data. |

Text Books “Signals and Systems”, A. Oppenheim, A. Willsky and S. Nawab, Prentice- Hall of India Private Limited. “Continuous and Discrete Signal and Systems”, S. Soliman and M. Srinath, Prentice Hall Inc.

Reference Books “Signals and Systems”, S. Haykin & B. Veen, John Wiley and Sons, Inc. “Signals and Systems Analysis using , Transform Methods and MATLAB”, M. Roberts, Tata McGraw-Hill Publishing Company Limited,

FF No. : 654

IC20103 :: Sensors and Transducers for Mechanical Measurements

| Credits: 03 | Teaching Scheme: Theory 3 Hrs/Week |
| --- | --- |

| Prerequisites: Knowledge of basic Physics concepts. |
| --- |
| Objectives: Upon completion of this course, student should be able to: Know the fundamentals of sensors and transducers. Select suitable sensor for given applications. Can build suitable measurement technique. |
| Unit I | (8+1 Hrs) |
| Displacement Measurement |
| A: Transducer definition, classification, and performance characteristics. Resistive: Potentiometer and its types, loading effect, sensitivity, piezo-resistive, equivalent circuits, charge and voltage sensitivity. Inductive: LVDT, RVDT, variable, reluctance, self-inductance and mutual inductance. Capacitive: single plate, differential capacitance cell and measurement circuits. Digital transducers: encoders – types of translational and rotary encoders. Proximity sensors: inductive, capacitive, optical, ultrasonic, hall-effect and magnetic. Flapper nozzle: sensitivity, characteristics, its applications in air gauging, Thickness measurement - magnetic, dielectric, LASER, capacitive, ultrasonic and LVDT. |
| B: Specifications of sensors, static and dynamic characteristics calculations, selection criteria for sensors. |
| Unit II | (8+1 Hrs) |
| Velocity and Speed Measurement |
| A: Mechanical revolution counters, hand held, vibrating reed, centrifugal force, stroboscopes, toothed rotor, eddy current, capacitive tachometer, electromagnetic transducers (moving coil, moving magnet), AC and DC tachometers. |
| B: Hall effect proximity pickup, capacitive, photoelectric, photo-reflective, pulse counting method, Doppler Laser and radar type. |
| Unit III | (8+1 Hrs) |
| Acceleration, Vibration, Shock and Jerk Measurement |
| A: Acceleration measurement: seismic, potentiometer, angular accelerometer, variable reluctance, eddy current proximity sensor. Vibration, shock and jerk measurement: vibrometer, vibration exciters, jerk meter. Vibrometer, Vibration exciters, Jerk meter. Seismic, Potentiometer, Angular Accelerometer, Variable Reluctance, Eddy Current proximity sensor Vibration, Shock and Jerk Measurement Vibrometer, Vibration exciters, Jerk meter. |
| B: capacitive, strain gauge, LVDT, piezoelectric, calibration of accelerometers. |
| Unit IV | (8+1 Hrs) |
| Strain, Force, and Torque Measurement |
| A: Strain measurement: principle, strain gauge, types, gauge factor, gauge wire properties, rosettes and measurement circuits. Force measurement: basic methods of force measurement, strain gauges, piezoelectric. Torque measurement: In-line rotating and stationery, torsion bar. Shaft power measurement: belt, gear dynamometer, absorption dynamometer types. Weight measurement: load cells - electromagnetic, vibrating string, magneto-strictive, magneto-elastic and cantilever beam. |
| B: Strain measurement: strain gauge mounting and compensation circuits. Force measurement: using LVDT and vibrating wire type. Torque measurement: inductive, photoelectric, proximity sensor and strain gauge. Shaft power measurement: instantaneous and alternator power measurement. Weight measurement: LVDT, strain gauge, inductive, piezo-electric principles. comparison of pneumatic, hydraulic and electronic Load cell. |
| Unit V | (8+1 Hrs) |
| Temperature Measurement |
| A: Temperature scales, units and relations, classification of temperature sensors. Mechanical: bimetallic thermometer, its working principle, various types Filled system thermometers and SAMA classifications. Electrical: Resistance temperature detectors, its types and comparison, circuits for lead wire compensation, Thermocouple: laws of thermoelectricity, terminologies, types (B, E, J, K, R, S, T), characteristics, study of thermocouple tables, lead wire compensation, cold junction compensation techniques, protection (Thermo well), EMF Measurement methods. |
| B: Thermometers: sources of errors and their remedies, Thermistor: its types (NTC, PTC), measuring circuits, thermopiles, heat-flux measurement. |
| Text Books “Instrumentation Measurement and Analysis”, Nakra-Chaudhary, Tata McGraw Hill Publications -21st Reprint. “Electrical and Electronic Measurements and Instrumentation”, A. K. Sawhney, Dhanpat Rai and Sons Publications, 2002. “Mechanical and Industrial Measurement”, R. K. Jain, Khanna Publications - 9th print. |
| Reference Books “Process Measurement and Analysis”, B. G. Liptak, Butterworth Heinemann, Third Edition. “Measurement System Application and Design”, E. O. Doebelin, McGraw-Hill International Publications - Fourth Edition. |

FF No. : 654

IC20105 :: Electrical circuits and measurements

| Credits: 03 | Teaching Scheme: Theory 3 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical concepts.

Objectives: Upon completion of this course, student should be able to: Know the fundamentals of electrical measurements. Understand electrical circuits and analysis.

| Unit I | (8+1 Hrs) |
| --- | --- |
| Introduction to Measurement |
| A: Static and Dynamic characteristics of instruments, dead zone, hysteresis, threshold, resolution, noise, input and output impedance, loading effects, fundamentals of Measurements, classification of errors and error analysis, calibration of instruments, traceability, calibration report and certification. |
| B: Problem on static characteristics. |
| Unit II | (8+1 Hrs) |
| Analog Indicating Instruments |
| A: DC measuring instruments, PMMC galvanometer, voltmeters, ammeters, ohmmeters, etc. Power measurement using wattmeters and energy meter. Analog multimeter and measurements. Extension of voltmeter and ammeter ranges. AC indicating instruments, DC Potentiometers, self-balancing potentiometers. Moving iron instruments. B: Problem on static voltmeters and ammeters. |

| Unit III Bridge Circuits | (8+1 Hrs) |
| --- | --- |
| A: DC bridges: Wheatstone bridge and Kelvin bridge design, bridge sensitivity, errors in bridge circuits, null type and deflection type bridges, current sensitive and voltage sensitive bridges, applications of DC bridges. AC bridges: Maxwell bridge, Hey bridge, Schering bridge, Wein bridge, storage and dissipation factor, applications of AC bridges. |
| B: Applications of AC bridges. |

| Unit IV | (8+1 Hrs) |
| --- | --- |
| Oscilloscope and Recorder |
| A: Principle and construction of CRO, Screens features for oscilloscopes, Block diagram of oscilloscope Vertical and Horizontal deflection system, probes and operating modes etc. Measurement of electrical parameters like voltage, current, frequency, phase, Waveform Displays on CRO, Dual Trace oscilloscope, Dual Beam oscilloscope and Lissajous patterns on CRO. Sampling oscilloscope principle, working and applications. |
| Principle and working of strip chart and X-Y recorders. B: Specifications of CRO, Data acquisition systems and data loggers. |
| Unit V | (8+1 Hrs) |
| Basic Circuit Analysis and Simplification Techniques |
| A: Voltage and Current laws (KVL/KCL). Network Analysis: Mesh, Super mesh, Node and Super Node analysis. Source transformation and source shifting. Network Theorems: Superposition, Thevenin’s, Norton’s and Maximum Power Transfer Theorems, Millers Theorem and its dual. Analysis of two-port network: T, Pi and Lattice. |
| B: Problems based content in part A. |
| Text Books “Electrical and Electronic Measurements and Instrumentation”, A. K. Sawhney, Dhanpat Rai and Sons Publications, 2002. D Roy Choudary, “Network and Systems” 1st edition, New Age International, 1988. |
| Reference Books “Measurement System Application and Design”, E. O. Doebelin, McGraw-Hill International Publications - Fourth Edition. W. D. Cooper & A. D. Helfrick, ‘Electronic Instrumentation And Measurement Techniques’, PHI, 4th e/d, 1987. |

FF No. : 654

IC20107 :: ELECTRONIC DEVICES AND CIRCUITS

| Credits: 03 | Teaching Scheme: - Theory 3 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical concepts.

Objectives: Upon completion of this course, student should be able to: Know the fundamentals of electronic circuits and components. Implement amplifier circuits using electronic components. Design and implement regulated power supplies for electronic devices.

| Unit I | (8+1 Hrs) |
| --- | --- |
| P-N junction diodes |
| A. Semiconductor: Different semiconductor materials. Impurity doping. Intrinsic and extrinsic semiconductors. P-N junction diodes, Contact potential, Current components, Forward and reverse biased junctions, V-I characteristics, Equivalent circuits. Transition and diffusion capacitance. Zener diodes, Schottky diode, Photo diode, LED. Varactor diode. Breakdown diodes. Half wave, full wave, and bridge rectifiers. Capacitor input filters, ripple voltage and ripple factor. Zener series, shunt and feedback regulator and circuit. |
| B. Design, analysis and applications of various diode circuits including clipping, clamping and voltage multipliers. |

| Unit II | (8+1 Hrs) |
| --- | --- |
| Bipolar Junction Transistors |
| A. Basic BJT theory, Different modes of operation and configurations. Transistor current components. Transistor α, Current amplification β. Transistor CC, CB, CE configurations and switching characteristics, Transistor switching applications, astable, bistable, and mono-stable multivibrator. Current mirror circuit, constant current source. Photo-voltaic effect, Photo-cell transistors. |
| B. Selection of transistor for required application and datasheet interpretation. |
| Unit III | (8+1 Hrs) |
| Transistor Amplifiers |
| A. Classification of small signal amplifiers, biasing circuits, stability and thermal runaway. Class A, B, AB, C operations, CC and CE - RC coupled amplifiers and analysis, DC and Transformer coupled amplifiers. Push pull and complementary push pull amplifiers. Introduction to hybrid parameters. |
| B. Selection, design and implementation of transistor amplifier for various applications. |
| Unit IV | (8+1 Hrs) |
| Field Effect Transistors |
| A. Construction, characteristics, biasing circuits and applications. MOSFETs: Types, construction, characteristics and applications UJT: Construction, characteristics, and relaxation oscillator. Oscillators: Principle classification of oscillators. Study of Hartley, Colpitts and phase shift oscillators. |
| B. Selection of FET, MOSFET and UJT for various applications. |

| Unit V | (8+1 Hrs) |
| --- | --- |
| Power Devices |
| A. Power devices: Thyristor family - SCR, TRIAC, DIAC – operation and VI characteristics. Triggering. Power diodes, power transistors, IGBT, MOV and GTOs fabrication and V-I characteristics. |
| B. Classification and comparison of above power devices |

Text Books “Electronic Devices & Circuits”, A. Mottershead, Prentice Hall of India. “Electronic Principles”, A. P. Malvino Tata McGraw-Hill Publishing Company Limited India. “Electronic Devices and Circuits”, J. Millman & C. Halkis, Tata McGraw Hill Publication Company Limited India.

Reference Books “Semiconductor Devices, Physics and Technology”, S. M. Sze , John Wiley & Sons Inc. “Semiconductor and Electronic Devices”, A. Bar-Lev, Prentice Hall of India. “Semiconductor physics and devices”, D. A. Neamen, Tata McGraw Hill India. “Solid state devices”, B. G. Streetman, Prentice Hall of India. 5 “Electronic Devices & Circuit Theory”, R. Boylestad & L. Nashelsky L, Prentice Hall Of India. 6. “Electronic Devices and Circuits”, D. A. Bell Prentice Hall Of India.

FF No. : 654

IC21101 :: NETWORK THEORY

| Credits: 02 | Teaching Scheme: - Theory 2 Hrs/Week |
| --- | --- |

Prerequisites: Basic electrical circuit concepts

Objectives: Upon completion of this course, student should be able to: Understand all basic network concepts Analyze any electrical circuit using network concepts

Unit I : Basic Circuit Analysis and Simplification Techniques                           (7+1 Hrs)

A. Voltage and current sources, Kirchhoff’s Current and Voltage Laws, Independent and dependent sources and their interconnection, and power calculations. Source transformation and source shifting. Network Analysis: Mesh, Super-mesh, Node and Super Node analysis.

B. Application based numericals on network analysis

Unit II :  Network Theorems	   	     				           (5+1Hrs)

A. Superposition, Thevenin’s, Norton’s, Maximum Power Transfer, Millman’s, Compensation, Tellegan’s theorems.

B. Reciprocity and Substitution theorems

Unit III: Passive Circuit Analysis					                      (6+1 Hrs)

A. Initial conditions, source free RL and RC circuits, properties of exponential response, Driven RL and RC circuits, Passive filter analysis

B. Introduction to Source free and driven series RLC circuit

Unit IV : Two Port Network Parameters and Functions                                  (6+1 Hrs)

A. Terminal characteristics of network, h and ABCD Parameters, Applications of the parameters. Introduction to four port network.

B. Z and Y parameters of a network

Text Books D Roy Choudhury, Networks and Systems, New Age International Publishers. A. Chakrabarti, Circuit Theory, Dhanpat Rai & Company.

Reference Books M. E. Van Valkenburg, Network Analysis, PHI / Pearson Education, 3rd Edition. Reprint 2002 Franklin F. Kuo, Network analysis and Synthesis, , Wiley International Edition B.Somanahan Nair and S.R.Deepa, “ Network analysis and Synthesis “ Elsevier, 2012

FF No. : 654

IC20201 :: Signals and systems

| Credits: 01 | Teaching Scheme: Tutorial 1 Hr/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical engineering, electronic devices and circuits.

Objectives: Upon completion of this tutorials, student should be able to: Fundamentals of LTI systems and its properties. Able to formulate the system equation of simple LTI system.

# List of Tutorials :

Verify the properties of signals: Even, odd, periodic, aperiodic. Compute energy and power of the given discrete and continuous signal. Verify system properties as linearity, stability, time invariance. Compute step response of a system using convolution sum. Compute convolution integral of the continuous signals. Analysis of electrical networks using linear difference and differential equations. Analysis of mechanical and electrical networks using Laplace Transform Computation of Inverse Laplace Transform. Representation of the given signal using Exponential Fourier series. Computation of Inverse Z Transform. Computation of statistical attributes of the given random signal. Computation of correlation coefficient and regression analysis of the given dataset.

Text Books “Signals and Systems”, A. Oppenheim, A. Willsky and S. Nawab, Prentice- Hall of India Private Limited. “Continuous and Discrete Signal and Systems”, S. Soliman and M. Srinath, Prentice Hall Inc.

Reference Books “Signals and Systems”, S. Haykin & B. Veen, John Wiley and Sons, Inc. “Signals and Systems Analysis using, Transform Methods and MATLAB”, M. Roberts, Tata McGraw-Hill Publishing Company Limited.

FF No. : 654

IC21201 :: NETWORK THEORY

| Credits: 01 | Teaching Scheme: Tutorial 1 Hr/Week |
| --- | --- |

Prerequisites: Basic network analysis concepts

Objectives: Upon completion of this course: Students will be familiarized with various circuit analysis techniques Students’ mathematical and analytical skills of network analysis will get enhanced Student will be able to apply network analysis concepts to actual circuits

# List of Tutorials :

Problems solving on KCL and KVL Problem solving on Power Calculation Network Analysis of any given circuit Problems based on Superposition and Thevenin’s theorem Problems on Maximum Power Transfer Theorem Problems based on Compensation, Tellegan’s theorems Network Analysis of RLC circuit Analysis of High Pass filter with RC and RL circuits Analysis of a Band Stop filter with RLC circuits. Find the terminal characteristics of network Find the ABCD parameters of a given network Find the Y parameters of a given network

Text Books William H Hayt, Jack E Kimmerly and Steven M.Durbin, Engineering Circuit Analysis, Tata McGraw Hill. D Roy Choudhury, Networks and Systems, New Age International Publishers.

Reference Books John D. Ryder, Network Lines and Fields by, PHI M. E. Van Valkenburg, Network Analysis, PHI / Pearson Education, 3rd Edition. Reprint 2002 Franklin F. Kuo, Network analysis and Synthesis, , Wiley International Edition. B. Somanahan Nair and S.R.Deepa, “ Network analysis and Synthesis” Elsevier.

FF No. : 654

| IC20307 :: Sensors and Transducers for Mechanical Measurements |
| --- |
| Credits: 01 | Teaching Scheme: - Laboratory 2 Hrs/Week |

Prerequisites: Knowledge of basic Physics concepts.

Objectives: Upon completion of this course, student should be able to: Understand the fundamentals of sensors and transducers. Can build suitable measurement technique.

List of Practicals :

- To find the static characteristics of  LVDT

- Measurement of Angular  and Linear  displacement using encoder

- Measurement of speed using optical sensor

- Measurement of speed Tachometer.

- To find characteristic of Load cell.

- Study of different types of Proximity switches.

- Measurement of vibration using Accelerometer.

- To plot characteristic of RTD sensor.

- To plot characteristic of thermocouple.

- Study of motor torque measurement technique.

- To study various measurement circuits of strain gauge.

- To study Hall effect senor

Text Books “Instrumentation Measurement and Analysis”, Nakra-Chaudhary, Tata McGraw Hill Publications. “Electrical and Electronic Measurements and Instrumentation”, A. K. Sawhney, Dhanpat Rai and Sons Publications.

Reference Books “Process Measurement and Analysis”, B. G. Liptak, Butterworth Heinemann. “Measurement System Application and Design”, E.O. Doebelin, McGraw-Hill International Publications.

FF No. : 654

IC20303 :: Electrical circuits and measurements

| Credits: 01 | Teaching Scheme: - Laboratory 2 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical concepts.

Objectives: Upon completion of this course, student should be able to: Know the fundamentals of electrical measurements. Understand electrical circuits and analysis.

# List of Practicals :

- Measurement of voltage using PMMC voltmeter and extension of its range.

- Measurement of current using PMMC ammeter and extension of its range.

- Design and implementation of series type ohmmeter.

- Design and implementation of shunt type ohmmeter.

- Measurement of power using wattmeter.

- Measurement of power using energy meter.

- Measurement of unknown resistance using Wheatstone bridge.

- Measurement of unknown resistance and capacitance using Schering bridge.

- Measurement of ac and dc voltages, currents, time period and frequency using an analog oscilloscope.

- Measurement of frequency ratio and phase shift using Lissagious pattern on analog oscilloscope.

- Verification of voltage and current laws (KVL/KCL).

- Network testing and analysis using superposition theorem.

Text Books “Electrical and Electronic Measurements and Instrumentation”, A. K. Sawhney, Dhanpat Rai and Sons Publications, 2002. D Roy Choudary, “Network and Systems” 1st edition, New Age International, 1988.

Reference Books “Measurement System Application and Design”, E. O. Doebelin, McGraw-Hill International Publications - Fourth Edition. W. D. Cooper & A. D. Helfrick, ‘Electronic Instrumentation And Measurement Techniques’, PHI, 4th e/d, 1987.

FF No. : 654

IC20309 :: ELECTRONIC DEVICES AND CIRCUITS

| Credits: 01 | Teaching Scheme: - Laboratory 2 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical concepts and semiconductor physics.

Objectives: Upon completion of this course, student should be able to: Understand behavior and properties of semiconductor devices. Analyze working of given circuits. Build basic circuits using semiconductor devices.

# List of Practicals:

- To study and verify diode characteristics (Si and Ge).

- To design and implement diode based clipper and clamper circuits.

- To implement and analyze half wave and full wave rectifier.

- To design and implement Zener diode based shunt regulator.

- To design and implement analog low pass and high pass filters.

- To study and verify transistor Common Emitter characteristics.

- To Study the effects of various transistor biasing circuits on Q-point stability.

- To design and verify transistorized astable multivibrator.

- To Study and verify FET characteristics.

- To design and verify UJT relaxation oscillator.

- To determine Holding and Latching current (IH and IL ) for given SCR

- To study and analyze DIAC/TRIAC characteristics.

Text Books “Electronic Devices & Circuits”, A. Mottershead, Prentice Hall of India. Electronic Principles”, A. P. Malvino Tata McGraw-Hill Publishing Company Limited India.

Reference Books “Semiconductor and Electronic Devices”, A. Bar-Lev, Prentice Hall of India. “Semiconductor devices and Circuit Theory”, Robert Boylestad, Pearson edition. “Electronic Devices-Conventional Current Version”, Floyd, Pearson Education.

FF No. : 654

IC24311 :: APPLICATIONS OF ELECTRONIC INSTRUMENTATION

| Credits: 01 | Teaching Scheme: - Laboratory 2 Hrs/Week |
| --- | --- |

Prerequisites: Knowledge of basic electrical concepts.

Objectives: Upon completion of this course, student should be able to: Understand the various Electronic Instruments Understand the engineering applications of Electronic Instruments Use various electronic measurements for testing of electrical and electronic parameters

# List of Practicals :

Study of operation of CRO and its specifications. Electronic measurements using CRO - voltage, frequency, time period, phase difference, peak value, peak to peak value and RMS value Study of operation of DSO and its specifications. Study the use of DSO to store and analyze signals and measure frequency, time period, phase difference, peak value, peak to peak value ,duty cycle and RMS values Study of Function Generator and its application. To find the output impedance of function generator Study of operation of DMM and its specifications Measurement of the input impedance and frequency response of DMM. Component testing Resistor, Diode, Transistor using DMM Study the operation of Frequency Counter and its specifications Measurement of time, frequency using Frequency counter Study of Insulation tester for testing insulation of cables, transformer windings etc. Study of Power Supply and its various specifications Study of Distortion Meter and measurement of the distortion in various waveforms

Text Books “Electrical and Electronic Measurements and Instrumentation”, A. K. Sawhney, Dhanpat Rai and Sons Publications, 2002. Electronic Instrumentation by H. S. Kalsi, The Mc-Graw Hill Companies

Reference Books “Measurement System Application and Design”, E. O. Doebelin, McGraw-Hill International Publications - Fourth Edition. W. D. Cooper & A. D. Helfrick, ‘Electronic Instrumentation And Measurement Techniques’, PHI, 4th e/d, 1987.

FF No. : 654

IC24307 :: VB and JAVA

| Credits: 01 | Teaching Scheme: - Laboratory 2 Hrs/Week |
| --- | --- |

Prerequisites: Familiarity with one of the Microsoft Windows operating systems (Windows 95/98/2000/NT), Managing files within Windows, installing new application.

Objectives: Upon successful completion of this course, the student will be able to: Understand and use basic object oriented programming techniques. Create simple Java applets for use in web pages. Learn to program in Visual Basics.

# List of Practicals : Students should perform at least 6 experiments each from practical no. 1 to 10 and 6 experiments from 11 to 21.

# VB Programming

- To create a VB project to print Welcome to VB Programming on button click.

- To create a VB project for a simple calculator.

- To create a VB project to find roots of quadratic equation.

- To create a VB project to find average of 5 numbers

- To create a VB project to find prime number

- To create a VB project using timer

- To create a VB project to create a text file, access it.

- To create a VB project to a menu editor

- To create a VB project such that backend is C language and front end is VB

- To create a VB project to plot y = Mx +C.

JAVA Programming

- To create a JAVA Program for input output Operation.

- To create a JAVA Program for arithmetic Operation.

- To create a JAVA Program for declaring method with parameter.

- To create a JAVA Program using if…else statement.

- To create a JAVA Program using for and while loop statements.

- To create a JAVA Program for passing array to method.

- To create a JAVA Program using JOptionPane input and message dialogs for accepting input values from the user and display result.

- Accept two numbers add them and display the result.

- JAVA Program for creating JFrame to display shapes.

- JAVA Program for applet that draws a string.

- JAVA Program to create animations from sequence of images

Text Books “Java How to Program”, H. M. Deitel, P. J. Deitel, Prentice Hall of India Private Limited. VB in 21 days

Reference Book: Schaum’s outlines Visual Basic, Byron S. Gottfried.

FF No. : 654

IC20401 :: COMREHENSIVE VIVA VOCE

| Credits: 01 |  |
| --- | --- |

Prerequisites: Nil

Objectives: Upon completion of this course, student should be able to: Understand the fundamentals of courses. Develop his/her oral communication and presentation skills.

- The objective of conducting viva-voce to test the overall understanding of course as well as application of the knowledge gained by the students by the end of the of the course.

- The comprehensive viva voce is based on courses namely:

- Electrical circuits and measurements.

- Electronic devices and circuits.

- This is also to see the articulation of what is being learnt by them and see their relevance in the practical field.

- The comprehensive viva voce is scheduled at the end of semester.

- The performance of the student at comprehensive viva examination will be assessed by a panel of examiners. The candidate will be examined in the courses which he/she studied during the respective module.

FF No. : 654

IC27401 :: MINI PROJECT

| Credits: 01 |  |
| --- | --- |

Prerequisites: Nil

Objectives: Upon completion of this course, student should be able to: Scope for creativity Hands on experience Academic occupancy Group Activity

# Mini project based on the relevant courses registered in that semester. Group formation, discussion with faculty advisor, formation of the mini project statement, resource requirement identification and implementation of the mini project using laboratory resources is carried out systematically. 50 marks are awarded as continuous assessment for the activities mentioned above.

# Based on the submitted Mini-Project report, Oral Presentation and demonstration before a panel of examiners at the end of the semester, 50 marks are awarded as End Semester Assessment. The overall score out of 100 is considered for allocation of appropriate grade.

Bansilal Ramnath Agarwal Charitable Trust’s

VISHWAKARMA INSTITUTE OF TECHNOLOGY – PUNE

(An autonomous Institute Affiliated to University of Pune)

666, Upper Indiranagar, Bibwewadi, Pune – 411 037

General Proficiency Courses for S.Y.B.Tech.

| Sr. No. | Course Code | Name of the Course |
| --- | --- | --- |
| 1 | HS25301 | CAMPUS RECRUTIMENT TRAINING |
| 2 | HS25303 | CORPORATE CRAFT |
| 3 | HS25304 | CORPORATE SOFT SKILLS |
| 4 | HS25305 | CRT:FOUNDATION WORKSHOP IT |
| 5 | HS25306 | CRT: FOUNDATION WORKSHOP NON IT |
| 6 | HS25307 | DIGITAL PHOTOGRAPHY |
| 7 | HS25308 | FLOOR EXERCISE |
| 8 | HS25309 | GUITAR |
| 9 | HS25310 | FLUTE |
| 10 | HS25311 | NUMEROLOGY |
| 11 | HS25314 | PHOTOGRAPHY |
| 12 | HS25317 | SELF DEFENCE : TAEKWONDO |
| 13 | HS25318 | SPIRIT OF ENTRAPRENEURSHIP |
| 14 | HS25319 | SYTHESIZER |
| 15 | HS25320 | VOLLEYBALL |
| 16 | HS25321 | YOGA |
| 17 | HS25322 | FILM APPRECIATION-UNDERSTANDING CINEMA |
| 18 | HS25323 | BUSINESS COMMUNICATION THROUGH EFFECTIVE PRESENTATION |
| 19 | HS25324 | AEROBICS |
| 20 | HS25325 | YOGA AND PRANAYAM |

F11 Revised Pattern

FF No. : 654

| HS25301 : CAMPUS RECRUITMENT TRAINING |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Written Technical Tests

- Written Aptitude Test

- Group Discussions

- Technical Interviews

- HR \ Managerial Personal Interviews

- Industry Oriented Facilitation

- Basic Soft Skill/Awareness for Engineers

FF No. : 654

| HS25303 : CORPORATE CRAFT |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Basic introduction to participating members

- Basic communication introduction – verbal, non verbal (Body Language)

- Interview Tips

- Debate on Slum dog Millionaire – For or against

- Self  Awareness, Self  Regulation, Self  Motivation

- Social Awareness and Empathy

- Social Skill/Awareness

- Silent Whispers

- E-mail etiquettes

- Perceptions

- Parts of speech

- Telephone Etiquettes

- E-mail reviews

- S.W.O.T. Analysis

- Time Management

- Self – Appraisal

FF No. : 654

| HS25304 : CORPORATE SOFT SKILLS |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Corporate etiquettes: Techniques and etiquettes needed in professional interactions. includes dress code, body language, table manners and also informal behavior styles

- Foreign Cultures' Sensitization:  Details of habits and traits of several important cultures around the world, standards of behaviors and working patterns for each of them

- Team meetings: Accepted standards and ideals in team meetings

- Telephone etiquettes: Suggested common sense techniques and best practices of telephonic communication

- Email & Instant Messaging: Accepted standards and ideals in electronic communications including proper emails

- Public speaking and presentation: Standards of public speaking, guidelines and practices for handling big audiences

- Accent and Diction: Clean English articulation of concepts and proper accents. Also - understanding and using English and American accents

- Listening and Questioning Skills: Ideal methods for listening and guidelines for proper questioning skills, Career Planning: Developing and executing plans for professional development by means of SWOT analysis

- Time Management: Finding and controlling non-productive time by 4-Quadrant and other principles

- Managerial Tools and Paradigms: Study of standard managerial tools like Fishbone diagrams, Six thinking Hats, Kaizen, etc.

- Assertiveness and Conflict management: Overcoming shyness and diffidence, defining assertiveness and aggressiveness. Practicing golden means attitudes by role plays. Conflict management guidelines, Basic Leadership skills

FF No. : 654

| HS25305 : CRT : FOUNDATION WORKSHOP IT |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

Experiential learning in

- Communication and Presentation [Importance, Areas of Concern, Solutions]

- Team Work through project case study [Individual performance v/s team working – what is expected and what works?]

- Problem Solving techniques based on various industrial frameworks [Concept, framework, processes, measurement based on output]

FF No. : 654

| HS25306 : CRT : FOUNDATION WORKSHOP NON IT |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

FF No. : 654

| HS25307 : DIGITAL PHOTOGRAPHY |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction to Photography

- Camera Types and Modes

- Good Photo & Mood Creation

- Digital Vs Film Photography

- Framings and rules of Photography

- Colors

- Lights

- Low light Photography, High key and Low key Photography

- Macro Photography and macro attachments

- Camera Lens & Accessories

- Portrait Photography and Red-Eye Reduction

- Digital photo enhancement software demonstration

- Studio workshop

- Outdoor Photography workshop

- Digital photography data management software demonstration

- Assignment Correction, discussion & grading

FF No. : 654

| HS25308 : FLOOR EXERCISE |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction

- Pranayam and Types – Bhasrika, Kapalbhati, Anulom Vilom, etc.

- Need and Practicing the Meditation

- Basic Crunches

- Lunges

- Bridges

- Squats

FF No. : 654

| HS25309 : GUITAR |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction to various string instruments

- Basic finger movement exercise

- Learning to play some small tunes

- Playing some simple songs

- Sharp scales ( Theory & Practical)

- Major Cords

FF No. : 654

| HS25310 : FLUTE |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- History of Flutes

- Flute Harmonics

- Types of Flutes

- Modern Flutes

- Parts of Flute

- Articulation

- Scales: Ascending and Descending

- Elementary Method for Flute

- How to play Flute

- Care and maintenance of flute

FF No. : 654

| HS25311 : NUMEROLOGY |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction to Numerology

- Information about Numbers

- Calculation of lucky Numbers

- Year calculation

- Elements of Numerology

- Preparation of Yantra

- Preparation of Time table

- Information about 1 to 9

- Information about A to Z

FF No. : 654

| HS25314 : PHOTOGRAPHY |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction to Photography

- Camera Modes

- Good Photo & Mood Creation

- Rules of Photography

- High key & low key Photography

- Camera types

- Lights

- Low light Photography

- Macro Photography

- Camera Lens & Accessories

- Portrait Photography

- Red-Eye Reduction

- Studio workshop

- Outdoor Photography

- Assignment Correction, discussion & grading

FF No. : 654

| HS25317 : SELF DEFENCE : TAEKWONDO |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Neck to tow exercises

- Basic fundamentals ( Blocks)

- Basic kicking techniques

- Basic combination kicks

- Basic stretching movement

- Meditation

- Basic Punching techniques

FF No. : 654

| HS25318 : SPIRIT OF ENTREPRENEURSHIP |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction, qualities of Entrepreneur

- Presentations on famous Entrepreneurs

- Basic requirements to start a new venture, company registration, finance and accounting

- Business Development, developing new ideas, innovation strategies, branding

- Recruitment

- Sales and Marketing, closing techniques, striking deals, follow ups, class exercises to show marketing and sales techniques

- Planning, strategic vision, goal sheets, short term long term goals

- Operations, market survey, infra structure, day to day activities, multi tasaking

- Leadership -Types, Approach of leader, leading teams, qualities of leaders, Exercises to bring out leadership skills

- Problem solving, Decision making, case studies and games on the same. Critical thinking strategies

- Budgeting, money management

- Risks of Entrepreneurship

- Evaluation Feedback

FF No. : 654

| HS25319 : SYNTHESIZER |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction to music and instruments

- Basics of Synthesizer

- Western Cords

- Indian Classical Ragas: Prarambhik

- Some simple songs and tunes

- Fusion-1: Prarambhik

FF No. : 654

| HS25320 : VOLLYBALL |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction and simple warming up exercises

- Physical fitness- Jogging, running, stretching and specific exercises

- Measurement of fitness/ body elasticity

- Basics of volleyball playing

- Volleyball playing (game) rules

- Matches, Tournaments, umpiring, etc.

FF No. : 654

| HS25321 : YOGA |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction

- Suryanamaskar

- Asanas and types – Baithak, Dand, Shayan etc

- Mudras and types – Yog, Brahma, Dhyan, Shunya eyc

- Pranayam and types – Bhasrika, Kapalbhati, Anulom Vilom etc

- Need and practicing the meditation

FF No. : 654

| HS25322 : FILM APPRECIATION - UNDERSTANDING CINEMA |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Cinema

- The international art form and its development as an art.

- Towards Film Appreciation…

- Tools of Film Appreciation-1

- Tools of Film Appreciation-2

- Literature and cinema

- The history of Marathi cinema: Cinema is an imported medium of art. It was brought to India by Mr. Dadasaheb Phalake. This session will cover a brief history of oldest film industry in India.

- Parallel Cinema: New realism in Italy with special reference to ‘Pather Panchali’ and parallel cinema in India.

- Role of Film Societies and International Film Festivals : Role of Film Societies and International Film Festivals in spreading film culture with reference to Central Government efforts.

- Hollywood Cinema: Trends its influence on Indian cinema.

- Hindi Cinema : Its growth and audience expectations.

- Changing patterns in Indian Cinema from studio to corporation.

- Screening of World Cinema-1: Screening of any world class masterpiece and open forum after screening

- Screening of World Cinema-2: Screening of any world class masterpiece and open forum after screening

FF No. : 654

| HS25323 : BUSINESS COMMUNICATION THROUGH EFFECTIVE PRESENTATION |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

Business communication – 20 hours

- Communication vs. conversation

- How communication skills are taken for granted by technical graduates/undergraduates

- Objectives of business communication in the morning of one’s career – sharing information & persuasion for a decision

- Different types of communication – oral, written, meeting, presentation etc.

- Different modes of communication – telephonic, e-mail, letters, video conferencing etc. – list of do’s and don’ts in different modes of communication

- Different aspects of communication – verbal & non-verbal – dominance of non-verbal aspects over verbal aspect

- Factors influencing communication – success or absence of success of communication

- How to be conscious of accent leakage and influence of one’s mother tongue on one’s English communication skills – concept of linguistic interference

- How to acquire reasonable communication skills – simple, systematic and practical ways to adopt, leading to reasonable oral and written communication skills

- Art of listening, how to develop the same

Business presentation – 10 hours

- Introduction to business presentation

- Plan, prepare and practice of business presentation including preparation of PPT slides

- Scope, objective, structure and delivery of a business presentation

- Critical aspects of a business presentation like:

  - Opening lines

  - Establishing connectivity

  - Establishing credibility

  - Remaining connected with the audience

  - Seeking validation on the progress of the presentation

  - Query handling

  - Interruption handling

  - Data handling as a support to communication

  - Hostile audience handling

  - Making the presentation inter-active

FF No. : 654

| HS25324 : AEROBICS |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

### Foundations of Movements and Aerobic Fitness

- Movement Concept : Body awareness, movement of the body and its parts, other aspect of body awarness, spatial awarness (Space, Direction, Level, Pathways, Quality of Movement Time, Force, Flow, Body Shape); relationship with objects and relationship with people.

- Music: Composition, selection of a suitable music; Types of music to be played; Preparation of own piece of music; Music and relaxation.

- Fitness Aerobics: Meaning and Concept of Fitness & Aerobic; Types of fitness; Components of Physical fitness. Components of aerobic exercise programme (Frequency, Intensity, Time);Safety measure to be adopted; Significance of aerobic exercises in fitness regime.

### Exercise Prescription and Weight Control

- Warm up and cool down.

- Body weight control: obesity, energy, balance and weight control.

- Meaning of weight control and its significance.

- Exercise prescription, quantity and quality of the exercise programme.

### Foundations of Fitness Science

- Concept of Anatomy, physiology and exercise physiology.

- Effect of aerobic exercise on heart.

- Effect of aerobic exercise on Lungs.

- Effect of aerobic exercise on endocrine gland.

- Eccentric, concentric and static muscle contraction.

### First Aid and Safety Management

- First aid and Safety – meaning.

- ABCXH of first aid.

- Recovery position, CPR.

- First aid for common minor emergency.

### Management of Aerobic Fitness Facility

- Customer Care: Public Relation; Phone Handling; Guest Satisfaction; Language, Etiquettes; Maintenance of records.

- Classroom Management: Preparation for the class; Grouping of participant; Time schedule; Planning cooling down exercises.

FF No. : 654

| HS25325 : YOGA AND PRANAYAM |
| --- |
| Credits: 01 | Teaching Scheme: - Practical 2 Hrs/Week |

- Introduction

- Understanding the philosophy of Bhagavad Gita in the modern context.

- Synthesis of Science and Religion

- Reincarnation, Nature of God, Principle of Karma, Relevance of Vedas discussed in detail.

- Ethics and Morality.

- Meditation techniques

- Common teachings in all religious systems.