TASK ORDER REQUEST (TOR)

#________________________

Enterprise Networked Services Support (ENSS)

in support of:

Department Of Homeland Security (DHS)

issued to:

all contractors under the Alliant

Multiple Award Contracts

issued by:

The Federal Systems Integration and Management Center (FEDSIM)

2100 Crystal Drive

Suite 800

Arlington VA  20406

November 2010

FEDSIM Project Number #__________

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section B of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

B.1	GENERAL DESCRIPTION

The work shall be performed in accordance with all sections of this task order and the offeror’s Basic Contract, under which the resulting task order will be placed.  An acronym listing to support this TOR is included in Section J, Attachment A.

B.5	contract access fee

GSA operating costs associated with the management and administration of this task order are recovered through a Contract Access Fee (CAF).  The amount of the CAF is ¾ %, e.g. (.0075) of the total price/cost of contractor performance.  This task order issued shall have a separate Contract Line Item Number (CLIN) to cover this access fee, and this CAF shall be obligated at task order award.  The following access fee applies to this task order.

GSA-issued Task Orders:

Orders in excess of $13.3 million/year are capped at $100,000 per order.

B.6	order type

The contractor shall perform the effort required by this task order on a Cost Plus Award Fee (CPAF) basis for CLINs X001 through X009, and on a Not to Exceed (NTE) basis for CLINs X010 through X012.

B.7	SERVICES AND PRICES/COSTS

The following abbreviations are used in this price schedule:

NTE:	Not To Exceed

CLIN:	Contract Line Item Number

ODC:	Other Direct Cost

CPAF:	Cost Plus Award Fee

# B.7.2.1	   BASE PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 0001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 0002 | Labor (Task 2) | $ |  | $ |  | $ |
| 0003 | Labor (Task 3) | $ |  | $ |  | $ |
| 0004 | Labor (Task 4) | $ |  | $ |  | $ |
| 0007 | Labor (Task 7) | $ |  | $ |  | $ |
| 0008 | Labor (Task 8) | $ |  | $ |  | $ |
| 0009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 0005 | Labor (Task 5) | $ |  | $ |  | $ |
| 0006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Maximum Ceiling Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 0010 | Travel Including Indirect Handling Rate ______% | NTE | $ 570,000 |
| 0011 | Tools Including Indirect Handling Rate ______% | NTE | $ 12,540,000 |
| 0012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 10,830,000 |
| 0013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL BASE PERIOD CLINS:					$________________

B.7.2.2   FIRST OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 1001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 1002 | Labor (Task 2) | $ |  | $ |  | $ |
| 1003 | Labor (Task 3) | $ |  | $ |  | $ |
| 1004 | Labor (Task 4) | $ |  | $ |  | $ |
| 1007 | Labor (Task 7) | $ |  | $ |  | $ |
| 1008 | Labor (Task 8) | $ |  | $ |  | $ |
| 1009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 1005 | Labor (Task 5) | $ |  | $ |  | $ |
| 1006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 1010 | Travel Including Indirect Handling Rate ______% | NTE | $ 692,000 |
| 1011 | Tools Including Indirect Handling Rate ______% | NTE | $ 15,224,000 |
| 1012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 13,148,000 |
| 1013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL FIRST OPTION PERIOD CLINS:				$________________

B.7.2.3   SECOND OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 2001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 2002 | Labor (Task 2) | $ |  | $ |  | $ |
| 2003 | Labor (Task 3) | $ |  | $ |  | $ |
| 2004 | Labor (Task 4) | $ |  | $ |  | $ |
| 2007 | Labor (Task 7) | $ |  | $ |  | $ |
| 2008 | Labor (Task 8) | $ |  | $ |  | $ |
| 2009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 2005 | Labor (Task 5) | $ |  | $ |  | $ |
| 2006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 2010 | Travel Including Indirect Handling Rate ______% | NTE | $ 644,000 |
| 2011 | Tools Including Indirect Handling Rate ______% | NTE | $ 14,168,000 |
| 2012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 12,236,000 |
| 2013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL SECOND OPTION PERIOD CLINS:				$________________

B.7.2.4   THIRD OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 3001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 3002 | Labor (Task 2) | $ |  | $ |  | $ |
| 3003 | Labor (Task 3) | $ |  | $ |  | $ |
| 3004 | Labor (Task 4) | $ |  | $ |  | $ |
| 3007 | Labor (Task 7) | $ |  | $ |  | $ |
| 3008 | Labor (Task 8) | $ |  | $ |  | $ |
| 3009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 3005 | Labor (Task 5) | $ |  | $ |  | $ |
| 3006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 3010 | Travel Including Indirect Handling Rate ______% | NTE | $ 732,000 |
| 3011 | Tools Including Indirect Handling Rate ______% | NTE | $ 16,140,000 |
| 3012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 13,908,000 |
| 3013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL THIRD OPTION PERIOD CLINS:				$________________

B.7.2.5   fourth OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 4001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 4002 | Labor (Task 2) | $ |  | $ |  | $ |
| 4003 | Labor (Task 3) | $ |  | $ |  | $ |
| 4004 | Labor (Task 4) | $ |  | $ |  | $ |
| 4007 | Labor (Task 7) | $ |  | $ |  | $ |
| 4008 | Labor (Task 8) | $ |  | $ |  | $ |
| 4009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 4005 | Labor (Task 5) | $ |  | $ |  | $ |
| 4006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 4010 | Travel Including Indirect Handling Rate ______% | NTE | $ 792,000 |
| 4011 | Tools Including Indirect Handling Rate ______% | NTE | $ 17,424,000 |
| 4012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 15,048,000 |
| 4013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL FOURTH OPTION PERIOD CLINS:				$________________

B.7.2.6   fifth OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 5001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 5002 | Labor (Task 2) | $ |  | $ |  | $ |
| 5003 | Labor (Task 3) | $ |  | $ |  | $ |
| 5004 | Labor (Task 4) | $ |  | $ |  | $ |
| 5007 | Labor (Task 7) | $ |  | $ |  | $ |
| 5008 | Labor (Task 8) | $ |  | $ |  | $ |
| 5009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 5005 | Labor (Task 5) | $ |  | $ |  | $ |
| 5006 | Labor (Task 6) | $ |  | $ |  | $ |
| Labor Category | Hourly Rate |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 5010 | Travel Including Indirect Handling Rate ______% | NTE | $ 816,000 |
| 5011 | Tools Including Indirect Handling Rate ______% | NTE | $ 17,952,000 |
| 5012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 15,504,000 |
| 5013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL Fifth OPTION PERIOD CLINS:				$________________

B.7.2.7   SIXTH OPTION PERIOD:

# LABOR CLIN (Mandatory)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 6001 | Labor (Tasks 1) | $ |  | $ |  | $ |
| 6002 | Labor (Task 2) | $ |  | $ |  | $ |
| 6003 | Labor (Task 3) | $ |  | $ |  | $ |
| 6004 | Labor (Task 4) | $ |  | $ |  | $ |
| 6007 | Labor (Task 7) | $ |  | $ |  | $ |
| 6008 | Labor (Task 8) | $ |  | $ |  | $ |
| 6009 | Labor (Task 9) | $ |  | $ |  | $ |

# LABOR CLIN (Optional)

| CLIN | Description | Estimated Cost |  | Award Fee |  | Total Estimated Cost Plus Award Fee |
| --- | --- | --- | --- | --- | --- | --- |
| 6005 | Labor (Task 5) | $ |  | $ |  | $ |
| 6006 | Labor (Task 6) | $ |  | $ |  | $ |

| Labor Category | Hourly Rate |
| --- | --- |
| List specific labor categories |  |
| TOTAL HOURS |  |

# TRAVEL, TOOLS and ODCs CLINs

| CLIN | Description |  | Total Ceiling Price |
| --- | --- | --- | --- |
| 6010 | Travel Including Indirect Handling Rate ______% | NTE | $ 841,000 |
| 6011 | Tools Including Indirect Handling Rate ______% | NTE | $ 18,502,000 |
| 6012 | ODCs Including Indirect Handling Rate ______% | NTE | $ 15,979,000 |
| 6013 | Contract Access Fee | NTE | $ 100,000 |

GRAND TOTAL SIXTH OPTION PERIOD CLINS:				$________________

GRAND TOTAL ALL CLINS:							$________________

B.12	section b tables

B.12.1   indirect/material handling rate

Travel, Tools, and ODC costs incurred may be burdened with the contractor’s indirect/material handling rate if one is entered in the contractor’s basic contract (contractor to enter amount, but not to exceed the ceiling rate of the basic contract) and such indirect/material handling rate is not included in the fully burdened labor rate.

B.13	INCREMENTAL FUNDING

B.13.1	INCREMENTAL FUNDING LIMITATION OF GOVERNMENT’S

OBLIGATION

Incremental funding for CLINs __*__ through __*__ is currently allotted and available for payment by the Government.  Additional incremental funding for these CLINs will be allotted and available for payment by the Government as the funds become available.  The estimated period of performance covered by the allotments for the mandatory CLINs is from award through four (4) months, unless otherwise noted in Section B.7.  The task order will be modified to add funds incrementally up to the maximum of $***,***,*** over the performance period of this TO.  These allotments constitute the estimated cost for the purpose of FAR Clause 52.232-22, Limitation of Funds, which applies to this task order on a CLIN-by-CLIN basis.

Incremental Funding Chart for CPAF  [Contracting to Insert]

B.14	AWARD FEE CALCULATION TABLE

| Award Fee |
| --- |
| Year | Period | Months Covered | Available Award Fee Pool | Earned Fee | Unearned Fee |
| Base Year | 1 |  |  |  |  |
| Base Year | 2 |  |  |  |  |
| Option Year 1 | 3 |  |  |  |  |
| Option Year 1 | 4 |  |  |  |  |
| Option Year 2 | 5 |  |  |  |  |
| Option Year 2 | 6 |  |  |  |  |
| Option Year 3 | 7 |  |  |  |  |
| Option Year 3 | 8 |  |  |  |  |
| Option Year 4 | 9 |  |  |  |  |
| Option Year 4 | 10 |  |  |  |  |
| Option Year 5 | 11 |  |  |  |  |
| Option Year 6 | 12 |  |  |  |  |
| Option Year 7 | 13 |  |  |  |  |
| Option Year 8 | 14 |  |  |  |  |

See Section J, Attachment D (AFDP) for the formula to calculate the Award Fee Pool

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  In addition, the following applies:

C.1	baCkground

C.1.1	PURPOSE

The purpose of this Task Order is to provide support for the continued operations, maintenance and evolution of Department of Homeland Security (DHS) classified networks. DHS classified networks are a Federal enterprise infrastructure for classified information sharing which extend existing US Government capabilities not only to the Department of Homeland Security and its components, but to other Federal government agencies, and to first responders at the state, local, and tribal levels.

C.1.2	baCkground

Fundamental to achieving DHS’s missions is the ability to communicate effectively among the members of the Department and among DHS’s mission partners in other agencies and organizations. This capability is essential to share Homeland Security information at the appropriate level of classification, to inform assessments and initiate appropriate action. The DHS Headquarters Office of the Chief Information Officer (OCIO) currently operates, and participates in the governance of enterprise scale information infrastructures to enable solutions to these communications needs.

The network infrastructure environment managed by DHS Headquarters, which is used to deliver Enterprise Networked Services (ENS), is in a state of transformation. When the department stood up in 2003, the infrastructure it inherited comprised dozens of networks that had earlier been developed and managed independently by the previously separate agencies. Under recent “One DHS” policies, the DHS OCIO has established an initiative to merge and harmonize existing networks into “Enterprise Networked Service” offerings that will provide effective and efficient network services while saving considerable costs through common architecture, shared management, and leveraged investments.

Central to the infrastructure transformation program is the “OneNet” initiative. This initiative comprises network circuit provisioning orders established under the GSA NETWORX program to supply DHS with its communications connectivity. DHS has established connectivity for new facilities through the OneNet initiative and is migrating older existing connections from their legacy providers to OneNet. The anticipated benefits of the OneNet migration include reduced costs for network connectivity, maintenance and management; reduced security risk (fewer networks means fewer security vulnerability points); less network complexity, and centralized governance and standards.  These benefits will facilitate interoperability, information sharing and the rapid delivery of new services and capabilities.

DHS has also established a policy to consolidate its data centers at limited primary locations. As in the case of telecommunications, the previously separate constituent DHS agencies managed their own data centers independently. The consolidation initiative is delivering consistent governance and the opportunity to leverage facility and operational investments to reduce costs and improve performance. Data center management has been outsourced to specialty vendors responsible for establishing, operating and maintaining them in response to the evolving requirements of the department.  In the foreseeable future, there is also a potential for providing additional geographic diversity at one or two additional locations which are elsewhere in the United States.

These basic infrastructure resources provide some of the infrastructure elements required for the OCIO to offer an array of “Enterprise Networked Services” to the department’s many system users. These services support administrative and management as well as critical mission functions in the department. Network services are currently offered at three levels of classification and typically comprise end user work stations, enterprise office applications, data stores, and application hosting, supported by connectivity to the central core, and managed network and security operations, as well as gateways to related networks operated by other agencies.

While these centralized service offerings are in place and further enhancements are in the implementation and planning stages, the degree to which DHS components are taking advantage of the Enterprise offerings varies both by the offering and by DHS component.

DHS Enterprise Networked Services supports the continued operations, maintenance and evolution of the Homeland Secure Data Network (HSDN) which operates at the SECRET level and the C-LAN which provides TOP SECRET/Sensitive Compartmented Information (TS/SCI) extensions to the Defense Intelligence Agency (DIA) provisioned Joint Worldwide Intelligence Communications System (JWICS).  Future work includes the transition of the C-LAN to the evolving Homeland TS/SCI Network (HTSN), and the development of a new program called Homeland Secure Communications (HSC) that will consolidate classified secure voice and video communications into a centrally managed activity at both the SECRET and the TS/SCI levels.

The HSDN and the C-LAN/HTSN are managed by authorities which are delegated and administered jointly by the DHS Office of Intelligence and Analysis (I&A) and the DHS OCIO and the DHS I&A, under an organization known as the National Security Systems (NSS) Joint Program Management Office (JPMO), whose charter also includes HSC.

The HSDN is a high-speed data network enabling actionable intelligence data, at the SECRET level, to flow among federal, state and local law enforcement. HSDN helps to provide actionable intelligence to first responders at the Federal, State and Local levels. HSDN currently supports over 200 sites consisting of over 3,000 users and is projected to grow to 1,000 sites consisting of 15,000 users over the next seven (7) years.  HSDN is implemented at most DHS components, at over 40 State and Local Fusion Centers (SLFCs), and in over 20 other Federal agencies; these numbers are ever-growing weekly.  The SLFCs are federally-sponsored, federally-operated intelligence fusion organizations that are designed to serve the mission needs of first responders at the state, local, and tribal levels (it is possible that that within the period of performance, first responder organizations may eventually transcend the present need to be federally operated).

The C-LAN currently is a conglomeration of TS/SCI systems that DHS inherited when it was created from 22 Federal organizations in 2003.  DHS is in the process of stabilizing the C-LAN (which has never had a single architecture as it was inherited from multiple organizations) into a single HTSN.  DHS forecasts that at least three (3) years will be needed before C-LAN technically evolves into the envisioned HTSN. When completed, HTSN will streamline and modernize data capabilities to enhance data communications and collaboration within DHS and other federal agencies and organizations in the Intelligence Community (IC).  Until the HTSN architecture is defined, designed, implemented, tested and deployed, the current baseline C-LAN must be maintained.  The C-LAN provides TS/SCI level intelligence to the intelligence gathering arms of the Federal Government as well as to a very limited number of State, Local, and Tribal ICs such as certain major metropolitan police enforcement agencies.  In all, C-LAN currently supports over 10 locations consisting of 3,500 users and is projected to grow to 100 sites consisting of 15,000 users over the next seven (7) years.

In the future, HSC is envisioned to become a new program of record that consolidates the planning, architecture, and implementation of classified secure voice and video communications into a centrally governed and managed activity. HSC will provide effective and efficient voice and video services while saving considerable costs through leveraging common architecture, design, shared management, and leveraged investments.

The continuing evolution and operation of the HSDN and C-LAN supports preventing and combating terrorism and is critical to the national security of the US. The HSDN and the C-LAN support the gathering, analysis, creation and dissemination of actionable classified intelligence among Federal, State and Local Intelligence community members, first responders, and mission partners.  The HSDN and the C-LAN incorporate organizations in Federal, State and Local jurisdictions that share information and collaborate on that shared information.  Data interoperability and information sharing across many jurisdictions is critical to combating the global war on terrorism (GWOT).

C.1.3	agency mission

Homeland security is a widely distributed and diverse national enterprise.  It is built on the ideas of Strengthening Security: protecting the United States and its people, vital interests, and way of life; Promoting Resilience: fostering individual, community, and system robustness, adaptability, and capacity for rapid recovery; and Facilitating Customs and Exchange: Expediting and enforcing lawful trade, travel, and immigration.

These concepts have led DHS to define its core mission set as:

1: Preventing Terrorism and Enhancing Security,

2: Securing and Managing Our Borders,

3: Enforcing and Administering Our Immigration Laws,

4: Safeguarding and Securing Cyberspace

5: Ensuring Resilience to Disasters.

C.1.4	current IT/NETWORK environment

The following general network service groupings are currently offered by the DHS OCIO:

- Classified network and common enterprise applications at the SECRET level– the Homeland Secure Data Network (HSDN);

- Classified network and common enterprise applications at the TS/SCI level – the “C-LAN”;

- Classified voice and video telecommunications;

- Unclassified voice and video telecommunications (not part of this solicitation); and

- Unclassified Sensitive but Unclassified (SBU) network and common enterprise applications – the “A-LAN” (not part of this solicitation).

The Homeland Secure Data Network (HSDN) is the most mature network in the Department from the standpoint of offering managed enterprise-wide network services. It has been designed and implemented to provide common services to the DHS SECRET level community and its partners through standardized, certified and accredited endpoint Local Area Network (LAN) designs that deliver common enterprise applications, over, a common secure transport service, in support of the DHS mission. The certified and type-accredited designs apply to LAN sites with 20 or fewer devices, as more than 20 devices require enough individually detailed review to the point where they cannot be type-accredited.

HSDN consists of two sets of fully redundant core infrastructures of routers, servers, and data storage located at the two DHS Data Centers and connected by DHS’ wide area network (OneNet). It also includes two redundant DMZ gateways to other SECRET networks (e.g., the Department of Defense SIPRNet), a Network Operations Center, a Security Operations Center, a helpdesk, the backbone network to connect the end user nodes, and the networked components at those nodes including the end point routers, servers, encryptors, workstations, printers, other peripheral equipment and services that operate on the network.  Those enterprise services include email, organizational messaging Secure Video Teleconferencing (SVTC), a web portal, collaboration tools, applications hosting services, global backup and recovery services, and standard office automation tools.  HSDN offers several standard end point configurations including, type-accredited small sites, type-accredited medium sites and custom large sites.  In addition, HSDN also offers Secure Mobile Environment Portable Electronic Devices (SME-PEDs).  This task order provides for the sustainment, operations, maintenance and incremental deployment of HSDN.

The DHS C-LAN provides current DHS HQ capabilities for TS and TS/SCI communications. C-LAN is a DHS managed extension of the Joint Worldwide Intelligence Communications System (JWICS).  In a manner similar to HSDN, C-LAN also offers type-accredited small and medium sites, and a similar opportunity to define custom large sites.  C-LAN is certified and accredited by the NSS CISO.

This task order provides for sustainment, operations, maintenance and incremental deployment of the C-LAN.

The Homeland TOP SECRET/SCI Network (HTSN) is supported in President’s Budget for FY11. HTSN will streamline and modernize the DHS TS/SCI data capabilities to enhance TS/SCI data communications and collaboration within DHS and among DHS and other federal agencies and organizations, including the DoD and the Intelligence Community (IC).  This service will strengthen both the TS/SCI data exchanges with the Department and with users of other networks.  It will provide a scalable infrastructure, capable of supporting growth and evolution of the DHS mission.  Until the HTSN architecture is defined, designed, implemented, tested and deployed, the current baseline C-LAN will be maintained and evolved appropriately.

Homeland Secure Communications (HSC) is a planned new program in DHS that will consolidate the planning, architecture, and implementation of classified secure voice and secure video communications into a centrally governed and managed activity. Motivated by the same opportunities to improve effectiveness and efficiency recognized in other aspects of networked services, HSC will provide effective and efficient voice and video services while saving considerable costs through leveraging common architecture, design, shared management, and leveraged investments.

DHS policy is driving migration to the common use of the classified infrastructures. Both HSDN and CLAN are each leveraging the common enterprise infrastructure elements as a foundation for their service offerings.

C.1.4.1   External Interdependent Programs

The following lists the external interdependent organizations and networked services that interface with DHS Enterprise Networked Services.

- OneNet is the DHS Wide Area Network (encrypted) composed of Verizon/AT&T leased circuits.  Customs and Border Protection (CBP) is the steward for OneNet, which itself is a transition from an older Multiprotocol Label Switching (MPLS) network infrastructure.  Management of OneNet is not within the scope of this task order;

- Data Centers 1 and 2 (DC1 and DC2), located in Mississippi and Virginia respectively, are established to consolidate information technology systems and to serve as backups for each other to maintain operations of critical departmental IT systems. Currently, the HSDN resides at both DC1 and DC2.  The C-LAN resides at the Nebraska Avenue Complex (NAC) with a backup at DC2.  Management of the classified infrastructure at the primary locations are within the scope of this task order, but management of the Data Centers themselves is not within the scope of this Task Order;

- SIPRNET is the Department of Defense networked infrastructure to transmit classified information up to and include information classified SECRET.  DHS maintains an interface between the HSDN and the SIPRNET (only the management of the interface to the SIPRNET is within the scope of this task order);

- JWICS is the Intelligence Community’s networked infrastructure for TS and TS/SCI connectivity.  Management of only the interface to the JWICS is within the scope of this task order).  C-LAN is an extension to the JWICS and maintains interfaces to it; and

- Director of National Intelligence – SECRET (DNI-S).  For example, in the future, this may migrate into the planned Federal SECRET Fabric.

- Office of the Director of National Intelligence (ODNI) and Intelligence Community (IC) partners.

- In the future, enterprise networked services from other agencies (international, Federal, State, Local, and Tribal) may interface to DHS systems, services, and networks.

C.2	scope

The scope of this task order includes design, engineering, architecture, integration, configuration, testing, deployment, sustainment, operations, and maintenance of the HSDN and C-LAN enterprise networked services. The scope also includes all of the above activities applied to the future successor system to C-LAN (known as the HTSN), classified HSC systems and additional systems identified in greater detail below.

C.3	objective

The objective of this task order is to provide secure, classified enterprise networked services at SECRET and TS/SCI classification levels among DHS intelligence components, law enforcement agencies, emergency preparedness and response components, and other field activities for the purpose of moving classified data in support of DHS overall missions.

C.4	TASKS

Task 1: Task Order Management

Task 2: HSDN and C-LAN Operations and Maintenance, and Enhancement

Subtask 1: Systems Engineering, Architecture, and Technical Analysis

Subtask 2: Design, Development and Test

Task 3: HSDN Deployment

Task 4: C-LAN Deployment

Task 5: HTSN Development, Deployment and Sustainment (Optional)

Task 6: HSC Development, Deployment and Sustainment (Optional)

Task 7: Communications Security (COMSEC) Equipment, Policy, and Procedures

Task 8: Security Services

Task 9: Other IT Services

Subtask 1: Video Conferencing

Subtask 2: IT Continuity Management

Subtask 3: Continuity Planning

Subtask 4: Continuity Reviews and Coordination

Subtask 5: Continuity Program Administration

Subtask 6: Electronic Records

C.4.1	Task 1 – Task Order Management

The contractor shall provide task order management support services to efficiently manage the initial transition, the continuous evolution and the routine maintenance of DHS Enterprise Networked Services.

C.4.1.1   Subtask 1 – PROVIDE Program Management

The contractor shall provide program management support under this Task Order.  This includes the management and oversight of all activities performed by contractor personnel, including the effective use of subcontractors, to satisfy the requirements identified in this Performance Work Statement (PWS).  The contractor shall identify a Program Manager (PM) by name, who shall provide management, direction, administration, quality assurance, and leadership for the execution of this task order.

C.4.1.1.1   COORDINATE A PROgram kickoff meeting

The contractor shall schedule, coordinate and provide an agenda for a Program Kick-Off Meeting at a location approved by the Government.  The meeting will provide an introduction between contractor personnel and Government personnel who will be involved with the task order. The meeting will provide an opportunity to discuss technical, management, security issues, travel authorization and reporting procedures.  At a minimum, the attendees shall include key contractor personnel, DHS representatives, other relevant Government personnel, and the Federal Systems Integration and Management Center (FEDSIM) Contracting Officer’s Representative (COR).

The contractor shall provide the following at the kickoff meeting:

- Transition In Plan;

- Project Management Plan;

- Final Quality Control Plan; and

- Earned Value Management (EVM) Plan.

C.4.1.1.2   TRANSITION IN

The contractor shall ensure that there will be minimum service disruption to National Security Systems and no service degradation during and after transition.  See H.27, Transition-In, for requirements.

C.4.1.1.3   STATUS REPORTS

C.4.1.1.3.1   WEEKLY ACTIVITY REPORT (WAR)

The contractor shall prepare a weekly activity report which is focused on operational issues.

The WAR shall include the following:

- Changes in the operational characteristics of all internal and external systems, subsystems, configurations, and services.

- Internal and external risks and issues

- Changes in program and project status

- All security issues (personnel, facility, events, incidents, and operational)

C.4.1.1.3.2   MONTHLY STATUS REPORT (MSR)

The contractor Program Manager shall develop and provide a MSR using MS Office Suite applications (Excel for numeric tables), by the 10th of each month, which includes the first of previous month through last day of previous month, via electronic mail to the Client Representative (CR) and the COR.

The MSR shall include the following:

- Activities during reporting period, by task (Include:  On-going activities, new activities, activities completed; progress to date on all above mentioned activities).  Start each section with a brief description of the task;

- Problems and corrective actions taken. Also include issues or concerns and proposed resolutions to address them;

- Personnel gains, losses and status (security clearance, etc.);

- Government actions required;

- Schedule (Shows major tasks, milestones, and deliverables; planned and actual start and completion dates for each);

- Summary of trips taken, conferences attended, etc.  (Attach trip reports to the MSR for reporting period);

- EVM statistics;

- Accumulated invoiced cost for each CLIN up to the previous month;

- Projected cost of each CLIN for the current month;

- Breakdown of labor hours by labor category;

- Breakdown costs (labor, tools, ODCs, travel) by individual project and task within the WBS, to include engineering costs, development costs, operations and maintenance costs;

- Breakdown costs (labor, tools, ODCs, travel) by individual DHS component and other Government agencies to include engineering costs, development costs, operations and maintenance costs.

C.4.1.1.3.3   WEEKLY project REPORT (WPR)

For each active project, the contractor shall prepare a weekly project report which is focused on project status. This status shall be a weekly snapshot of real-time reports from a project execution management system. Industry Best Practices (e.g. PMBOK) for project execution and control shall be used.

The WPR shall include the following:

- Schedule Assessment Report identifying the likelihood of meeting target due date with projected completion date with schedule analysis (baseline and current, including progress along the critical path adjusted for resource constraints when appropriate);

- Milestone Status Report showing completions and general progress, identifying the current task on the critical chain (on which if no progress is made amounts to a day for day slip);

- Escalation Report to identify all outstanding issues (new, ongoing, and closed within last period) and the help needed to get the project back on track;

- Portfolio Management Report showing the amount of project schedule risk by customer, project size, or other; and

- Pipeline Management Report showing the flow of projects (approved and notional) showing the best utilization of critical resources, filling empty slots as priority allows.

C.4.1.1.4   EARNED VALUE MANAGEMENT (EVM) CRITERIA

The contractor shall employ and report on EVM in the management of this Task Order.  See H.19, Earned Value Management, for the EVM requirements.

C.4.1.1.5   CONVENE TECHNICAL STATUS MEETINGS

The contractor Program Manager shall convene a monthly Task order Activity and Status Meeting with the CR, COR, and other vital government stakeholders.  The purpose of this meeting is to ensure all stakeholders are informed of the monthly activity and status report, provide opportunities to identify other activities and establish priorities, and coordinate resolution of identified problems or opportunities.  The contractor Program Manager shall provide minutes of these meetings, including attendance, issues discussed, decisions made, and action items assigned, to the COR within five calendar days following the meeting.

C.4.1.1.5.1   PROGRESS meetings

The Program Manager shall be available to meet with the COR and/or CR upon request to present deliverables, discuss progress, exchange information and resolve emergent technical problems and issues.  These meetings may take place at FEDSIM, a DHS facility in the Washington DC Metropolitan Area or via teleconference.

C.4.1.1.6   project MANAGEMENT PLAN (PMP)

The contractor shall document all support requirements in a PMP.

The PMP shall:

- describe the proposed management approach;

- contain detailed Standard Operating Procedures (SOPs) for all tasks;

- include milestones, tasks, and subtasks required in this task order;

- provide for an overall Work Breakdown Structure (WBS) and associated responsibilities and partnerships between Government organizations; and

- include the contractor’s Quality Control Plan (QCP) and EVM Plan.

The contractor shall provide the Government with a draft PMP at the Kick-Off Meeting, on which the Government will make comment.  The final PMP shall incorporate Government comments and shall be provided 30 calendar days after the Kick-Off Meeting.

## C.4.1.1.6.1   Prepare and Update Work Breakdown Structure

The contractor shall prepare and update the project WBS derived from the PWS and linked to the project schedule, budget, and time-phased expenditure plan. The WBS will be included as part of the PMP, will be available online, and will be maintained for the life of the task order.

The contractor shall use the WBS as a means of assigning responsibilities to project task leaders and, along with the detailed schedule and time-phased budget, tracking progress at the detailed task level. The WBS will be modified, as needed, to reflect changing project emphasis, or to provide better visibility and tracking of project activities.

C.4.1.1.6.2   project management plan (PMP) UPDATES

The PMP is an evolutionary document that shall be updated, at a minimum, yearly.  The contractor shall work from the latest Government approved version of the PMP.

C.4.1.1.7   PREPARE detailed TRIP REPORTS

The contractor shall provide detailed trip reports at Government request, which include the following:  by trip, the name of the employee, location of travel, duration of trip, trip costs (lodging, travel, per diem) and POC at travel location.  The trip report shall also include people met; organizations in attendance; agenda; objectives of meetings / conferences; summary of actions taken, decided or assigned; and include electronic copies of handouts obtained during trip.  Reports are due five (5) days after trip completion.

C.4.1.1.8   UPDATE QUALITY CONTROL PLAN (QCP)

The contractor shall update the QCP submitted with their proposal and provide a final QCP five (5) days after task order award.  The contractor shall update the QCP (minimum of yearly) to reflect changes in the plan.

C.4.1.1.9   BUSINESS Continuity Plan (BCP)

The Contractor shall prepare and submit a BCP to the Government.  The BCP Plan shall be due 30 days after task order date of award, and shall be updated on an annual basis.  The BCP shall document Contractor plans and procedures to maintain support during an emergency, including natural disasters and acts of terrorism.

The BCP, at a minimum, shall include the following:

- A description of the Contractor’s emergency management procedures and policy;

- A description of how the Contractor will account for their employees during an emergency;

- How the Contractor will communicate with the Government during emergencies; and

- A list of primary and alternate Contractor points of contact, each with primary and alternate:

  - Telephone numbers and

  - E-mail addresses

Individual systems described within the BCP shall be activated immediately after determining that an emergency has occurred, shall be operational within eight (8) hours of activation or as directed by the Government, and shall be sustainable until the emergency situation is resolved and normal conditions are restored or the task order is terminated, whichever comes first.  In case of a life threatening emergency, the CR shall immediately make contact with the Contractor Program Manager to ascertain the status of any Contractor personnel who were located in Government controlled space affected by the emergency.

When any disruption of normal, daily operations occur, the Contractor Program Manager and the CR shall promptly open an effective means of communication and verify:

- Key points of contact (Government and contractor);

- Temporary work locations (alternate office spaces, telework, virtual offices, etc.);

- Means of communication available under the circumstances (e.g. email, webmail, telephone, FAX, courier, etc.); and

- Essential Contractor work products expected to be continued, by priority.

The Government and Contractor Program Manager shall make use of the resources and tools available to continue contracted functions to the maximum extent possible under emergency circumstances.  The contractor shall obtain approval from the Contracting Officer prior to incurring costs over and above those allowed for under the terms of this task order.

C.4.1.1.10   SECTION 508 COMPLIANCE REQUIREMENTS

Unless the Government invokes an exemption, all EIT products and services proposed shall fully comply with Section 508 of the Rehabilitation Act of 1973, per the 1998 Amendments, 29 U.S.C. 794d, and the Architectural and Transportation Barriers Compliance Board’s Electronic and Information Technology Accessibility Standards at 36 CFR 1194.  The contractor shall identify all EIT products and services proposed, identify the technical standards applicable to all products and services proposed and state the degree of compliance with the applicable standards. Additionally, the contractor must clearly indicate where the information pertaining to Section 508 compliance can be found (e.g., Vendor’s or other exact web page location).  The contractor must ensure that the list is easily accessible by typical users beginning at time of award.

Section 508 of the Rehabilitation Act, as amended by the Workforce Investment Act of 1998 (P.L. 105-220) requires that when Federal agencies develop, procure, maintain, or use electronic and information technology, they must ensure that it is accessible to people with disabilities. Federal employees and members of the public who have disabilities must have equal access to and use of information and data that is comparable to that enjoyed by non-disabled Federal employees and members of the public.

All EIT deliverables within this work statement shall comply with the applicable technical and functional performance criteria of Section 508 unless exempt. Specifically, the following applicable standards have been identified:

- 36 CFR 1194.21 - Software Applications and Operating Systems, applies to all EIT software applications and operating systems procured or developed under this work statement including to Government developed and owned software and hardware (GOTS) and Commercial off the Shelf (COTS) software. In addition, this standard is to be applied to Web-based applications when needed to fulfill the functional performance criteria. This standard also applies to some Web based applications as described within 36 CFR 1194.22.

- 36 CFR 1194.22 - Web-based Intranet and Internet Information and Applications, applies to all Web-based deliverables, including documentation and reports procured or developed under this work statement. When any Web application uses a dynamic (non-static) interface, embeds custom user control(s), embeds video or multimedia, uses proprietary or technical approaches such as Flash or Asynchronous JavaScript and XML (AJAX) then "1194.21 Software" standards also apply to fulfill functional performance criteria.

- 36 CFR 1194.23 - Telecommunications Products, applies to all telecommunications products including end-user interfaces such as telephones and non end-user interfaces such as switches, circuits, etc. that are procured, developed or used by the Federal Government.

- 36 CFR 1194.24 - Video and Multimedia Products, applies to all video and multimedia products that are procured or developed under this work statement. Any video or multimedia presentation shall also comply with the software standards (1194.21) when the presentation is through the use of a Web or Software application interface having user controls available.

- 36 CFR 1194.25 - Self Contained, Closed Products, applies to all EIT products such as printers, copiers, fax machines, kiosks, etc. that are procured or developed under this work statement.

- 36 CFR 1194.26 - Desktop and Portable Computers, applies to all desktop and portable computers, including laptops and personal data assistants (PDA) that are procured or developed under this work statement.

- 36 CFR 1194.31 - Functional Performance Criteria applies to all EIT deliverables regardless of delivery method. All EIT deliverable shall use technical standards, regardless of technology, to fulfill the functional performance criteria.

- 36 CFR 1194.41 - Information Documentation and Support, applies to all documents, reports, as well as help and support services. To ensure that documents and reports fulfill the required "1194.31 Functional Performance Criteria", they shall comply with the technical standard associated with Web-based Intranet and Internet Information and Applications at a minimum. In addition, any help or support provided in this work statement that offer telephone support, such as, a help desk shall have the ability to transmit and receive messages using TTY.

Exceptions for this work statement have been determined by DHS and only the exceptions described herein may be applied.

Any request for additional exceptions shall be sent to the CR and determination will be made in accordance with DHS MD 4010.2.

DHS has identified the following exceptions that may apply:

- 36 CFR 1194.2(b) - (COTS/GOTS products), When procuring a product, each agency shall procure products which comply with the provisions in this part when such products are available in the commercial marketplace or when such products are developed in response to a Government solicitation. Agencies cannot claim a product as a whole is not commercially available because no product in the marketplace meets all the standards. If products are commercially available that meets some but not all of the standards, the agency must procure the product that best meets the standards.

When applying this standard, all procurements of EIT shall have documentation of market research that identify a list of products or services that first meet the agency business needs, and from that list of products or services, an analysis that the selected product met more of the accessibility requirements than the non-selected products as required by FAR 39.2. Any selection of a product or service that meets less accessibility standards due to a significant difficulty or expense shall only be permitted under an undue burden claim and requires approval from the DHS Office of Accessible Systems and Technology (OAST) in accordance with DHS MD 4010.2.

- 36 CFR 1194.3(b) - Incidental to Task order, all EIT that is exclusively owned and used by the contractor to fulfill this work statement does not require compliance with Section 508. This exception does not apply to any EIT deliverable, service or item that will be used by any Federal employee(s) or member(s) of the public. This exception only applies to those contractors assigned to fulfill the obligations of this work statement and for the purposes of this requirement, are not considered members of the public.

- 36 CFR 1194.3(f) - Back Office, applies to any EIT item that will be located in spaces frequented only by service personnel for maintenance, repair, or occasional monitoring of equipment. This exception does not include remote user interfaces that are accessible outside the enclosed "space".

- EXEMPTION FOR NATIONAL SECURITY SYSTEMS.--This section shall not apply to national security systems, as that term is defined in section 5142 of the Clinger-Cohen Act of 1996 (40 U.S.C. 1452):

(a) DEFINITION- In this subtitle, the term `national security system' means any telecommunications or information system operated by the United States Government, the function, operation, or use of which--

(1) involves intelligence activities;

(2) involves cryptologic activities related to national security;

(3) involves command and control of military forces;

(4) involves equipment that is an integral part of a weapon or weapons system;

or

(5) subject to subsection (b), is critical to the direct fulfillment of military or

intelligence missions.

(b) LIMITATION- Subsection (a) (5) does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications).

C.4.1.1.11   IMPLEMENT TRANSITION OUT PLAN

The contractor shall implement its Transition-Out Plan no later than 120 calendar days prior to expiration of the task order.  See Section H.28, Transition Out for additional information.

C.4.1.2   CHANGE MANAGEMENT PROCESS

The contractor shall provide a process to manage all changes to enterprise networked services.  The contractor shall prepare and deliver a Configuration Management Plan (CMP) to provide process detail which supports this requirement. This process shall be driven by Requests for Change (RFC), with a formal submission and approval processes that integrate with DHS’ Department-wide change management authorities (e.g. Enterprise Architecture Center of Excellence (EACOE), Infrastructure Configuration Control Board (ICCB), NSS Accreditation Working Group (NSSAWG)) and existing governance mechanisms.  This process shall be implemented by an electronic work flow control system.  The financial management process for this task order shall be integrated with this electronic workflow control system and all reports which that process generates.  The entire CM process shall feed the online electronic project status reporting requirement specified in C.4.1.1.3.3.

All solutions and services shall meet DHS Enterprise Architecture policies, standards, and procedures.   Specifically, the contractor shall comply with the following Homeland Security Enterprise Architecture (HLS EA) requirements:

- All developed solutions and requirements shall be compliant with the HLS EA.

- All IT hardware and/or software shall be compliant with the HLS EA Technical Reference Model (TRM) Standards and Products Profile.

- Description information for all data assets, information exchanges and data standards, whether adopted or developed, shall be submitted to the Enterprise Data Management Office (EDMO) for review and insertion into the DHS Data Reference Model and Enterprise Architecture Information Repository.

- In compliance with OMB mandates, all network hardware shall be IPv6 compatible without modification, upgrade, or replacement.

The contractor shall adhere to a controlled mechanism for keeping both costs and schedule within the following bounds:  to the extent where the contractor has control over the activities in the change process, costs and schedule actual performance is required to not vary by more than +5% and -10% of estimates which are provided in the RFC.  The purpose of this control mechanism is to ensure accuracy in cost and schedule estimation.

C.4.2	Task 2 – HSDN and C-LAN Operations, Maintenance and Enhancement

The contractor shall provide design, engineering, architecture, integration, configuration, testing, deployment, sustainment, operations, and maintenance of HSDN and C-LAN.  This task order will provide services which enhance and integrate with the DHS Network Operations Center, Security Operations Center, Headquarters Operations Center (HOC), Helpdesk and desk side support in accordance with the Service Level Agreements (SLAs).

The contractor shall:

- Provide all of the technical services necessary to engineer, operate, deploy, and maintain the SECRET and the TS/SCI networks for DHS;

- Provide services in accordance with the Service Level Agreements (SLAs) as outlined in Section J, Attachment E;

- Provide operations and maintenance of HSDN and C-LAN, including  the following;

  - Monitoring and reporting in real- and near real-time all enterprise networked services for operational status and utilization,

  - Operate 24x7 Network Operations Centers (NOC),

  - Operate 24x7 Helpdesk Support,

  - Manage and coordinate circuit provisioning with the designated circuit management personnel,

  - Maintain configuration management database,

  - Manage and maintain secure radio frequency (RF) and non-radio frequency wireless communications (e.g. SME-PED, Land Mobile Radio (LMR), laser, and SATCOM),

  - Provide Secure Messaging System (SMS) administration and support,

  - Manage End-user account processing (e.g. create, modify and delete),

  - Provide training to end users and site administrators,

  - Provide desktop support and customer follow-up,

  - Provide preventive maintenance and obsolescence management, and

  - Make recommendations for improved services.

- Perform project control activities and performance management report for all projects and sites including;

  - Scheduling Activities,

  - Request for Change (RFC) support as it relates to operations and maintenance activities, and

  - Business Administration support.

- Provide remote operations and management as well as on site maintenance as required for classified systems hosted at data centers;

- Develop an access management procedure with the DHS Data Center contractor;

- Manage and operate remote network user login services;

- Prepare  Rough Order Magnitudes, technical drawings and explanations, presentation materials, and provide subject matter expertise as needed to promote approval and implementation of RFCs;

- Maintain, monitor and manage the DHS Classified Enterprise Networked Services infrastructure;

- Provide performance tuning and optimization services;

- Perform evaluation and verification of deployments and system upgrades;

- Maintain specialized user applications and database requests;

- Verify installed configurations are consistent with configuration management and version control of all software, privileged and normal user accounts; and

- Perform Information Technology Information Library (ITIL) Capacity Management processes to ensure that all serviced elements are provisioned to support operational SLAs.

C.4.2.1   Subtask 1 – Systems Engineering, Architecture, and Technical Analysis

The contractor shall develop, and upon Government approval, execute a technical strategy to sustain and improve enterprise networked services in a disciplined and structured manner.

The contractor shall:

- Ensure architecture, engineering, and design of networked services are consistent with DHS standards, regulations, policies and approved practices;

- Documenting the operational user requirements and the technical system derived requirements in preparation for system design, i.e. document, and manage end user and business owner operational requirements, key performance attributes, and measures of effectiveness for classified infrastructure systems functionality;

- Maintain the technical as-built documentation of the infrastructure;

- Maintain the “To-Be” architecture and build-out plan to a level of granularity that enables trade-off analysis to be performed that supports annual and special program planning and budgeting exercises;

- Develop engineering solutions for the continuous improvement of DHS Enterprise Networked Services;

- Review and evaluate proposed engineering and architectural solutions and submit recommended solutions for Government approval;

- Develop Rough Order of Magnitude (ROM)/RFC Development for service requests to meet Components and user requirements, based on processes that are defined by the Configuration Management Plan (CMP);

- Develop and update documentation in accordance with DHS Acquisition Directive 
102-01 and the Systems Engineering Life Cycle (SELC);

- Provide technical and engineering services for network changes and enhancements;

- Provide engineering solutions to the information sharing problem which involve the deployment of cross domain solutions; and

- Provide engineering solutions which address all aspects of enterprise management (networks, services, and applications). Provide interface solutions to enterprise services provided by external organizations.

C.4.2.2   Subtask 2 – Design, Development and Test

The contractor shall design, develop, acquire, implement, integrate, test, document, and secure systems and subsystems of the HSDN and C-LAN, with the objective to provide reliable, available, and secure data transport; and application hosting and access for authorized users.

The contractor shall:

- Provide development laboratory environments at Government-provided locations or at contractor-provided locations that are approved by the Government which are capable of simulating or replicating conditions on the operational network, isolated from ongoing operations;

- Operate, maintain and provide timely refreshes as technology evolves;

- Provide all management and logistics support for engineering services functions in compliance with DHS standards and policies;

- Develop and execute strategies and plans for interfacing to or incorporating currently independent operational enclaves;

- Develop and track the allocation of operational requirements to the system design level, including technical systems, manpower, resources, operations and logistics;

- Demonstrate that system level requirements are reflective of end user and business owner operational requirements;

- Maintain requirements traceability throughout the lifecycle;

- As required and approved, provide operations and management of applications.  DHS uses a combination of Commercial Off the Shelf (COTS), Government Off the Shelf (GOTS) and custom developed applications to support specific missions in the Department;

- Provide development to customize applications to operate in mission scenarios and provide application support to maintain and extend mission application capabilities;

- Provide advice on emergency radio communications that interface with DHS computer networks, develop solution plans, and implement as directed;

- Assess and provide options for how interoperability across these systems can be enhanced;

- Implement identity, credentialing, and access management services consistent with DHS Policies and Procedures;

- Identify, acquire, customize and integrate the suite of technical management tools required to control communication network priorities so that secure video-teleconferencing (SVTC) and voice over secure IP (VoSIP) operate at a level of quality of service (QoS) appropriate to the successful implementation of these capabilities;

- Establish and support remote network user login services;

- Design and develop a methodology and mechanism for performance optimization of enterprise networked services;

- Develop and update systems engineering documentation in accordance with DHS SELC policy and guidelines;

- Assist the government in evolution of standardized business processes consistent with ITIL;

- Across all classified enterprise networked services, use a standardized, consistent, and disciplined approach for all systems engineering, architecture, design, development, integration, security, deployment, testing, operations, and maintenance activities;

- In accordance with the RFC process, design and develop new system capabilities and repair problems identified during discovery or reported by end users and support personnel;

- Apply standardized and consistent systems engineering methods to every RFC to ensure that reliability, availability, and security of the enterprise is maintained without introduction of unacceptable risk;

- Prepare  Rough Order Magnitude estimates, technical drawings and explanations, and presentation materials, as needed to support approval and implementation of RFCs; and

- Develop training packages for all users and administrators.

C.4.3	Task 3 – HSDN deployment

The contractor shall acquire, warehouse, inventory, transport, install, configure, integrate, test, and secure components of the HSDN for deployment to new and existing sites.  The contractor shall develop and present standard training modules to authorized users and administrators.

The contractor shall:

- Ensure that work on all approved site Move, Add or Change (MAC) requests comply with the DHS network and enterprise architecture, DHS policy and guidance documents, and with all pertinent security requirements;

- Provide project tracking of all RFCs.  Produce Rough Order of Magnitude estimates for schedule, costs, and technical requirements (For Example:  Evaluate physical, electrical, HVAC, circuit and security capabilities/characteristics, etc) to satisfy RFCs, including MACs, service enhancements, and deployments;

- Execute deployment, moves, additions or changes in accordance with approved RFCs;

- Plan, develop and document all requirements for HSDN deployments and prepare cost and schedule estimates in support of RFC submissions;

- Provide turn-key services to create or modify existing or new IT facilities approved for the installation and operation of classified systems, including SECRET and TOP SECRET /SCI at the customer location specified in each RFC;

- Provide positive physical control of warehouse inventory, databases enumerating that inventory, and access control by project personnel to the equipment warehouse, in accordance with Federal policies for handling of classified material;

- Provide support for RFC presentation and review by the ERB and CCB and delivery to the DHS;

- Provide all of the technical services necessary to deploy new sites, and to do moves/adds/changes to existing sites based on approved RFCs;

- Provide logistical support to meet the deployment standards defined by the SLAs; and

- Develop and present training to end users and site administrators.

C.4.4	Task 4 – C-LAN deployment

The contractor shall acquire, warehouse, inventory, transport, install, configure, integrate, test, and secure components of the C-LAN for deployment to new and existing sites.  The contractor shall develop and present standard training modules to authorized users and administrators.

The contractor shall:

- Ensure that work on all approved site Move, Add or Change (MAC) requests comply with the DHS network and enterprise architecture, DHS policy and guidance documents, and with all pertinent security requirements;

- Provide project tracking of all RFCs.  Produce Rough Order of Magnitude estimates for schedule, costs, and technical requirements (For Example:  Evaluate physical, electrical, HVAC, circuit and security capabilities/characteristics, etc) to satisfy RFCs, including MACs, service enhancements, and deployments;

- Execute deployment, moves, additions or changes in accordance with approved RFCs;

- Plan, develop and document all requirements for C-LAN deployments and prepare cost and schedule estimates in support of RFC submissions;

- Provide turn-key services to create or modify existing or new IT facilities approved for the installation and operation of classified systems at the TOP SECRET /SCI customer location specified in each RFC;

- Provide positive physical control of warehouse inventory, databases enumerating that inventory, and access control by project personnel to the equipment warehouse, in accordance with Federal policies for handling of TS/SCI material;

- Provide support for RFC presentation and review by the ERB and CCB and delivery to the DHS;

- Provide all of the technical services necessary to deploy new sites, and to do moves/adds/changes to existing sites based on approved RFCs;

- Provide logistical support to meet the deployment standards defined by the SLAs; and

- Develop and present training to end users and site administrators.

C.4.5	Task 5 – HTSN development, Deployment and sustainment (OPTIONAL)

The contractor shall provide a responsive, reliable, survivable computing infrastructure platform and framework for voice, video and data communications in support of TS/SCI collaboration, information sharing, and knowledge management activities across DHS and its homeland security partners.

The contractor shall:

- Perform design, acquisition, testing, integration, deployment and transition activities to implement the following features:

  - A centrally governed enterprise-level TS/SCI network that accommodates existing and future DHS network circuits;

  - A potential future TS collateral network

  - Common provisioning of enterprise applications to include office productivity, file sharing, and email;

  - An infrastructure capable of hosting existing and current and future intelligence applications;

  - A central network and security operations and monitoring capability;

  - Conventional and low-cost type accredited workstation solutions, WAN and communication interface designs;

  - Critical backup, recovery, and Continuity of Operations (COOP) capability

- Provide development laboratory environments at Government-provided locations or at contractor-provided locations that are approved by the Government which are capable of simulating or replicating conditions on the operational network, isolated from ongoing operations.

C.4.6	Task 6 – HSC development, Deployment and sustainment (OPTIONAL)

Leveraging existing DHS components and networks, the contractor shall provide the voice, video, and data communications infrastructure and supporting operations necessary to exchange classified national security information for intelligence sharing and analysis; counterterrorism planning; and crisis response across DHS and its homeland security partners.

The contractor shall perform design, acquisition, testing, integration and deployment activities to implement the following capabilities:

  - Classified Virtual Collaboration to include;

  - Hosting classified conferences with multiple participants (DHS Components, other Federal agencies, and State and local homeland security partners),

  - Classified voice and video collaboration with document sharing and data streaming (video, satellite feeds),

  - Desktop-based point-to-point Video Teleconferencing (VTC),

  - Classified voice-only devices, and

  - Connection to classified VTC and Collaboration sessions using Secure Telephone Equipment (STE) and secure wired and wireless devices,

  - Classified Mobile Communications, to include;

- Classified wireless (satellite and cellular) communications (includes email and internet access), in Continental United States (CONUS) and Outside the Continental United States (OCONUS),

- Connectivity among mobile classified mobile communications devices, remote operations centers, and the DHS classified communications infrastructure,

- Connectivity  to field operators,

- In CONUS along the US Borders, airfields and other ports of entry, and

- In remote locations (including OCONUS),

- Communications relay between mobile classified radios via IP over classified landlines,

- Deployable classified communications centers,

- Interoperability between DHS mobile classified devices and other federal agencies’ (e.g. the White House) in-house communications devices, and

- Classified Directory Services.

C.4.7   TASK 7 – Communications Security (COMSEC) Equipment, Policy, and Procedures

- Utilize the DHS COMSEC Material Control System (CMCS) for the distribution, deployment, and accountability of COMSEC materials and equipment;

- In accordance with DHS Management Directive 4300B, augment and assist with the operation and maintenance of the DHS National COMSEC account and the DHS National Capital Region COMSEC account for distribution and accountability of COMSEC materials and equipment;

- Incorporate and develop engineering solutions to facilitate the Electronic Key Management System (EKMS) and the future Key Management Infrastructure (KMI) into the system architecture for deployment of electronic key to enterprise networked encryption equipment;

- Procure, warehouse, control, and deploy all Controlled Cryptographic Items (CCI) through the DHS National COMSEC accounts IAW approved Requests for Change (RFCs) and the approval of the DHS COMSEC Central Office of Record.

C.4.8	Task 8 – security services

The contractor shall support management of the security processes, controls and tools that provide information assurance among the HSDN and C-LAN enterprise networked services, in accordance with DHS Management Directive 4300B and DCID 6/3.  The contractor shall support the DHS Risk Management Division (RMD) in their oversight of security compliance of HSDN and C-LAN systems relative to DHS security policies, guidance and mandates.

The contractor shall provide engineering, operations, and maintenance of functions necessary to provide all security solutions and services for the DHS security compliance program, to include:

  - Operate 24x7 Security Operations Centers (SOC) to include continual security monitoring of all relevant systems to track potentially suspicious anomalies, and analyze these anomalies to determine whether they are reportable security events,

  - All security events and notification will be reported to the enterprise DHS SOC and relevant parties for escalation,

  - Ensure compliance through development and maintenance of sufficient security controls, processes and procedures to meet DHS Information Assurance, Information Security, and Communications Security policies and procedures,

  - Conduct continual security scans, perform analysis of the scan results, and report all findings,

  - Support response to all security events on the HSDN and C-LAN, including developing Incident Response Plans, taking remediation actions, and coordinating with other incident responder organizations,

  - Support disaster recovery and contingency planning activities

  - Provide security training to end users and site administrators,

  - Make recommendations for improved security services.

- Develop and maintain all relevant security documentation including C&A Updates, Security Incident Reports, Standard Operating Processes and Procedures as well as  other documentation in accordance with the DHS SELC;

- Change Management

  - Perform validation and remediation of all proposed changes to maintain or enhance existing security controls, processes or procedures.

  - Ensure that all proposed changes are processed in accordance with the CMP for appropriate approval and guidance.

- Patch Management

- Monitor and report on the timeliness of implementation of patches to mitigate security risks and findings,

- Provide patch management and reporting of security risks and findings, and

- Perform patch and upgrade management.

The contractor shall provide engineering functions necessary to provide all security solutions and services for the DHS security compliance program, to include:

- Provide security engineering support in close coordination with enterprise engineering functions within this Task Order and in compliance with the Configuration Management Plan, to include:

- Engineering assistance to develop modifications that implement technical security policies and controls, consistent with DHS Enterprise Architectures, policies and standards;

- Integrate security processes, controls and technologies into technical solutions.

- Where feasible, leverage type-accredited solutions, and a consistent approach in design, development, and testing;

- Develop situation-specific, accreditable solutions;

- Provide a comprehensive assessment of the security posture and vulnerability of newly engineered IT services, as required;

- Develop engineering solutions to correct anomalies identified during periodic security testing, while ensuring certification and accreditation is maintained;

C.4.9	Task 9 – other IT serviceS

The contractor shall provide Other IT Services and maintenance in accordance with the Service Level Agreements (SLAs).

C.4.9.1   Subtask 1 – video conferencing

The contractor shall:

- Engineer, operate, and maintain video teleconferencing and multimedia services and equipment.   Conferencing and multimedia equipment includes support for secure and non-secure bridging systems, display and projection systems, electronic whiteboards, audio systems, DVD and video recording and replay, video switching systems, control systems, and video cameras;

- Provide 7x24x365 (366 for leap years) support for set up and operation of VTC and multimedia systems for selected DHS buildings (currently 2 locations but may increase over the life-cycle of the award); provide user level maintenance support for VTC and multi-media systems, and operate video conferences at multiple locations;

- Maintain, setup, monitor, and troubleshoot video equipment for users.  The contractor shall assist customers with the use of video conferencing systems by providing personal instruction in the use of control interfaces and procedures;

- Schedule and monitor all video teleconferencing sessions;

- Maintain an inventory of video conferencing equipment owned and leased by DHS;

- Maintain a DHS video conferencing contact list;

- Maintain and operate a VTC management platform;

- Install, replace and configure video conferencing equipment required by DHS Component customers; and

- Complete all work at SECRET and TS/SCI.

C.4.9.2   Subtask 2 – it continuity management

The contractor shall:

- Perform classified continuity management actions affecting the Information Technology Service Office and all of its functions including the Network Management Center, Security Management Center, Front Office, Enterprise Business Management Office, Infrastructure Information Systems Security Manager (ISSM), Mission Critical Infrastructure Operations (MCIO), Enterprise Application Delivery and Operations, IT Continuity Management, Business Office Operations, Infrastructure Transformation Office, Wireless Management Office, and all network and telecommunications components;

- Provide continuity management and redundancy capability to the classified Help Desk;

- These programs/offices have recoverable IT essential functions (EFs) with alternate site operations occurring on the classified systems.  Provide IT integration capability for all departmental, intergovernmental, and non-governmental organization (NGO) applications used on the classified networks.

C.4.9.3   Subtask 3 –continuity planning

For the classified networks and systems, the contractor shall:

- Coordinate strategic planning with programs and offices annually. The outcome of the strategic planning is the Multi-Year Strategic Program Management Plan containing continuity planning goals and objectives to include performance measures for the period;

- Update and maintain annually the national security systems sections of the CIO COOP Implementation Plan.  The contractor shall provide the document to the CR for approval;

- Develop, maintain, update and implement the Incident Response and Management Plan, containing management activist and emergency response and escalation procedures.  The contractor shall update the plan annually based on threat, exposure and business continuity strategy; and

- Develop, maintain, update the national security system sections of the CIO Operational Recovery Plan and IT Disaster Recovery/Business Continuity Plans, at least annually for offices and programs.

C.4.9.4   Subtask 4 –continuity reviews and coordination

For the classified networks and systems the contractor shall:

- Participate in Enterprise Architecture Center of Excellence (EACOE) reviews, Enterprise Change Control Board (ECCB) reviews, and other compliance activities to identify the impact of these bodies’ decisions and actions on IT continuity planning and advise these bodies’ on continuity planning considerations.  The contractor shall document the reviews continuity planning impacts and provide comments in accordance with the guidelines provided by the appropriate board; and

- Schedule, plan and conduct a periodic meeting of designated stake holders to discuss and coordinate requirements for the development and maintenance of the Disaster Recovery and IT Contingency Plan and coordinate the plans and activities for conducting COOP Exercises.  The meeting participants shall also coordinate actions taken to address findings resulting from COOP exercises.  The contractor shall provide meeting minutes to the CR within three business days of the meeting.

C.4.9.5   Subtask 5 –continuity program administration

For the classified networks and systems, the contractor shall:

- Develop, maintain, update and implement IT continuity policy, guidance, methodologies and tools.  Updates shall occur at least annually, in response to Homeland Security Presidential Directives (HSPDs), or as directed by the CR;

- Update and maintain the list of CIO essential functions and critical IT and telecommunication networks, systems, facilities, and critical positions;

- Perform a continuity management review, periodically, or when significant changes occur to the essential function(s) or DHS IT infrastructure. Changes shall result in a threat and vulnerability exposure, Risk Assessment, Interdependency Analysis, Business Impact Analysis.  The contractor shall ensure re-use of existing information when performing the aforementioned tasks.  The contractor shall prepare a report and executive briefing identifying risk to the CIO;

- Conduct a review of the CIO COOP Implementation program, Operational Recovery/IT Contingency Plans, observe related tests, and provide feedback on program compliance in accordance with all applicable executive orders, presidential directives, other federal and DHS laws, federal orders management policies, handbooks, guidelines, processes, and procedures; and

- Develop executive briefings.

C.4.9.6   Subtask 6–electronic records

For the classified networks and systems, the contractor shall:

- Develop, maintain, update and implement the electronic vital records program to ensure critical records are stored off premise.  Records range from paper-based documents to the latest electronic-storage media;

- Ensure off-site storage location(s) be located at least 50 miles from the production site, outside of the impact area of the production site, and inside the continental U.S.;

- The frequency of records back-up is dependent on the record type;

- The retrievable and fully operational time frames shall fulfill the performance requirements for critical and non-critical systems as identified in Continuity of Government Condition (COGCON) level activation and reconstitution timeframes; and

- Test and ensure the records are retrievable and usable at least quarterly.  The contractor shall provide a test report to the CR within five (5) business days of completing the test.

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section D of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

D.1   PRESERVATION, PACKAGING, PACKING, AND MARKING

The contractor shall deliver all electronic versions by email and CD-ROM as well as placing in the DHS designated repository.  Identified below are the required electronic formats, whose versions must be compatible with the latest, commonly available version on the market.

- Text			Microsoft Word

- Spreadsheets		Microsoft Excel

- Briefings			Microsoft PowerPoint

- Drawings			Microsoft Visio

- Schedules			Microsoft Project

- Databases			Appropriate to the specific environment

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section E of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

E.2	PLACE OF INSPECTION AND ACCEPTANCE

Inspection and acceptance of all work performance, reports and other deliverables under this Task Order shall be performed by the FEDSIM COR and the DHS CR in the Washington, DC metropolitan area.

E.3	SCOPE OF INSPECTION

All deliverables will be inspected for content, completeness, accuracy and conformance to Task Order requirements by the FEDSIM COR.  Inspection may include validation of information or software through the use of automated tools, testing or inspections of the deliverables, as specified in the Task Order.  The scope and nature of this inspection will be sufficiently comprehensive to ensure the completeness, quality and adequacy of all deliverables.

The Government requires a period not to exceed 15 work days after receipt of final deliverable items for inspection and acceptance or rejection.

E.4	BASIS OF ACCEPTANCE

The basis for acceptance shall be compliance with the requirements set forth in the Task Order, the contractor’s proposal and other terms and conditions of the Alliant contract.  Deliverable items rejected shall be corrected in accordance with the applicable clauses.

For software development, the final acceptance of the software program will occur when all discrepancies, errors or other deficiencies identified in writing by the Government have been resolved, either through documentation updates, program correction or other mutually agreeable methods

Reports, documents and narrative type deliverables will be accepted when all discrepancies, errors or other deficiencies identified in writing by the Government have been corrected.

If the draft deliverable is adequate, the Government may accept the draft and provide comments for incorporation into the final version.

All of the Government's comments to deliverables must either be incorporated in the succeeding version of the deliverable or the contractor must demonstrate to the Government's satisfaction why such comments should not be incorporated.

If the Government finds that a draft or final deliverable contains spelling errors, grammatical errors, improper format, or otherwise does not conform to the requirements stated within this Task Order, the document may be immediately rejected without further review and returned to

the contractor for correction and resubmission.  If the contractor requires additional Government guidance to produce an acceptable draft, the contractor shall arrange a meeting with the FEDSIM COR.

E.5	DRAFT DELIVERABLES

The Government will provide written acceptance, comments and/or change requests, if any, within 15 work days (unless specified otherwise in section F) from Government receipt of the draft deliverable.  Upon receipt of the Government comments, the contractor shall have 10 work days to incorporate the Government's comments and/or change requests and to resubmit the deliverable in its final form.

E.6	WRITTEN ACCEPTANCE/REJECTION BY THE GOVERNMENT

The Contracting Officer (CO)/Contracting Officer’s Representative (COR) shall provide written notification of acceptance or rejection of all final deliverables within 15 work days (unless specified otherwise in Section F).  All notifications of rejection will be accompanied with an explanation of the specific deficiencies causing the rejection.

E.7	NON-CONFORMING PRODUCTS OR SERVICES

Non-conforming products or services will be rejected.  Deficiencies will be corrected, by the contractor, within 10 work days of the rejection notice. If the deficiencies cannot be corrected within 10 work days, the contractor will immediately notify the FEDSIM COR of the reason for the delay and provide a proposed corrective action plan within 10 work days.

If the contractor does not provide products or services that conform to the requirements of this task order, the Government will document the issues associated with the non-conforming products or services in the award fee determination report and there will be an associated reduction in the award fee.

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section F of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

F.3	PERIOD OF PERFORMANCE

The period of performance for this Task Order is a one (1) year base period and six (6), one (1) year option periods.

F.4	PLACE OF PERFORMANCE

The primary place of performance shall be at the contractor’s facility.  In addition to office space the contractor’s facility shall include spaces suitable for a development and test facility and classified IT storage.  The contractor facility shall be accreditable to TOP SECRET/SCI.

For O&M and COMSEC on-site support, initially a total of 24 seats will be provided by the Government at various locations in the National Capital Region.

Other places of performance, for on-site work, based on the operational situation at any point in time, shall occur at any HSDN or C-LAN infrastructure location, such as Data Centers 1 (Mississippi) and 2 (Virginia), and at any end-user location (any HSDN or any C-LAN site).  Sites are located all over the United States and territories.  Future DHS plans may include selected foreign countries.

Long distance travel shall be required in support of this effort.

F.5	DELIVERABLES

The following schedule of milestones will be used by the FEDSIM COR to monitor timely progress under this Task Order. The contractor shall deliver the deliverables and meet the milestones stated below.  Section E describes acceptance for deliverables.

The following abbreviations are used in this schedule:

NLT:  No Later Than

TOA:  Task Order Award

All references to Days:  Government Workdays

| Deliverable | Reference | Planned Completion Date |
| --- | --- | --- |
| Program Start (PS) |  | At TOA |
| Kickoff Meeting Agenda | C.4.1.1.1 | 24 Hours Prior to Kick-Off Meeting |
| Kickoff Meeting | C.4.1.1.1 | Fifteen (15) Days After Award |
| Transition In Plan – Final | C.4.1.1.2 / H.27 | Fifteen (15) Days After Award |
| Final Quality Control Plan | C.4.1.1.1 | At Kickoff Meeting |
| Earned Value Management Plan | C.4.1.1.1 | At Kickoff Meeting |
| Provide WAR | C.4.1.1.3.1 | Weekly |
| Provide MSR | C.4.1.1.3.2 | 10th of Each Month |
| Provide WPR | C.4.1.1.3.3 | Weekly |
| Report EVM Statistics | C.4.1.1.4 | Monthly |
| Provide Technical Status Meeting Minutes | C.4.1.1.5 | Five (5) Calendar Days After Meeting |
| Draft Project Management Plan | C.4.1.1.6 | At Kick-Off Meeting |
| Final Project Management Plan | C.4.1.1.6 | 30 Calendar Days After Kick-Off Meeting |
| Project Management Plan Updates WBS (Part of PMP) | C.4.1.1.6.2 C.4.1.1.6.1 | Yearly |
| Trip Reports | C.4.1.1.7 | Five (5) Days After Travel Completion |
| QCP Updates | C.4.1.1.8 | Yearly |
| BCP | C.4.1.1.9 | 30 Days After TOA; Updated annually |
| Section 508 Product Accessibility Report | C.4.1.1.10 | NLT 30 days after TOA and upon system changes affecting the report |
| Transition-Out Plan | C.4.1.1.11 | NLT Than 120 Calendar Days Before TO Expiration |
| Configuration Management Plan (CMP) | C.4.1.2 | NLT 60 days after TOA, and revised whenever the CM process changes |
| Develop Access Management Procedure | C.4.2 | NLT 30 days after TOA |
| Prepare RFC documentation, including cost, schedule, technical drawings and explanations, presentation materials | C.4.2 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Enterprise Networked Services Technical Strategy for the overall effort | C.4.2.1 | 120 calendar days after completion of Transition In |
| Document user requirements | C.4.2.1 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Rough Order of Magnitude (ROM) Cost And Schedule Estimates | C.4.2.1, C.4.2.2, C.4.3, C.4.4 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop And Update Documentation | C.4.2.1, C.4.2.2, C.4.3, C.4.4 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Strategies And Plans for operations, maintenance, and enhancement of HSDN and C-LAN | C.4.2.2 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Allocation Of Operational Requirements | C.4.2.2 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Methodology And Mechanism For Performance Optimization | C.4.2.2 | Triggered by significant changes to the architecture of the infrastructure occur. |
| Develop Situation-Specific Accredited Solutions | C.4.8 | Triggered by the operational requirement for new or changed situation-specific events. |
| Develop Engineering Solutions | C.4.2.2 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop Training Packages | C.4.2.2, C.4.3, C.4.4 | In accordance with the DHS RFC process as defined in the CMP. |
| Develop C&A Updates, Security Incident Reports and Documents | C.4.8 | Tri-annually (core C&A), weekly (incident reports), in near-real-time (upon event), or when network security posture is changed (documents) |
| Provide Patch Management Reports Of Security Risks and Findings | C.4.8 | Monthly |
| Update and maintain CIO COOP Implementation Plan | C.4.9.3 | Annually |
| Update and maintain Incident Response and Management Plan | C.4.9.3 | Annually |
| Update and maintain CIO Operational Recovery Plan and IT Disaster Recovery/Business Continuity Plans | C.4.9.3 | Annually |
| Test Reports | C.4.9.6 | Within 5 business days of completing test |

F.6	PLACE(s) OF DELIVERY

Unclassified deliverables and correspondence shall be delivered to the GSA Contracting Officer (CO) and Contracting Officer’s Representative (COR) at the address below:

GSA FAS AAS FEDSIM

ATTN:

Copies of all deliverables shall also be delivered to the DHS CR at the address below:

Client Representative:

Contact Info To Be Provided After Award.

F.7	NOTICE REGARDING LATE DELIVERY/PROBLEM NOTIFICATION

REPORT

The contractor shall notify the FEDSIM COR via a Problem Notification Report (PNR) (Section J, Attachment H) as soon as it becomes apparent to the contractor, that a scheduled delivery will be late.  The contractor shall include in the PNR the rationale for late delivery, the expected date for the delivery and the project impact of the late delivery.  The FEDSIM COR will review the new schedule and provide guidance to the contractor.  Such notification in no way limits any Government contractual rights or remedies including termination.

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section G of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

G.3.5	CONTRACTING OFFICER’S REPRESENTATIVE

The Contracting Officer will appoint a Contracting Officer's Representative (COR) in writing for each Task Order (TO).  The COR will receive, for the Government, all work called for by the TO and will represent the CO in the technical phases of the work.  The COR will provide no supervisory or instructional assistance to contractor personnel.

The COR is not authorized to change any of the terms and conditions of the Alliant Contract or the TO.  Changes in the scope of work will be made only by the CO by properly executed modifications to the Alliant Contract or the TO.

G.9.6	INVOICE SUBMISSION

The contractor shall submit Requests for Payments in accordance with the format contained in GSAM 552.232-70, INVOICE REQUIREMENTS (SEPT 1999), to be considered proper for payment.  In addition, the data elements indicated below shall be included on each invoice.

Task Order number:  #

Paying Number:  (ACT/DAC NO.) (From GSA Form 300, Block 4)

FEDSIM Project No.: 10068HSM

Project Title: Enterprise Networked Services Support (ENSS)

Invoice Date

Invoice Number

Proper Bill to address

Proper Remit to address

Prime Contract number

IA/Account number

Task Order Period of Performance

Payment Terms

Due Date (if applicable)

Task Order Value

Funded Value

Cost

Fees

Cumulative Amount Billed

Billing Period Date

Remaining Task Order Balance

The contractor shall provide invoice backup data in accordance with the contract type, including detail such as labor categories, rates and quantities of labor hours per labor category.

In addition, the contractor shall provide a spreadsheet detailing all RFCs, corresponding Work Breakdown Structure (WBS) numbers, detailed CLIN costs (Labor, Tools, ODCs and Travel), and cost totals including any related fees. This invoice backup data should represent the same period of performance as the submitted invoice (first of previous month through last day of previous month). The costs in this report should reconcile to the submitted invoice.

The contractor shall submit invoices as follows:

The contractor shall utilize FEDSIM’s electronic Tracking and Ordering System (TOS) to submit invoices.  The contractor shall submit invoices electronically by logging onto the following link (requires Internet Explorer to access the link):

https://enable.its.gsa.gov

Select Vendor Support, log in using your assigned I.D. and password, then click on Create Invoice.  The TOS Help Desk should be contacted for support at 877-472-4877 (toll free).  By utilizing this method, no paper copy of the invoice shall be submitted to GSA FEDSIM or the GSA Finance Center.  However, the FEDSIM COR may require the contractor to submit a written “hardcopy” invoice with the client’s certification prior to invoice payment.

G.9.6.1	INVOICE REQUIREMENTS

The contractor shall submit simultaneous copies of the invoice to both GSA and the DHS CR.

The final invoice is desired to be submitted within 6 months of project completion.

G.9.6.1.1   COST PLUS AWARD FEE (CPAF) CLINS (for LABOR)

The contractor may invoice monthly (includes first of previous month through last day of previous month) on the basis of cost incurred for the CPAF CLINs.  The invoice shall include the period of performance covered by the invoice and the CLIN number and title.  All hours and costs shall be reported by CLIN element (as shown in Section B) and contractor employee and shall be provided for the current billing month and in total from project inception to date.  The contractor shall provide the invoice data in spreadsheet form with the following detailed information.  The listing shall include separate columns and totals for the current invoice period and the project to date.

By Task:

- Employee name (current and past employees)

- Employee company labor category

- Employee Alliant labor category

- Monthly and total cumulative hours worked

- Billing rate, by labor category for this invoice period (as proposed in the cost proposal)

- Cost incurred not billed

All cost presentations provided by the contractor shall also include Overhead Charges, and General and Administrative Charges.

The Government will promptly make payment of any award fee upon the submission, by the contractor to the FEDSIM Contracting Officer's Representative (COR), of a public voucher or invoice in the amount of the total fee earned for the period evaluated.  Payment may be made without issuing a Task Order modification if funds have been obligated for the award fee amount.  The contractor shall attach the AFDO/CO determination letter to the public voucher and/or invoice.

G.9.6.1.2    OTHER DIRECT COSTS (ODCs)

The contractor may invoice monthly on the basis of cost incurred for the ODC CLIN.  The invoice shall include the period of performance covered by the invoice and the CLIN number and title and IA number.  In addition, the contractor shall provide the following detailed information for each invoice submitted, as applicable.  Spreadsheet submissions are required.

- ODCs purchased

- Consent to Purchase number or identifier

- Date accepted by the Government

- Associated CLIN

- Project to date totals by CLIN

- Cost incurred not billed

- Remaining balance of the CLIN

All cost presentations provided by the contractor shall also include Overhead Charges, General and Administrative Charges and Fee.

G.9.6.1.3    TRAVEL

The contractor may invoice monthly on the basis of cost incurred for cost of travel comparable with the JTR/FTR.  Long distance travel is defined as travel over 50 miles.  The invoice shall include the period of performance covered by the invoice, the CLIN number and title, and the IA Account number.  Separate worksheets, in MS Excel format, shall be submitted for travel.

CLIN/Task Total Travel: This invoice information shall identify all cumulative travel costs billed by CLIN/Task.  The current invoice period’s travel detail shall include separate columns and totals and include the following:

- Travel Authorization Request number or identifier

- Current invoice period

- Names of persons traveling

- Number of travel days

- Dates of travel

- Number of days per diem charged

- Per diem rate used

- Total per diem charged

- Lodging costs

- Transportation costs

- Total charges

All cost presentations provided by the contractor shall also include Overhead Charges and General and Administrative Charges.

G.10	CONTRACT ADMINISTRATION

Contracting Officer:

Contracting Officer’s Representative:

Client Representative:

To Be Provided After Award.

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section H of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

H.2	PERSONNEL

H.2.1	KEY PERSONNEL

The following are designated key personnel for this task order.  The offeror shall propose appropriate labor categories for these positions.

- Program Manager

- Chief Engineer/Architect

- Engineering Manager

- Deployment Manager

- Data Manager

- O&M Manager

- Security Services Manager

The Government desires that key personnel be assigned for the duration of the Task Order.

H. 2.1.1   PROGRAM MANAGER

The Contractor shall provide a Program Manager (PM) who shall be responsible for all work performed under this consolidated requirements document.  The PM shall be a single point of contact for the Contracting Officer, COR and the Client Representative (CR).  The PM shall be the contractor's authorized representative for the technical and administrative performance of all services required under this Task Order.  The PM shall be the first Point of Contact (POC) for Task Order or administrative questions or difficulties that arise related to this Task Order.  The PM shall be the primary point through which communications, requirements, and technical direction flow between the Government and the contractor. The PM shall be available during normal hours of operation, and during periods of no-notice emergencies, including localized acts of nature, accidents, and military or terrorist attacks, to plan, direct, and control the overall management and operational functions specified herein.  The PM shall provide the necessary level of Task Order management and administrative oversight to achieve the quantitative and qualitative requirements of this Task Order. The PM or alternate shall have full authority to act for the contractor on all matters relating to daily operation of this Task Order.

It is desirable that the Program Manager have the following desirable qualifications:

- Formal education in Project Management; and

- Management experience with systems similar in size and scope.  At least five years of demonstrated excellence in planning, directing, and managing complex IT projects or operations of a similar nature in size and scope as required under this Task Order;

- Demonstrated successful management and supervision of employees of various labor categories and skills in projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, including familiarity with International Organization for Standardization (ISO) 9001:2000, Institute of Electrical and Electronics Engineers (IEEE), and the Carnegie Mellon’s Software Engineering Institute (SEI) CMMI standards;

- Knowledge of, and experience with, the 508 of the Rehabilitation Act: Electronic and Information Technology Accessibility Standards, and how the Act impacts requirements similar to those of the Task Order;

- Knowledge of, and experience with, FAR regulations and requirements;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, help desk support and operation;

- Knowledge of, and experience with, networking and network-based software applications;

- Significant experience managing cost type task order/contracts with performance metrics;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications;

- Demonstrated skill in managing projects within estimated cost while delivering on schedule;

- Knowledge of industry and government best practices; and

- PMP certification.

H.2.1.2   chief engineer/ARCHITECT

The Contractor shall provide a Chief Engineer who shall be responsible for the systems engineering and architecture for this entire effort.

It is desirable that the Chief Engineer/Architect have the following desirable qualifications:

- Experience with networks;

- Experience with telecommunication projects;.

- At least five years of demonstrated excellence in planning, directing, and managing complex IT projects from an engineering context of a nature similar in size and scope as referenced under this Task Order;

- Successful supervision of, and ability to provide detailed engineering and technical leadership to, engineering employees of various labor categories and skills in telecommunications or IT projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, to include experience IEEE, ISO 9001:2000, and SEI CMM standards;

- Knowledge of, and experience with, the 508 Rehabilitation Act and how it impacts requirements similar to those of the TOR;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, networking and network-based software applications;

- Knowledge of, and experience with, encryption devices and procedures as they relate to classified networks;

- Experience developing organization system security architecture and IA policy;

- Up-to-date knowledge of current and emerging network and infrastructure technologies;

- Experience with Business Intelligence i.e. strategy planning, implementation;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.1.3   ENGINEERING MANAGER

It is desirable that the Engineer Manager have the following desirable qualifications:

- At least five years of demonstrated experience in the successful design, development, and integration of classified networked enterprise services;

- Successful supervision of, and ability to provide detailed engineering and technical leadership to, engineering employees of various labor categories and skills in telecommunications or IT projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, to include experience IEEE, ISO 9001:2000, and SEI CMM standards;

- Knowledge of, and experience with, the 508 Rehabilitation Act and how it impacts requirements similar to those of the TOR;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, networking and network-based software applications;

- Knowledge of, and experience with, encryption devices and procedures as they relate to classified networks;

- Experience developing organization system security architecture and IA policy;

- Up-to-date knowledge of current and emerging network and infrastructure technologies;

- Experience with Business Intelligence i.e. strategy planning, implementation;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.1.4   DEPLOYMENT MANAGER

It is desirable that the Deployment Manager have the following desirable qualifications:

- At least five years of demonstrated experience in the successful project, cost, and schedule management of all aspects of deployment of classified enterprise networked services at customer and other infrastructure locations;

- Successful supervision of, and ability to provide detailed engineering and technical leadership to, engineering employees of various labor categories and skills in telecommunications or IT projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, to include experience IEEE, ISO 9001:2000, and SEI CMM standards;

- Knowledge of, and experience with, the 508 Rehabilitation Act and how it impacts requirements similar to those of the TOR;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, networking and network-based software applications;

- Knowledge of, and experience with, encryption devices and procedures as they relate to classified networks;

- Experience developing organization system security architecture and IA policy;

- Up-to-date knowledge of current and emerging network and infrastructure technologies;

- Experience with Business Intelligence i.e. strategy planning, implementation;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.1.5   DATA MANAGER

It is desirable that the Data Manager have the following desirable qualifications:

- At least five years of demonstrated experience in the production, cataloging, tracking and configuration control of all data and documents related to classified enterprise networked services;

- Successful supervision of, and ability to provide detailed engineering and technical leadership to, engineering employees of various labor categories and skills in telecommunications or IT projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, to include experience IEEE, ISO 9001:2000, and SEI CMM standards;

- Knowledge of, and experience with, the 508 Rehabilitation Act and how it impacts requirements similar to those of the TOR;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, networking and network-based software applications;

- Knowledge of, and experience with, encryption devices and procedures as they relate to classified networks;

- Experience developing organization system security architecture and IA policy;

- Up-to-date knowledge of current and emerging network and infrastructure technologies;

- Experience with Business Intelligence i.e. strategy planning, implementation;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.1.6   o&M MANAGER

The Contractor shall provide an Operations and Maintenance Manager who has at least five years of demonstrated experience in all operations and maintenance performed under this consolidated requirements document.  The O&M Manager shall assume overall responsibility with respect the execution of the O&M program.

It is desirable that the O&M Manager have the following desirable qualifications:

- Working knowledge of managing IT user training requirements;

- Working knowledge of managing IT asset inventories;

- Working knowledge of managing of providing IT services (e.g., moves, adds, changes (MACs), trouble tickets, etc);

- Working knowledge of managing the IT hardware and software lifecycle;

- Working knowledge of managing the replacement of IT consumables;

- Working knowledge of maintaining IT equipment and consumable inventories;

- Experience in ensuring Service Level Agreement (SLA) compliance;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.1.7   SECURITY SERVICES MANAGER

It is desirable that the Security Services Manager have the following desirable qualifications:

- At least five years of demonstrated experience in the successful design, development, integration, operation, certification and accreditation, and FISMA compliance of classified enterprise networked security services;

- Possess a Certified Information Security Manager (CISM) certification;

- Successful supervision of, and ability to provide detailed engineering and technical leadership to, engineering employees of various labor categories and skills in telecommunications or IT projects similar in size and scope as referenced under this Task Order;

- Knowledge of, and experience with, configuration management and quality assurance concepts and guidelines, to include experience IEEE, ISO 9001:2000, and SEI CMM standards;

- Knowledge of, and experience with, the 508 Rehabilitation Act and how it impacts requirements similar to those of the TOR;

- Knowledge of, and experience with, network design and operation;

- Knowledge of, and experience with, network security;

- Knowledge of, and experience with, networking and network-based software applications;

- Knowledge of, and experience with, encryption devices and procedures as they relate to classified networks;

- Experience developing organization system security architecture and IA policy;

- Up-to-date knowledge of current and emerging network and infrastructure technologies;

- Experience with Business Intelligence i.e. strategy planning, implementation;

- Excellent written and verbal communication skills, including experience in presenting material to senior Government officials and proficiency in the use of Microsoft Office applications; and

- Knowledge of industry and government best practices.

H.2.2	NON-KEY PERSONNEL REQUIREMENTS

Desired elements for all non-key personnel are:

- Excellent customer service and communications skills both verbal and written; and

- Able to work under pressure and intense deadlines.

H.2.3	KEY PERSONNEL SUBSTITUTION

The contractor shall not replace any personnel designated as key personnel without the written concurrence of the CO.  Prior to utilizing other than personnel specified in proposals in response to a TOR, the contractor shall notify the Government CO and the COR of the existing TO.  This notification shall be no later than 10 calendar days in advance of any proposed substitution and shall include justification (including resume(s) and labor category of proposed substitution(s)) in sufficient detail to permit evaluation of the impact on TO performance.

Substitute personnel qualifications shall be equal to, or greater than, those of the personnel being substituted.  If the Government CO and the COR determine that the proposed substitute personnel is unacceptable, or that the reduction of effort would be so substantial as to impair the successful performance of the work under the TO, the contractor may be subject to default action as prescribed by FAR 52.249-6 Termination (Cost Reimbursement).

H.5	GOVERNMENT FURNISHED PROPERTY (GFP)

The Government will provide the workspace, equipment, software and supplies necessary to perform the on-site portion of Contractor services required in this task order, unless specifically stated otherwise in this task order.

For key O&M and COMSEC on-site support, initially a total of 24 seats will be provided by the Government at various locations in the National Capital Region.  All of the remaining effort under this task order will be performed at the contractor site, and through local and long-distance travel.

In cases where the Government does not or cannot provide the appropriate workspace, equipment and supplies, the contractor shall provide additional workspaces, equipment, and supplies as needed to fulfill the requirements of the task order.

H.5.1	GOVERNMENT FURNISHED INFORMATION (GFI)

The Government will provide all necessary information, data and documents to the Contractor for work required under this task order. The Contractor shall use Government furnished information, data and documents only for the performance of work under this task order, and shall be responsible for returning all Government furnished information, data and documents to the Government at the end of the performance period.  The Contractor shall not release Government furnished information, data and documents to outside parties without the prior and explicit consent of the Contracting Officer.

H.7	SECURITY REQUIREMENTS

Interim clearances are not permitted.  All security clearances must be fully adjudicated and approved.  At award, all contractor personnel working on HSDN shall possess a minimum of a SECRET level clearance. All contractor personnel working on C-LAN shall possess a fully adjudicated and approved TS/SCI level clearance.  It shall be the responsibility of the contractor to initiate reinvestigations of these persons through the Office of Personnel Management (OPM).

All key personnel are required to have a current fully adjudicated and approved TS/SCI clearance and access at proposal due date.  All personnel who will be working at sites within Sensitive Compartmented Information Facilities (SCIF), for activities other than installation and periodic maintenance, shall possess a fully adjudicated and approved TS/SCI level clearance and access.  The Government anticipates that the number of such personnel could approach 50% to 80% of the contractor technical personnel over the term of the task order.

COMSEC personnel are required to have a fully adjudicated and approved TS clearance with eligibility for SCI access.

Additional details will be specified in a Department of Defense (DOD) DD Form 254 (Section J, Attachment C).

### H.7.1   HOMELAND SECURITY PRESIDENTIAL DIRECTIVE-12 (HSPD-12)

The contractor shall provide a list of contractor personnel that require DHS badges and security clearances.  The Government will process background investigation and/or security clearances for the contractor staff to occur after submission of the staff listing, provided the individuals meet the necessary security qualifications.  The Government may grant approved contractor personnel temporary access to the site, subject to compliance with security and safety requirements, within 30 days of Task Order award. This does not provide access to any DHS accounts, systems, or locations.

H.7.2	post award SECURITY REQUIREMENTS

The procedures outlined below shall be followed for the DHS Office of Security, Personnel Security Division (PSD) to process background investigations and suitability determinations, as required, in a timely and efficient manner.

Contractor employees under the task order, requiring access to sensitive information, shall be able to obtain “DHS Suitability”.  The results of the position sensitivity analysis shall identify the appropriate background investigation to be conducted.  All background investigations will be processed through the DHS Office of Security/PSD.  Prospective Contractor employees shall submit the following completed forms to the DHS Office of Security/PSD.  The Standard Form (SF) 85P will be completed electronically, through the Office of Personnel Management’s e-QIP SYSTEM.  The completed forms must be given to the DHS Office of Security/PSD no more than three (3) days after date of the task order award or thirty (30) days prior to entry on duty of any employees, whether a replacement, addition, subcontractor employee, or vendor:

- Standard Form 85P, “Questionnaire for Public Trust Positions”

- FD Form 258, “Fingerprint Card”  (2 copies)

- DHS Form 11000-6 “Conditional Access To Sensitive But Unclassified Information Non-Disclosure Agreement”

- DHS Form 11000-9, “Disclosure and Authorization Pertaining to Consumer Reports Pursuant to the Fair Credit Reporting Act”

Only complete packages will be accepted by the DHS Office of Security/PSD.  Specific instructions on submission of packages will be provided upon award of the task order.

Failure to follow these instructions may delay the completion of suitability determinations and background checks.  Note that any delays in this process that are not caused by the government do not relieve a contractor from performing under the terms of the task order.

DHS may, as it deems appropriate, authorize and grant a favorable entry on duty (EOD) decision based on preliminary suitability checks.  The favorable EOD decision would allow the employees to commence work temporarily prior to the completion of the full investigation.  The granting of a favorable EOD decision shall not be considered as assurance that a full employment suitability authorization will follow.  A favorable EOD decision or a full employment suitability determination shall in no way prevent, preclude, or bar DHS from withdrawing or terminating access to government facilities or information, at any time during the term of the task order.  No employee of the Contractor shall be allowed unescorted access to a DHS facility without a favorable EOD decision or suitability determination by the DHS Office of Security/PSD.

Contractor employees waiting for an EOD decision may begin work on the task order provided they do not access sensitive Government information.  Limited access to DHS facilities is allowable prior to the EOD decision if the Contractor is escorted by a DHS employee.  This limited access is to allow Contractors to attend briefings and non-recurring meetings in order to begin transition work.

The DHS Office of Security/PSD shall be notified of all terminations/resignations within five (5) days of occurrence.  The Contractor shall return to the Client Representative (CR) all DHS issued identification cards and building passes that have either expired or have been collected from terminated employees.  If an identification card or building pass is not available to be returned, a report shall be submitted to the CR, referencing the pass or card number, name of individual to who it was issued and the last known location and disposition of the pass or card.

When sensitive Government information is processed on Department telecommunications and automated information systems, the Contractor shall provide for the administrative control of sensitive data being processed. Contractor personnel must have favorably adjudicated background investigations commensurate with the defined sensitivity level.

Contractors who fail to comply with Department security policy are subject to having their access to Department IT systems and facilities terminated, whether or not the failure results in criminal prosecution.  Any person who improperly discloses sensitive information is subject to criminal and civil penalties and sanctions under a variety of laws (e.g., Privacy Act).

DHS Security Office POC Information:

### H.7.3   SECURITY AWARENESS TRAINING

The contractor shall be responsible for ensuring that all assigned contractor employees have received up-to-date IT Security Awareness Training, specific to the technology/platform they will be supporting at DHS.  Each contractor employee shall undergo refresher IT Security Awareness Training on at least an annual basis.  All IT Security Awareness Training is provided monthly by the DHS Security Office.  The contractor shall be able to provide DHS with proof-of-training for each contractor employee.  “Proof-of-training” is defined as the DHS-issued training certificate of successful course completion.

The Contractor shall  provide a report on an annual basis showing that its personnel working on the task order have successfully completed all required IT security training and that they are aware of their IT security responsibilities.

DHS reserves the right to assess the IT Security Awareness Training each contractor employee has taken (or will be taking) and to require alternative and/or additional training should the existing training content be deemed inadequate or irrelevant.

H.7.4	SECURITY COMPLIANCE REQUIREMENTS

H.7.4.1   Compliance with DHS Security Policy

All sensitive but unclassified (SBU) systems employed by this task must be compliant with DHS 4300A DHS Sensitive System Policy and the DHS 4300A Sensitive Systems Handbook. All contractor systems used to process sensitive DHS data must be accredited for that use.

In addition, all national security systems produced by this task order must be compliant with DHS 4300B DHS National Security System Policy and the DHS 4300B National Security System Handbook.

All encryption shall be FIPS 197 Advanced Encryption Standard (AES) that has been FIPS 140-2 certified.

H.7.4.2   Access to Unclassified Facilities, Information Technology Resources, and Sensitive Information

The assurance of the security of unclassified facilities, Information Technology (IT) resources, and sensitive information during the acquisition process and task order performance are essential to the DHS mission. DHS Management Directive (MD) 11042.1 Safeguarding Sensitive But Unclassified (For Official Use Only) Information, describes how contractors must handle sensitive but unclassified information. DHS MD 4300.1 Information Technology Systems Security and the DHS Sensitive Systems Handbook prescribe policies and procedures on security for IT resources. Contractors shall comply with these policies and procedures, any replacement publications, or any other current or future DHS policies and procedures covering contractors specifically for all Task Orders that require access to DHS facilities, IT resources or sensitive information. Contractors shall not use or redistribute any DHS information processed, stored, or transmitted by the contractor except as specified in the task order.

H.7.4.3   Security Review

The Government may elect to conduct periodic reviews to ensure that the security requirements contained in this task order are being implemented and enforced. The Contractor shall afford DHS, including the organization of the DHS Office of the Chief Information Officer, the Office of the Inspector General, authorized CR, and other government oversight organizations, access to the Contractor’s facilities, installations, operations, documentation, databases and personnel used in the performance of this task order. The Contractor will contact the DHS Chief Information Security Officer to coordinate and participate in the review and inspection activity of government oversight organizations external to the DHS. Access shall be provided to the extent necessary for the government to carry out a program of inspection, investigation, and audit to safeguard against threats and hazards to the integrity, availability and confidentiality of DHS data or the function of computer systems operated on behalf of DHS, and to preserve evidence of computer crime.

H.7.4.4   SECURITY REQUIREMENTS FOR UNCLASSIFIED INFORMATION TECHNOLOGY RESOURCES

All unclassified information technology resources shall be managed and controlled in compliance with HSAR clause 3004.470: Security requirements for access to unclassified facilities, information technology resources and sensitive information.

H.7.4.5   CONTRACTOR EMPLOYEE ACCESS

All contractor employee access shall be managed and controlled in compliance with HSAR clause 3004.470: Security requirements for access to unclassified facilities, information technology resources and sensitive information.

H.7.4.6   ADDITIONAL INFORMATION FOR CLASSIFIED TASK ORDERS

All Contractor handling of classified information shall be controlled in accordance with the DD Form 254 and comply with the following clauses in accordance with FAR 52.204-2 Security Requirements (Aug 1996).

H.9	Organizational Conflict of Interest and non-disclosure requirements

H.9.1	Organizational Conflict of Interest

If the contractor is currently providing support or anticipates providing support to DHS that creates or represents an actual or potential organizational conflict of interest (OCI), the contractor shall immediately disclose this actual or potential OCI in accordance with FAR Subpart 9.5.  The contractor is also required to complete and sign an Organizational Conflict of Interest Statement in which the contractor (and any Subcontractors, consultants or teaming partners) agrees to disclose information concerning the actual or potential conflict with any proposal for any solicitation relating to any work in the TO.  All actual or potential OCI situations shall be identified and addressed in accordance with FAR Subpart 9.5.

H.9.2		NON DISCLOSURE REQUIREMENTS

If this TO requires the contractor to act on behalf of, or provide advice with respect to any phase of an agency procurement, as defined in FAR 3.104-4, then the contractor shall ensure that all its personnel (to include Subcontractors, teaming partners, and consultants) who will be personally and substantially involved in the performance of the TO:

- execute and submit an “Employee/Contractor Non-Disclosure Agreement” Form (See Section J, Attachment F) prior to the commencement of any work on the task order and

- are instructed in the FAR 3.104 requirements for disclosure, protection, and marking of contractor bid or proposal information, or source selection information.

All proposed replacement contractor personnel also must submit a Non-Disclosure agreement and be instructed in the requirements of FAR 3.104. Any information provided by contractors in the performance of this TO or obtained by the Government is only to be used in the performance of the TO.  The contractor shall put in place appropriate procedures for the protection of such information and shall be liable to the Government for any misuse or unauthorized disclosure of such information by its personnel, as defined above.

## H.11   alliant base contract GOALS FOR SUBCONTRACTING

Contractors are encouraged to meet Alliant base contract subcontracting goals to the maximum extent possible in this task order.  Base Alliant subcontracting goals are restated below.

| SMALL BUSINESS | 50 percent |  |
| --- | --- | --- |
| HUBZone Small Business |  | 3 percent |
| Small Disadvantaged Business |  | 6 percent |
| Women-Owned Small Business |  | 5 percent |
| Veteran-Owned Small Business |  | 3 percent |
| Service-Disabled Veteran-Owned Small Business |  | 3 percent |

The individual goals of HUBZone Small Business, Small Disadvantaged Business, Women-Owned Small Business, Veteran-Owned Small Business, and Service-Disabled Veteran-Owned Small Business are a subset of the 50% small business goal.

H.18	CONTRACTOR’S PURCHASING SYSTEMS

The objective of a contractor purchasing system assessment is to evaluate the efficiency and effectiveness with which the contractor spends Government funds and complies with Government policy with subcontracting.

Prior to the award of a task order the Contracting Officer shall verify the validity of the contractor's purchasing system.  Thereafter, the contractor is required to certify to the Contracting Officer no later than 30 calendar days prior to the exercise of any options the validity of their purchasing system.  Additionally, if reviews are conducted of the purchasing system after the exercise of the option, the contractor shall provide the results of the review to the Contracting Officer within 2 weeks from the date the results are known to the contractor.

H.19	EARNED VALUE MANAGEMENT

Earned Value Management (EVM) will be one of the criteria in award fee determination The contractor shall employ EVM in the management of this Task Order in accordance with the American National Standards Institute (ANSI)/Electronic Industries Alliance (EIA) Standard-748-A-1998, Earned Value Management Systems.  A copy of the standard is available from Global Engineering Documents (1-800-854-7179).  The Government expects the contractor to employ innovation in its proposed application of EVM techniques to this task order in accordance with best industry practices.  The following EVM status information shall be included in each Monthly Status Report:

- Planned Value (PV)

- Earned Value (EV)

- Actual Cost (AC)

- A cost curve graph plotting PV, EV, and AC on a monthly basis from inception of the Task Order through the last report, and plotting the AC curve to the estimated cost at completion (EAC) value

- An EVM variance analysis that includes the following:

-  Cost variance = (EV - AC)

-  Cost Variance % = (CV/PV X 100%)

-  Cost Performance Index (CPI) = (EV/AC)

-  Schedule Variance = (EV minus PV)

-  Schedule Variance % = (SV/PV X 100%)

-  Schedule Performance Index (SPI) = (EV/PV)

-  Estimate at Completion (EAC)

-  ACcum + 1/CPI X (BAC minus EV cum)

-  ACcum + 1/CPI X SPI  X (BAC minus EVcum)

-  Variance at Completion (VAC) = (BAC minus EAC) for EAC

-  Variance at Completion % + (VAC/BAC X 100%) for EAC

-  Estimate to Completion (ETC)

-  Expected Completion Date

- Explain all variances greater than 10%.

- Explain, based on work accomplished as of the date of the report, whether the performance goals will be achieved

- Discuss the corrective actions that will be taken to correct the variances, the risk associated with the actions.

The Government will conduct an Integrated Baseline Review within 60 calendar days after task order award, or exercise of significant task order options, or incorporation of major task order modifications.  The objective of the Integrated Baseline Review is for the Government and the contractor to jointly assess areas, such as the contractor's planning, to ensure complete coverage of the TOR, logical scheduling of the work activities, adequate resources, and identification of inherent risks.

H.23	TRAVEL

H.23.1	  TRAVEL REGULATIONS

Contractor costs for travel will be reimbursed at the limits set in the following regulations (see FAR 31.205-46):

(1)  Federal Travel Regulations (FTR) - prescribed by the General Services Administration, for travel in the contiguous United States.

(2)  Joint Travel Regulations (JTR), Volume 2, DoD Civilian Personnel, Appendix A. prescribed by the Department of Defense, for travel in Alaska, Hawaii, and outlying areas of the United States.

(3)  Department of  State Standardized Regulations (DSSR) (Government Civilians, Foreign Areas), Section 925, "Maximum Travel Per Diem Allowances for Foreign Areas", prescribed by the Department of State, for travel in areas not covered in the FTR or JTR.

H.23.2	  TRAVEL AUTHORIZATION REQUESTS

Before undertaking travel to any Government site or any other site in performance of this Task order, the contractor shall have this travel approved as a part of the Request for Change (RFC) process, which includes coordination with the FEDSIM COR.  Notification shall include, at a minimum, the number of persons in the party, traveler name, destination, duration of stay, purpose, and estimated cost.  Long distance travel will be reimbursed for cost of travel comparable with the Federal Travel Regulations (FTR) and to the DSSR for work overseas.

Requests for travel approval shall:

- Be prepared in a legible manner;

- Include a description of the travel proposed including a statement as to purpose;

- Be summarized by traveler;

- Identify the task order number;

- Identify the CLIN and Interagency Agreement account associated with the travel; and

- Be submitted in advance of the travel with sufficient time to permit review and approval.

The contractor shall use only the minimum number of travelers and rental cars needed to accomplish the task(s).  Travel shall be scheduled during normal duty hours whenever possible.

H.24	ODCs

The Government may require the contractor to provide leased facilities, software licenses, circuits, warranties, ancillary facility modifications, which are related to the services being acquired under the TO.  Such requirements will be identified at the time a TOR is issued or may be identified during the course of a TO, by the Government or the contractor.  If the contractor initiates a purchase within the scope of this TO and the prime contractor has an approved purchasing system, the contractor shall submit to the FEDSIM COR a Request to Initiate Purchase (RIP).  If the prime contractor does not have an approved purchasing system, the contractor shall submit to the CO a Consent to Purchase (CTP).  The RIP and CTP shall include the purpose, specific items, estimated cost, cost comparison, and rationale.  The contractor shall not make any purchases without an approved RIP from the COR or an approved CTP from the CO.

H.25	TRANSFER OF HARDWARE/SOFTWARE MAINTENANCE AGREEMENTS

If the Contractor acquires hardware/software maintenance support, all licenses and/or contractual rights to receive title shall be turned over to the Government upon completion of the task order.

The Government's liability to reimburse the contractor for costs incurred from the acquisition of hardware/software maintenance support SHALL BE LIMITED to costs incurred during the period of the order for which the Government received the hardware/software maintenance support acquired by the contractor on a cost reimbursable, fee basis.

H.26	AWARD FEE

H.26.1	  ESTABLISHMENT AND DETERMINATION OF AWARD FEE

The award fee dollar pool will be established on execution of the Task Order.  The Government reserves the right to adjust these amounts to reflect any change in the Estimated Cost for seven (7) years.  The amount of Award Fee that can be earned cannot exceed ___% (award fee) of the estimated labor cost established for each CPAF CLIN.

The Government will, at the conclusion of each specified evaluation period(s), evaluate the contractor’s performance for a determination of award fee earned.  The contractor agrees that the determination as to the amount of the award fee earned will be made by the Government Award Fee Determining Official (AFDO) and such determination is binding on both parties and shall not be subject to the “Disputes” clause or to any board or court.

The evaluation of contractor performance will be in accordance with the Award Fee Determination Plan (AFDP) (see Section H.26.3 below).  The Government will promptly advise the contractor in writing of the determination and reasons why the award fee was not earned.  The contractor shall submit a self-evaluation of performance for each period under consideration.  While it is recognized that the basis for the determination of the fee will be the evaluation by the Government, any self-evaluation which is received within ten (10) work days after the end of the period being evaluated may be given consideration as deemed appropriate by the AFEB.  Any cost associated with the development and presentation of a self-evaluation will not be allowed as a direct cost to this Task Order.

H.26.2	  PROVISIONAL AWARD FEE PAYMENTS

(1) Provisional award fee payments may be made under this task order pending the determination of the amount of fee earned for an evaluation period.  The total amount of award fee available in an evaluation period that may be provisionally paid is the lesser of 50% of the award fee pool for the current period or the prior period's award fee.  Provisional award fee payments may be made to the contractor at the end of each award fee period.

(2) Provisional award fee payments will be superseded by the final award fee evaluation for that period.  If provisional payments exceed the final evaluation score, the contractor will either credit the next payment voucher for the amount of such overpayment or refund the difference to the Government, as directed by the Contracting Officer.

(3) If the Contracting Officer determines that the contractor will not achieve a level of performance commensurate with the provisional rate, the Contracting Officer will discount or reduce the amount of the provisional award. The Contracting Officer will notify the Contractor in writing if it is determined that such discontinuance or reduction is appropriate.

(4) Award fee determinations are unilateral decisions made solely at the discretion of the Government.

H.26.3	  AWARD FEE DETERMINIATION PLAN (AFDP)

An Award Fee Determination Plan (AFDP) will be established by the Government, in consultation with the contractor, based on the objectives and concerns provided in the Task Order request and the contractor-provided solutions.  The AFDP will include the criteria used to evaluate each area and the percentage of award fee available for each area.  The initial plan will be finalized NLT three (3) weeks after award date.

The AFDP may be revised unilaterally by the Government at any time during the period of performance.  The Government will make every attempt to provide changes to the contractor fifteen (15) work days prior to the start of the evaluation period to which the change will apply.  The AFDP may be reevaluated each evaluation period, with input from the contractor.

The Government may, at its option, unilaterally revise the plan to include metrics gathered from the re-evaluation to be applied in future award fee periods.

H.26.4	  DISTRIBUTION OF AWARD FEE

Award Fee will be distributed in accordance with the AFDO determination and the AFDP (See Section J, Attachment D).

If the Government initiates any action that impacts the contractual scope of work and/or schedule pursuant to the “changes” clause or other pertinent provisions of the Task Order, the maximum award fee available for payment for any evaluation periods impacted will be modified as negotiated between the parties.

H.27	TRANSITION IN

The contractor shall ensure that there will be minimum service disruption to vital Government business and no service degradation during and after transition.  The contractor shall provide a Transition-In Plan within five (5) Government work days of award.

During the transition period, the contractor shall maintain and utilize all existing processes (e.g. configuration management plan, process, and execution, work authorization process, etc.).

There is projected to be a period of 10 weeks of transition between predicted award and the end of the period of performance of the incumbent contractor.

The contractor will be given lists and inventories of all Government Furnished Property (GFP).  The contractor shall acknowledge all GFP within 90 days.

COMSEC inventory requires 100% validation of GFP.

H.28	TRANSITION OUT

At the end of the period of performance of this task order, the contractor shall provide a transition out plan which shall facilitate the accomplishment of a seamless transition from the incumbent to an incoming contractor /government personnel at the expiration of the task order.

The contractor shall provide a Transition Out plan NLT 120 calendar days prior to expiration of the task order.  The contractor shall identify how it will coordinate with the incoming and or Government personnel to transfer knowledge regarding the following:

- Project management processes;

- Points of contact;

- Location of technical and project management documentation;

- Status of ongoing technical initiatives;

- Appropriate contractor to contractor coordination to ensure a seamless transition;

- Transition of  key personnel;

- Identify schedules  and milestones;

- Identify actions required of the Government; and

- Establish and maintain effective communication with the incoming contractor/Government personnel for the period of the transition via weekly status meetings.

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section I of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

I.2	FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1) SOLICITATION CLAUSES	(http://www.acquisition.gov/far/index.html)

CLAUSE NO		CLAUSE TITLE						DATE

52.204-2 		Security Requirements 				AUG 1996

52.217-5		EVALUATION OF OPTIONS				JUL 1990

52.217-8		OPTON TO EXTEND SERVICES				NOV 1999

Fill-In Date: __30 days_____

52.217-9		OPTION TO EXTEND THE TERM OF THE		SEP 2006

CONTRACT	Fill in Date: 30 days/60 days/7years

52.227-14		RIGHTS IN DATA 						DEC 2007

52.227-15		REPRESENTATION OF LIMITED RIGHTS DATA	DEC 2007

AND RESTRICTED COMPUTER SOFTWARE

52.227-17		RIGHTS IN DATA – SPECIAL WORKS			DEC 2007

52.234-3		NOTICE OF EARNED VALUE MANAGEMENT 		JUL 2006

SYSTEM – POST AWARD IBR

52.234-4		EARNED VALUE MANAGEMENT SYSTEM		JUL 2006

52.242-15		STOP WORK ORDER (ALTERNATE 1)			AUG 1989

52.245.1		GOVERNMENT PROPERTY				AUG 2010

52.246-3		INSPECTION OF SUPPLIES – 				MAY 2001

COST REIMBURSEMENT

52.246-5		INSPECTION OF SERVICES- 				APR 1984

COST REIMUBURSEMENT

I.3   GENERAL SERVICES ADMINISTRATION ACQUISITION MANUAL (GSAM),

INCORPORATED BY REFERENCE

CLAUSE NO		CLAUSE TITLE						DATE

552.215-70		EXAMINATION OF RECORDS BY GSA			FEB 1996

552.228-5		GOVERNMENT AS ADDITIONAL INSURED		MAY 2009

552.233-70		PROTESTS FILED DIRECTLY WITH THE GENERAL

SERVICES ADMINISTRATION				MAR 2000

I.4   Department of homeland security CLAUSES INCORPORATED

BY REFERENCE

CLAUSE NO		CLAUSE TITLE						DATE

3004.470 	Security requirements for access to 		jun 2006

unclassified facilities, information technology

resources AND sensitive information

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section J of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.  In addition, the following applies:

J.1	LIST OF ATTACHMENTS

Attachment A	Acronym List

Attachment B			Quality Assurance Surveillance Plan (QASP)

Attachment C			DD Form 254 (externally attached file)

Attachment D			Award Fee Determination Plan

Attachment E1		Service Level Agreements (SLAs) and Performance Metrics

Attachment E2		Future Proposed SLAs

Attachment F			Non-Disclosure Agreement

Attachment G			508 Product Accessibility Report

Attachment H			Problem Notification Report

Attachment I			Monthly Status Report

Attachment J			Information Technology Services and Hardware

(catalog) (externally attached file)

Attachment K			Mandatory Security Management Tools List

Attachment L			The DHS Personnel Security Process (Includes Suitability

Requirements) (CD provided separately))

Attachment M			Policies, Directives, Regulations, Standards, and References

(CD  provided separately)

Attachment N			Industry Day Briefing (externally attached file)

Attachment 1			Project Staffing Plan Template (To be removed at time of award)

Attachment 2			Key Personnel Qualification Matrix (To be removed at time of

Award)

Attachment 3			Corporate Experience Reference Sheets (To be removed at time of

award)

ACRONYMS

ANSI			American National Standards Institute

BCP			Business Continuity Plan

C&A			Certification and Accreditation

CAF			Contract Access Fee

CBP			Customs and Border Protection

CIO			Chief Information Officer

CISO			Chief Information Security Officer

C-LAN		Classified Local Area Network

CLIN			Contract Line Item Number

CMP			Configuration Management Plan

CO			Contracting Officer

COGCON		Continuity of Government Condition

CONUS		Continental United States

COMSEC		Communication Security

COOP			Continuity of Operations

COR			Contracting Officer Representative

COTS			Commercial-Off-The-Shelf

CPAF			Cost Plus Award Fee

CPI			Cost Performance Index

CR			Client Representative

CTP			Consent To Purchase

CV			Cost Variance

DAA			Designated Approving Authority

DC			Data Centers

DHS			Department of Homeland Security

DIA			Defense Intelligence Agency

DISA			Defense Information Systems Agency

DNI-S			Director of National Intelligence-SECRET (enterprise service)

DoD			Department of Defense

DoE			Department of Energy

DoS			Department of State

DMZ			Demilitarized Zone

DSSR			Department of State Standardized Regulations

EAC			Estimated cost At Completion

EACOE		Enterprise Architecture Center of Excellence

ECCB			Enterprise Change Control Board

EIA			Electronic Industries Alliance

EAC			Estimate At Completion

EF			Essential Functions

EIT			Electronic Information Technology

EKMS			Electronic Key Management System

ENS			Enterprise Networked Services

ENSS			Enterprise Networked Services Support

ETC			Estimate to Completion

EVM			Earned Value Management

FAR			Federal Acquisition Regulation

FEDSIM		Federal Systems Integration and Management Office

FFRDC		Federally Funded Research and Development Center

FTR			Federal Travel Regulations

FY			Fiscal Year

GFP			Government Furnished Property

GOTS			Government Off-The-Shelf Software

GSA			General Services Administration

HOC			Headquarters Operations Center

HSC			Homeland Secure Communications

HSDN			Homeland Secure Data Network

HSPD			Homeland Security Presidential Directives

HTSN			Homeland TS/SCI Network

I&A			Intelligence and Analysis

IA			Information Assurance

IAW			In accordance with

IC			Intelligence Community

ICCB			Infrastructure Configuration Control Board

ISO			International Organization for Standardization

IPT			Integrated Project Team

ISSM			Information Systems Security Manager

ISSO			Information Systems Security Officer

IT			Information Technology

ITIL			Information Technology Information Library

JPMO			Joint Program Management Office

JTR			Joint Travel Regulation

JWICS			Joint Worldwide Intelligence Communications System

KMI			Key Management Infrastructure

LAN			Local Area Network

LMR			Land Mobile Radio

LOE			Level Of Effort

NLT			No Later Than

MAC			Moves, Adds, Changes

MCIO			Mission Critical Infrastructure Operations

MSR			Monthly Status Report

MPLS			Multiprotocol Label Switching

NAC			National Agency Check

NGO			Non-Governmental Organization

NOC/SOC		Network and Security Operations Center

NSS			National Security Systems

NSSAWG		NSS Accreditation Working Group

NTE			Not to Exceed

OCI			Organizational Conflict of Interest

OCIO			Office of the Chief Information Officer

OCONUS		Outside the Continental United States

ODC			Other Direct Cost

ODNI			Office of the Director of National Intelligence

OGA			Other Government Agencies

PBX			Private / Public Branch Exchange

PM			Program Manager

PMP			Project Management Plan

PNR			Problem Notification Report

POC			Point Of Contact

POP			Period of Performance

PV			Planned Value

PWS			Performance Work Statement

Q&A			Questions and Answers

QA			Quality Assurance

QASP			Quality Assurance Surveillance Plan

QC			Quality Control

QCP			Quality Control Plan

ODNI			Office of the Director of National Intelligence

RF			Radio Frequency

RFC			Requests for Change

RIP			Request to Initiate Purchase

ROM			Rough Order of Magnitude

SA			System Administrator

SCI			Sensitive Compartment Information

SIPRNET		Secure Internet Protocol Network

SLA			Service Level Agreement

SLFC			State and Local Fusion Centers

SME			Subject Matter Expert

SME-PED		Secure Mobile Environment Portable Electronic Devices

SMS			Secure Messaging System

SOP			Standard Operating Procedure

SPI			Schedule Performance Index

SSBI			Single Scope Background Investigation

STE			Secure Telephone Equipment

SV			Schedule Variance

SVTC			Secure Video Teleconferencing

TA			Travel Authorization

TEB			Technical Evaluation Board

TO			Task Order

TOS			Tracking and Ordering System

TOA			Task Order Award

TOR			Task Order Request

TS			Top Secret

VAC			Variance at Completion

VoSIP			Voice Over Secure Internet Protocol

VPN			Virtual Private Network

VTC			Video Teleconferencing

WAN			Wide Area Network

WBS			Work Breakdown Structure

QUALITY ASSURANCE SURVIELLANCE PLAN (QASP)

#___________________

Quality Assurance Surveillance Plan (QASP

Enterprise Networked Services Support (ENSS)

in support of:

Department Of Homeland Security (DHS)

Enterprise Network Services (ENS)

FEDSIM Project Number 10068HSM

1.0	INTRODUCTION

This Quality Assurance Surveillance Plan (QASP) is pursuant to the requirements listed in the Task Order (TO) entitled “Enterprise Networked Services Support (ENSS)”. This plan sets forth the procedures and guidelines that FEDSIM and the Department of Homeland Security (DHS),

Enterprise Network Services (ENS) will use in evaluating the technical performance of the service contractor.

1.1	PURPOSE

The purpose of the QASP is to describe the systematic methods used to measure performance and to identify the reports required and the resources to be employed.  The QASP provides a means for evaluating whether the contractor is meeting the performance standards identified in the TO.

This QASP is designed to define roles and responsibilities, identify the performance objectives, define the methodologies used to monitor and evaluate the contractor’s performance, describe quality assurance reporting, and describe the analysis of quality assurance monitoring results.

1.2	PERFORMANCE MANAGEMENT APPROACH

This QASP will define the performance management approach taken by FEDSIM and the DHS, ENS to monitor, manage, and take appropriate action on the contractor’s performance against expected outcomes communicated in the TO.  Performance management rests upon developing a capability to review and analyze information generated through performance metrics.  The ability to make decisions based on the analysis of performance data is the cornerstone of performance management.  The data generated in a performance management approach provides information that indicates whether or not expected outcomes for required services are being achieved adequately by the contractor.

Performance management also represents a significant shift from the more traditional Quality Assurance (QA) concepts in several ways.  Performance management focuses on assessing whether or not outcomes are being achieved and migrates away from scrutiny on compliance with the processes and practices used to achieve the outcome.  The only exceptions to process reviews are those required by law (Federal, State, and local) and compelling business situations such as safety and health.  An outcome focus provides the contractor flexibility to continuously improve and innovate over the course of the task order as long as the critical outcomes expected are being achieved at the desired levels of performance.

1.3	PEFORMANCE MANAGEMENT STRATEGY

The contractor’s Quality Control Plan (QCP) will set forth the staffing and procedures for self inspecting the quality, timeliness, responsiveness, customer satisfaction, and other performance requirements in the TO.  The contractor will develop and implement a performance management system with processes to assess and report their performance to the designated Government representative.

The Government representative will monitor performance and review performance reports furnished by the contractor to determine how the contractor is performing against communicated performance objectives. The Government will make decisions based on performance measurement metric data and notify the contractor of those decisions.  The contractor will be responsible for making required changes in processes and practices to ensure performance is managed effectively.

2.0	ROLES AND RESPONSIBILITIES

The Contracting Officer (CO) is responsible for monitoring task order compliance, task order administration and cost control; and resolving any differences between the observations documented by the Contracting Officer Representative (COR), DHS, ENS Client Representative (CR), and the contractor’s performance.

The CO will designate one full-time COR as the Government authority for performance management.  The number of additional representatives serving as Technical Inspectors depends upon the complexity of the services measured as well as the contractor’s performance.

The COR is responsible for monitoring, assessing, and communicating the technical performance of the contractor and assisting the contractor.  The COR will have the responsibility for completing QA monitoring forms (refer to Appendixes 2 and 3) used to document the inspection and evaluation of the contractor’s work performance.  Government surveillance may occur under the Inspection of Services clause for any service relating to the task order.

3.0	IDENTIFICATION OF SERVICES TO BE PERFORMED

The contractor shall provide IT support in accordance with the TO.

4.0	METHODOLOGIES TO MONITOR PERFORMANCE

In an effort to minimize the task order administration burden, simplified methods of surveillance techniques shall be used by the Government to evaluate contractor performance. The primary methods of surveillance are random checks, observations, inspections, complaints and review of those records and files that are required to be maintained and delivered under this statement of work. The Government will use appointed representatives, as well as reports and input from Center employees and visitors as sources of comments on the contractor’s performance.

The contractor is expected to establish and maintain professional communication between its employees and customers. The primary objective of professional communication between employees and customers is customer satisfaction. Customer satisfaction is the most significant external indicator of the success and effectiveness of all services provided and can be measured through customer complaints. Performance management drives the contractor to be customer focused through initially addressing customer complaints and investigating the issues and/or problems.

NOTE: The customer always has the option to communicate complaints to the COR as opposed to the contractor.  The COR will accept the customer complaints and will investigate using the Quality Assurance Monitoring Form – Customer Complaint Investigation identified in Appendix 3.

The acceptable quality levels (AQL) located in Appendix 1, Required Performance Metrics (RPM), for contractor performances are structured to allow the contractor to manage how the work is performed.

5.0	QUALITY ASSURANCE REPORTING

The performance management feedback loop begins with the communication of expected outcomes. Performance standards are expressed in the TO and measured by the required performance metrics in Appendix 1.

The Government’s QA monitoring, accomplished by the COR, will be reported using the monitoring forms in Appendixes 2 and 3.  The forms, when completed, will document the COR’s understanding of the contractor’s performance under the task order to ensure that TO requirements are being met.

The COR will retain a copy of all completed QA monitoring forms.

6.0	ANALYSIS OF QUALITY ASSURANCE MONITORING RESULTS

At the end of each month, the COR will prepare a written report for the DHS, ENS, CR summarizing the overall results of the quality assurance monitoring of the contractor’s performance.  This written report which consists of the contractor’s submitted monthly report and the completed Quality Assurance Monitoring Forms (Appendix 2) will become part of the QA documentation.

The CO may require the contractor’s Program Manager, or a designated alternate, to meet with the CO, COR, and other Government personnel as deemed necessary to discuss performance evaluation.  The CO will define a frequency of in-depth reviews with the contractor.  The agenda of the reviews may discuss:

- Monthly performance measured by the metrics and trends,

- Issues and concerns of both parties,

- Projected outlook for upcoming months and progress against expected trends,

- Recommendations made by the COR based on contractor information, and

- Issues arising from independent reviews and inspections.

In addition to QA monitoring, the COR will use the information contained in the contractor’s monthly report to assess the contractor’s level of performance for each objective measured in this QASP (detailed in Appendix 1).  The COR must coordinate and communicate with the contractor to resolve issues and concerns of marginal or unacceptable performance. The contractor will discuss with the COR satisfaction ratings receiving a “less than acceptable” rating.  For such cases, the contractor should highlight its perspective on factors driving customer satisfaction and present plans to adjust service levels accordingly to bring the satisfaction rating up to an acceptable level.

Decisions regarding changes to metrics, thresholds, or service levels should be clearly documented.

Appendix 1

# Methods of surveillance

| Deliverable | Frequency | Minimum Acceptable Performance (Timeliness) | Method Of Surveillance | Incentive (Negative) (Impact on Contractor Payments) |
| --- | --- | --- | --- | --- |
| Submit a MSR report Submit a PMP Submit Detailed Trip Reports Submit a WAR Submit a WPR Submit EVM metrics | Monthly 5 days after TO award, and submit revised PMP yearly 5 Days after travel Weekly Weekly Monthly | 100% 100% 95% 100% 100% 90% | Files review, periodic random, observations Files review, periodic random, observations Files review, periodic random, observations, complaints Files review, periodic random, observations, complaints Files review, periodic random, observations, complaints Files review, periodic random, observations | Contractual remedies Contractual remedies Contractual remedies Contractual remedies Contractual remedies Contractual remedies |

*COR is using this to monitor surveillance, SLA’s will be used to measure performance.

# Appendix 2

QUALITY ASSURANCE MONITORING FORM

SERVICE or STANDARD: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

SURVEY PERIOD:	___________________

SURVEILLANCE METHOD (Check):		_____	Random Sampling

_____	100% Inspection

_____	Periodic Inspection

_____	Customer Complaint

LEVEL OF SURVEILLANCE SELECTED (Check):

_____	Monthly

_____	Quarterly

_____	As needed

PERCENTAGE OF ITEMS SAMPLED DURING SURVEY PERIOD:	______ %

ANALYSIS OF RESULTS:

OBSERVED SERVICE PROVIDER PERFORMANCE MEASUREMENT RATE = ______%

SERVICE PROVIDER’S PERFORMANCE (Check):	____	Meets Standards

____	Does Not Meet Standards

NARRATIVE OF PERFORMANCE DURING SURVEY PERIOD: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PREPARED BY:  ___________________________________		DATE:  _____________________

# Appendix 3

QUALITY ASSURANCE MONITORING FORM –

CUSTOMER COMPLAINT INVESTIGATION

SERVICE or STANDARD: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

SURVEY PERIOD:	___________________

DATE/TIME COMPLAINT RECEIVED:	_____________	________ AM / PM

SOURCE OF COMPLAINT: 	_______________________________ (NAME)

_______________________________ (ORGANIZATION)

_______________________________ (PHONE NUMBER)

_______________________________ (EMAIL ADDRESS)

NATURE OF COMPLAINT: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

RESULTS OF COMPLAINT INVESTIGATION: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

DATE/TIME SERVICE PROVIDER INFORMED OF COMPLAINT: _____________	_________ AM / PM

CORRECTIVE ACTION TAKEN BY SERVICE PROVIDER: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

RECEIVED AND VALIDATED BY: __________________________________________________

PREPARED BY:  ___________________________________		DATE:  _____________________

DD Form 254

(External attachment)

# AWARD FEE DETERMINATION PLAN

# For

Department Of Homeland Security (DHS)

Enterprise Networked Services Support (ENSS)

Task Order

SECTION 1:	INTRODUCTION

This Award Fee Determination Plan (AFDP) provides procedures for evaluating the Contractor’s performance in support of DHS ENSS on a CPAF basis and is applicable to CPAF CLINs only.  The AFDP is applicable only to CPAF CLINs X001 through X009.  The award fee objective for this Task Order is to afford the Industry Partner the opportunity to earn award fee commensurate with optimum performance:

a.	By providing a workable award fee plan with a high probability of successful implementation;

- By clearly communicating evaluation procedures that provide effective two-way communication between the Industry Partner and the Government; and

- By focusing the Industry Partner on areas of greatest importance in order to motivate outstanding performance.

The amount of the Award Fee earned and payable to the Contractor for achieving specified levels of performance will be determined by the Award Fee Determination Official (AFDO), with the assistance of the Award Fee Evaluation Board (AFEB), per this plan.  The maximum fee payable is 100% of the Award Fee.  The Contractor may earn all, or part, or none of the Award Fee allocated to an evaluation period.

This AFDP may be amended IAW Section H.26.3 of this Task Order.

SECTION 2:	EVALUATION PERIODS

The evaluations will be every 6 months throughout the performance of this Task Order.

Award fee determinations will be made on the last work day of the month following each evaluation period.  These time frames can be changed at the unilateral discretion of the Government.

SECTION 3:	AWARD FEE ALLOCATION FORMULA

The maximum award fee pool will be determined for each year of estimated labor costs as awarded in this Task Order.  The yearly pool will be comprised of an award fee amount identified in Section B of this Task Order.  This total comprises the maximum award fee pool for the year being calculated.  This pool will then be divided in 1/2s to provide for the six month performance periods.  The maximum available award fee for a given six month performance period is then 1/2 of the annual pool.

SECTION 4:  ORGANIZATIONAL STRUCTURE OF AWARD FEE DETERMINATION

4.1	Award Fee Determination Official (AFDO)

The AFDO is the Group Manager (GM), FEDSIM.  The Contracting Officer (CO) will appoint the AFDO in writing.

The AFDO's responsibilities are:

- Approve the Award Fee Plan and authorize any changes to the Award Fee Plan throughout the life of the Task Order;

- Approve the members of the Award Fee Board (AFEB) and appoint the AFEB Chairperson;

- Review assessments of Contractor performance.  Feedback coordinated with the AFEB will be provided to the Contractor as appropriate during the evaluation period to enhance overall performance and minimize problems;

- Determine the amount of award fee the Contractor has earned based on its performance during each evaluation period.

4.2	Award Fee Evaluation Board (AFEB)

The Award Fee Evaluation Board (AFEB) has a chairperson, the ESD Client Representative.  Other voting members of the board are the ESD Program Management Organization and the FEDSIM Contracting Officer’s Representative.  The FEDSIM CO is a non-voting advisory member of the AFEB.  Additional non-voting board members may be performance monitors as deemed appropriate by the AFEB chairman.  The following table provides the individuals that are members of the AFEB.  Substitutions are permitted in the event of a schedule conflict, subject to approval by the AFEB Chairperson.  Attendance of the non-voting members is not required to convene a board.

| Board Position | Title |
| --- | --- |
| Chairperson | ESD Client Representative |
| AFEB Voting Member | NSS JPMO |
| AFEB Voting Member | NSS ISSM |
| AFEB Voting Member ** | DHS |
| AFEB Voting Member ** | DHS |
| AFEB Voting Member | FEDSIM Contracting Officer’s Representative |
| AFEB Non-Voting Member | FEDSIM Contracting Officer |
| AFEB Non-Voting Member(s) | DHS Program Management Office |
| AFEB Non-Voting Member | Secretary |

** Optional seats.  AFEB Chairperson may appoint as many AFEB Voting members as desired but must have 3 voting members in addition to the Chairperson.

Non-voting members will participate in AFEB assessments of Performance Monitor evaluations and discussions of award fee recommendations.  Additionally, non-voting members are allowed to submit written reports on contractor performance to the AFEB, for its consideration.

The responsibilities of the AFEB are:

- Recommend to the AFDO the specific elements upon which the contractor will be evaluated for each evaluation period.

- Request and obtain performance information from performance monitors involved in observing contractor performance.

- Evaluate the contractor’s performance and summarize its findings and recommendations for the AFDO.

- Recommend to the AFDO the percentage of award fee available during an evaluation period which the contractor should receive.

- Recommend to the AFDO if remaining award fee funds should be applied to a separate reserve award fee pool.

- Recommend to the AFDO if a portion of the reserve award fee pool should be made available to the Contractor to recognize significant improvements of a weakness noted in a previous period.

4.2.1	AFEB Chairperson

The responsibilities of the AFEB Chairperson are to:

- Appoint an AFEB Secretary.

- Conduct AFEB meetings.

- Resolve any inconsistencies in the AFEB evaluations.

- Ensure AFEB recommendations to the AFDO are timely and made in accordance with the Award Fee Agreement and this plan.

- Ensure timely payment of award fee earned by the Contractor.

- Recommend any changes to the Award Fee Plan to the AFDO.

- Ensure and have overall responsibility for the proper execution of the AFDP including managing the activities of the AFEB.

- Exerts overall responsibility for all documents and activities associated with the AFEB.

4.2.2	AFEB Secretary

The responsibilities of the AFEB Secretary are to:

- Review Performance Monitor reports and other performance information and present an overview to the AFEB, as well as all supporting data.

- Consolidate the AFEB’s assessment and recommendation for presentation to the AFDO at both the midterm and final stages of each evaluation period.

- Draft all correspondence required by the AFDO and AFEB as it relates to the award fee process.

- Maintain the Award Fee Plan, including any updates as approved by the AFEB and the AFDO, and modified in the task order.

- Select a separate AFEB recorder, if desired, who will maintain the AFEB minutes, notify AFEB board members and performance monitors of report due dates and meeting times, distribute forms, and receive and distribute completed reports to all members.

- Maintain the award fee files, including current copies of the Award Fee Plan, any internal procedures, performance monitor’s reports, and any other documentation having a bearing on the AFDO’s award fee decisions.

4.2.3	Performance Monitors

Government and task order support personnel will be identified by the AFEB Chairperson as performance monitors to aid the AFEB in making its recommendation for award fee.  These monitors will submit written reports, as required by the AFEB Chairperson, on the Contractor’s performance to the AFEB for consideration.  Submission of their reports will be coordinated through the AFEB Secretary.  Procedures and instructions for the performance monitors regarding mid-term and final evaluations are provided in Section 6 below.  The final report will be comprehensive and will be completed and submitted to the AFEB Secretary within ten working days of the conclusion of the evaluation period, unless otherwise notified in writing of any changes.

5.0	AWARD FEE DETERMINATION PROCESS

The contractor begins each evaluation period with 0 % of the available award fee and works up to the earned award fee based on performance during the evaluation period.

5.1	Monitoring and Assessing Performance

The AFEB chairperson will assign performance monitors for the major performance areas.  The Performance Monitors will be selected on the basis of their expertise in the prescribed performance areas and/or their association with specific technical tasks.  The AFEB chairperson may assign and change Performance Monitors assignments at any time without notice to the Contractor.  The AFEB chairperson will ensure that each monitor and board member has copies of the task order and all modifications, a copy of this plan, and all changes and specific instructions for assigned areas.

Performance monitors will conduct assessments of the Contractor performance in their assigned areas.  Feedback coordinated with the AFEB Chairperson will be provided to the Contractor as appropriate during the evaluation period to enhance overall performance and minimize problems.

5.1.1	Instructions for Performance Monitors

Performance monitors will maintain a periodic written record of the Contractor’s performance, including inputs from other Government personnel, in the evaluation areas of responsibility.  Performance monitors will retain informal records used to prepare evaluation reports for twelve months after the completion of an evaluation period to support any inquires made by the AFDO.  Performance monitors will conduct assessments in an open, objective, and cooperative spirit, so that a fair and accurate evaluation is made.  Performance monitors will make every effort to be consistent from period to period in their approach to determine recommended ratings.  Positive accomplishments should be emphasized just as readily as negative ones.

- Performance Monitor Evaluation Reports.  Performance monitors will prepare midterm and final evaluation reports for each evaluation period during which they are performance monitors.  The final reports will be more comprehensive.  The reports, as a minimum, contain the following information:

- The criteria and methods used to evaluate the Contractor’s performance during the evaluation period.

- The technical, economic and schedule environment under which the Contractor was required to perform.  What effect did the environment have on the Contractor’s performance?

- The Contractor’s major strengths and weaknesses during the evaluation period.  Give examples of the Contractor performance for each strength and weakness listed.  Also provide the reference in the specification, statement of work, data requirement, task order etc. that relates to each strength or weakness.

- A recommended rating for the evaluation period using the adjectives and their definitions set forth in the task order and this award fee plan.  Provide concrete examples of the Contractor’s performance to support the recommended rating.

5.2	Procedures for Award Fee Evaluations

These procedures provide for both a midterm evaluation and full-rating-period evaluation.  Procedures common to both evaluations are listed first, followed by the procedures unique to each evaluation.

5.2.1	Common Procedures

5.2.1.1	  Exclusions

Throughout the entire evaluation period, the Contractor shall present and document any exclusion to the period of performance, due to circumstances beyond the control of the Contractor, to the AFEB Chairperson within five calendar days of their occurrence.  The performance monitors should present the exclusions (if any) to the AFEB.  If necessary, the AFEB will ask the Contractor to present their case.  The AFEB in conjunction with the FEDSIM CO will make a unilateral decision as to the exclusion from the evaluation.

5.2.1.2	  Contractor Monthly Performance Reports

The Contractor shall prepare Monthly Performance Reports including the Section F Deliverable that contains data that can be used to compare against the Performance Standards stated in this Award Fee Plan.  SLA Reports, including the raw data, shall be provided to the SLA performance monitors by the 10th of each month via HSDN.

5.2.2	Monthly Report Review

Performance Monitors will collect the Monthly Performance Reports from the Contractor which they will review and analyze for accuracy and if required provide within five workdays an oral or written summary to the AFEB.

5.2.3	Midterm Evaluation Procedures

The purpose of the midterm evaluation is to provide the Contractor a quick, concise, interim Government review of the Contractor performance, and provide the Contractor an opportunity to improve its performance prior to the determination of award fee earned at the end of the evaluation period.  No award fee is paid based on midterm evaluations.

5.2.3.1	Midterm Evaluation Reports

The performance monitors will provide midterm evaluations for each evaluation period.  Midterm reports will be submitted to the AFEB Secretary no later than 10 calendar days after the middle of the evaluation period.

5.2.3.2	AFEB Midterm Evaluation and Report

The AFEB, after receipt of the Contractor’s self evaluation, will meet and evaluate all performance information it has obtained.  The AFEB will review the performance monitors’ reports and prepare a midterm evaluation report.

5.2.3.3	 Contractor Notification Letter

The AFEB Secretary will prepare a resultant summary report for AFEB Chairperson approval.  The AFEB Chairperson will use this letter to inform the Contractor orally of the Government’s midterm evaluation no later than ten (10) calendar days after the date of the midterm evaluation period.

5.2.4	Award Fee Evaluation Procedure

This procedure is designed to ensure that Award Fee Evaluation takes place in a timely and effective manner with proper documentation.  The Award Fee Board should meet no later than calendar 15 days after the end of evaluation period.  The AFEB must have 75 % of voting members present to make an official recommendation.  The AFEB will document the performance that exceeds or falls below the satisfactory levels to substantiate the assigned score or ratings as appropriate.

5.2.4.1	  Contractor Self Evaluation

Within 10-calendar days after the rating period has ended the Contractor shall provide its self-evaluation to the AFEB chairperson.  This self-assessment should be written with the option of presenting an oral self-assessment if requested by the board.

5.2.4.2	  Performance Monitor Final Reports

The performance monitors will provide evaluations for the entire 6-month evaluation period.  Performance monitors will submit final evaluation reports no later than ten calendar days after the end date of the evaluation period to the AFEB Secretary.  The final reports will be more comprehensive than the midterm reports.

5.2.4.3	  Contractor Self Evaluation Presentation

The AFEB may request a presentation of the findings of the Contractor’s self evaluation prior to the AFEB Meeting to discuss the report’s preliminary finding and recommendations.  This presentation shall last no longer than one hour.  If necessary, a thirty minute question and answer session is permissible.

5.2.4.4	  AFEB Meeting and Memorandum to the AFDO

The AFEB, after receipt of the Contractor's self evaluation, will meet and evaluate all performance information it has obtained.  The AFEB will review the performance monitors’ reports and prepare an Award Fee evaluation report.  The report will be a memorandum to the AFDO with the AFEB’s recommendation.

5.2.4.5   AFEB Final Report

After meeting with the Contractor, the AFEB will finalize the report and present it to the AFDO within five calendar days.  The report will recommend the award fee amount and any unresolved the Contractor issues to the AFDO.

5.2.4.6	  Award Fee Determination Report

The AFDO will consider the final AFEB report and ensure compliance with the Award Fee Determination Plan.  The AFDO may accept, reject, or modify the AFEB recommendation.  The AFDO will make the final determination of the award fee earned during the period.  The AFDO’s determination of the award fee amount of award fee earned and the basis of the determination will be stated in an Award Fee determination report and forwarded to the FEDSIM Contracting Officer for the task order file.

5.2.4.7	 Award Fee Determination Notice

The FEDSIM CO will prepare this notice to the Contractor stating the amount of the award fee earned for the evaluation period.

5.2.4.8	  Contractor Invoice

The Contractor shall invoice without a modification after receipt of the award fee determination notice providing that sufficient funds were obligated in the award fee pool.

SECTION 6:	EVALUATION CRITERIA AND WEIGHTS

The Award Fee Determination Plan (AFDP) consists of award fee provisions for four (4) distinct areas: (1) Management, (2) Technical (includes Hosted Application Support), (3) Cost, (4) Security.  The criteria and weights provided below are guidelines to be used in evaluating these areas to determine the appropriate award fee.  Members of the AFEB and working group will use the following examples of criteria and sub-criteria to evaluate the Contractor’s performance during each award fee evaluation period.

The questions identified in this section with an emphasis on Transition, will be used in the determination of the contractor’s award fee in the first award fee determination cycle.  Current Service Level Agreements (SLAs) (Section J, Attachment E1) will be used in combination with subjective elements to determine the contractor’s award fee in the first award fee period.

SLAs and other subjective criteria may be revised for subsequent award fee periods.  Those future SLAs (Section J, Attachment E2) will be developed jointly by the contractor and Government and may replace some or all of the criteria listed below. The Government has the final say as to what SLAs will be incorporated.

The award fee areas are broken down as follows:

20%	Management

45%	Technical

25%	Cost

10%	Security

-------

100%	Total

6.1	Management 20%.

The objective of the award fee provision is to provide an incentive to the contractor to achieve optimum performance of Task Order requirements and objectives.  The evaluation of Management will consider all aspects of Task Order performance in terms of criteria and sub criteria.

- To what extent is paperwork minimized without compromising essential information flow to the Government?

- To what extent do all responsible elements of the contractor's organization work in unison?

- To what extent are contractor-proposed subcontracting goals achieved?

- Are deliverables outlined in section F of the TOR timely, accurate, completely understandable, and in the specified format, to include maintenance updates or other changes?

- To what extent are schedules met for all deliverables and activities (a critical path delay of more than thirty days is a major delay)?

- Has management taken a proactive leadership role to comprehensively plan, allocate, and integrate all program elements to achieve the objectives of the Task Order?

- Are management actions timely and effective?

- Does management foresee, mitigate or prevent problems and respond rapidly to project changes driven by Government decisions, funding, or actions?

- Are responses to ad hoc requests for presentations and reports provided in a manner that is timely for the Government’s needs?

- Does the contractor provide complete project plans and continuous online electronic performance monitoring for all projects?

- Is the Work Breakdown Structure related to effective project outcomes?

6.1.1   Communication (4% out of 20%)

- Are management reports provided in a responsive, timely, accurate, complete manner, and in accordance with requested submission dates?  (e.g., non task order deliverables, impact studies, technical interchanges, and status briefings)?

- Are verbal and written communications clear, succinct, effective, to-the-point, and presented at the appropriate level of detail.

- Are users satisfied with the communications with the Contractor (e.g., helpdesk and field services, site survey, deployment, and installation process)?

- Do the internal collaboration tools improve project communication?

- Is the SLA and SLO performance data available, reliable, and professionally presented?

- Are briefings and meetings efficient, succinct and attended by appropriate and well-prepared staff?

- Are significant project issues and related impacts identified to the Government in a clear, succinct and timely manner?

- Does contractor effectively involve the program office in meetings with external stakeholders?

6.1.2.   Contractual Deliverables and Personnel Staffing   (6% out of 20%)

- To what extent does the contractor minimize staff turnover to achieve high mission effectiveness?

- To what extent does the contractor maintain sufficient staff with the appropriate security clearances to achieve the mission objectives?

- Do initial task order deliverables contain few to no defects and meet or exceed the expectation of the recipient in a manner that makes the process or product easy to understand and use?

- Do final task order deliverables include comprehensive revision and adequate response to Government comments?

- Are subcontractors sufficiently integrated into the project team?

- Are official contractual requests submitted in a responsive, timely, accurate, complete manner, and in accordance with requested submission dates (e.g., Requests for Change and Rough Order of Magnitudes – Cost Estimates)?

- Does contractor effectively restrict contractual direction to appropriate channels?

- Is contractor’s schedule performance on projects as measured by EVMS in line or ahead of agreed dates? (e.g., any critical path delay not driven by Government decisions, funding, or actions)

- Has contractor created a sufficiently detailed schedule for effective PMO oversight?

- Are qualified personnel assigned to any and all task order tasks?

- Do all responsible elements of the organization work in unison?

- Does contractor efficiently use existing program staff?

- Has contractor effectively restructured the program staff to reflect the transition from a development environment to an operations and maintenance environment?

6.2	Technical 45%

6.2.1	Subjective Technical Criteria (20% out of 45%).

The objective of this award fee provision is to provide the incentive for the Contractor to achieve optimum performance of Task Order requirements and objectives.  In the initial award fee periods, effectiveness of the transition from the incumbent task order is included in these criteria.  The evaluation for technical will consider all aspects of Task Order performance in terms of the criteria and sub-criteria:

- Did the contractor maintain the effectiveness of enterprise networked services from the incumbent task order?

- Did the contractor perform the transition from the incumbent task order in a manner perceived as seamless by stakeholders?

- Did the contractor transition all data products effectively (e.g. certification and accreditation packages, design documentation, master schedules)?

- Did the contractor transition all workflow processes effectively (e.g. O&M, patch management, configuration management, security operations)?

- Has the contractor effectively transitioned the operational configuration management baseline (e.g. infrastructure hardware configurations and images, addressing)?

- Has the contractor effectively transitioned all ongoing projects (e.g. equipment, status, documentation, customer points of contact, and processes) which were in progress at the start of the period of performance?

- Has the contractor assumed effective operational control of all systems?

- Has the contractor achieved all target SLAs during the transition?

- Did the contractor adhere to critical milestones/events?

- Was the task order transition successfully accomplished?

- Was the contractor able to ramp up in an expedited manner to assume operational control of enterprise networked services?

- Is the contractor able to provide fully qualified personnel in a timely manner?

- Did the contractor leverage the existing DHS infrastructure?  Did the contractor consider the use of GFE?

    - Service Level Agreements

      - Initial Service Level Agreements (SLAs) (25 of 45%) and Service Level Objectives (SLOs) (not scored).

The objective of this award fee criterion is to provide an incentive to the contractor to achieve optimum performance of task order requirements and objectives in the area of Technical performance.  The evaluation will consider all aspects of task order performance according to the following sub criteria.  The weighting of the technical measures is shown below.  The contractor’s technical performance shall be measured in accordance with Section J, Attachment E1 (current SLA Descriptions).  The SLOs are data that is reported, and while not explicitly scored, can be used by the Government in the subjective assessment.

| SLA Number | SLA Description | Weight (percentage of the 25%) |
| --- | --- | --- |
| SLA 1 | New Site Installation - Small Site | 4% |
| SLA 2 | New Site Installation - Medium Site | 2% |
| SLA 3 | Simple Move, Add, Change to Existing Site (National) | 2% |
| SLA 4 | Complex Move, Add, Change to Existing Site (National) | 2% |
| SLA 5 | Simple Move, Add, Change to Existing Site (NCA) | 2% |
| SLA 6 | Complex Move, Add, Change to Existing Site (NCA) | 2% |
| SLA 7 | Simple Move, Add, Change to Existing Site-Premium | 2% |
| SLA 8 | Complex Move, Add, Change to Existing Site-Premium | 2% |
| SLA 9 | Security Event Processing | 2% |
| SLA 10 | Incident Response Plan – Priority | 2% |
| SLA 11 | Incident Response Plan – Routine | 2% |
| SLA 12 | User Site Trouble Ticket - Bronze Site CAT 1 (National) | 4% |
| SLA 13 | User Site Trouble Ticket - Bronze Site CAT 2 (National) | 4% |
| SLA 14 | User Site Trouble Ticket - Silver Site CAT 1 (NCA) | 4% |
| SLA 15 | User Site Trouble Ticket - Silver Site CAT 2 (NCA) | 4% |
| SLA 16 | User Site Trouble Ticket – Platinum Site (VVIP) CAT 1 | 4% |
| SLA 17 | User Site Trouble Ticket – Platinum Site (VVIP) CAT 2 | 4% |
| SLA 18 | User Site Trouble Ticket - Premium Site CAT 1 | 5% |
| SLA 19 | User Site Trouble Ticket - Premium Site CAT 2 | 5% |
| SLA 20 | User Site Trouble Ticket - CAT 3 (All Sites) | 8% |
| SLA 21 | Application Servers - SIPRNet Availability | 8% |
| SLA 22 | Application Servers - Email Availability | 8% |
| SLA 23 | Application Servers - Secure Messaging Availability | 8% |
| SLA 24 | IP Services Availability | 10% |
|  | Total (percent of this section) | 100% |
| SLO 1 | T1 Circuit Installation | n/a |
| SLO 2 | DS-3 Circuit Installation | n/a |
| SLO 3 | Site Deactivation | n/a |
| SLO 4 | Call Handling - Speed of Answer | n/a |
| SLO 5 | Call Handling - Call Length | n/a |
| SLO 6 | Call Handling - Call Abandonment Time | n/a |
| SLO 7 | Core Infrastructure Trouble Ticket – Basic | n/a |
| SLO 8 | Core Infrastructure Trouble Ticket – Priority | n/a |

      - Future Service Level Agreements (SLAs) (not evaluated in this Award).

The Government’s intention is to revise the SLAs in a future Award Fee period, as shown in the

future SLAs, Section J, Attachment E-2 (future SLA Descriptions).  The Future SLAs will not be applied to the initial periods of performance.  The awardee is invited to evaluate these proposed SLAs and contribute suggestions for their improvements.

6.3   Cost (25%).  The objective of this award fee criterion is to provide an incentive to the Contractor to achieve optimum performance of task order requirements and objectives in the area of Cost performance.  During the initial Award Fee periods, these criteria include transition activities.  The evaluation will consider all aspects of task order performance according to the following sub criteria.

6.3.1	Budgeting, Cost Performance, and EVMS	  (15% out of 25%)

- Did the project achieve scheduled objectives and results within the established project budget?

- How effectively did the Contractor achieve cost objectives?

- Did the Contractor effectively adapt performance to best utilize limited funding?

- Are proactive measures taken to avoid cost growth?

- Are Earned Value Management reports timely and accurate?

- Did the Integrated Baseline Review (IBR) contain sufficient detail to understand, manage, review, and report on project status?

- What are the Cost Performance Index (CPI) and Schedule Performance Index (SPI) for non-O&M tasks?  Are CPI and SPI within acceptable variance levels (+5% / -10%)?

6.3.2	Invoicing, Cost Reporting, Savings, and Avoidance   (10% out of 25%)

- Does the Contractor routinely propose solutions that save the Government money?

- Are invoices complete, accurate, and understandable?  If they are not, have any invoices been questioned or disallowed?

- Has the Contractor responded promptly and accurately to ad hoc requests for program cost data?

- Are cost reports accurate, easy to understand and delivered on time?

- Are Tools, ODCs, and Long Distance travel purchases accomplished in a cost-effective manner?

- Does the Contractor avoid costs by proposing solutions that use existing DHS infrastructure and GFE where appropriate, technically feasible, and cost-effective?

- Has the Contractor been effective in achieving efficiencies in project costs (e.g., labor sharing; cross-training; making bulk purchases; reducing facility costs; minimizing travel by combining multiple trips into single trips)?

- Does the Contractor adequately track project costs to facilitate program office cost tracking and billing by site and DHS component or external Agency?

6.4	SECURITY (10%)

The objective of this award fee criterion is to provide an incentive to the Contractor to achieve optimum performance of task order requirements and objectives in the area of Security performance.  The evaluation will consider all aspects of task order performance according to the following sub criteria.

a. 	Security Operations -  Were security tools and appliances actively managed for effective risk mitigation and status/results periodically reported to security managers? These include:

- Enterprise security management (ArcSight)

- Vulnerability Analysis (Harris STAT Analyzer, ISS Network Scanner, DISA STIG and Gold Disks)

- Firewalls (Cyberguard and Netscreen)

- Intrusion Detection System (Enterasys Dragon Network IDS)

- Cryptographic File Integrity Checking (Tripwire)

- Cryptography (COMSEC) Management: (GEM)

- Anti-Virus (Symantec, Sophos, Trend Micro)

- Forensics (Air Magnet, Encase)

b. 	Security Operations - Was the HSDN – SIPRNet DMZ interface operated in compliance with interagency agreements?   Was the C-LAN – JWICS DMZ interface operated in compliance with interagency agreements?

- Are user accounts actively managed including the enforcement of identification and authentication and account inactivity policies?

- Configuration Management - Are actions to comply with Information Assurance Vulnerability Alerts (IAVAs) and Bulletins (IAVBs) (including security relevant patches) expeditiously tested, applied, completed, and reported (if applicable) according to the critically of the evaluated security threat?

- Configuration Management - Are security-relevant configuration changes managed and documented through the CM process?

- Certification and Accreditation Support - Are required security processes clearly documented and implemented (or practiced) as required for full accreditation, to include:

- Contingency plans

- Continuity of operations plans (COOP)

- Backup and disaster recovery (DR) procedures

- Configuration management processes

- Vulnerability assessment and management

- Account management

- Audit log review and analysis

- Incident reporting and response

- Certification and Accreditation Support - Were all significant security-relevant changes reflected in security documentation (SSAA, Appendices, Site Specific Addenda, etc.) and minor changes recorded and tracked for periodic documentation updates?

- User and Administrator Security Training -  Was user security training conducted and documented as required by the Security Training Plan?

SECTION 7:  RATING SCALE, PERFORMANCE SCORING AND percentage of fee

The scoring and methodology to be used in determining the award fee scores for the three areas outlined in Section 6 above are IAW with the tables described below.

7.0	AWARD FEE RATING SCALE

The following Rating Scale will be used in evaluating the criteria in Section 5.  The percentage of the Award Fee which corresponds to these ratings also is indicated.  All sub criteria possess an equivalent weight within the parent criteria.

7.1	Rating Scale Criteria and Sub Criteria

7.1.1   Subjective criteria evaluation

Subjective award fee criteria will be scored based on the number of criteria successfully met in each category as presented in the following table.

| Award-Fee Adjectival Rating | Award-Fee Pool Available To Be Earned | Description |
| --- | --- | --- |
| Excellent | 91%--100% | Contractor has exceeded almost all of the significant award-fee criteria and has met overall cost, schedule, and technical performance requirements of the contract as defined and measured against the criteria in the award-fee plan for the award-fee evaluation period. No corrective action required. |
| Very Good | 76%--90% | Contractor has exceeded many of the significant award-fee criteria and has met overall cost, schedule, and technical performance requirements of the contract as defined and measured against the criteria in the award-fee plan for the award-fee evaluation period. Occasional non-conformances to be corrected. |
| Good | 51%--75% | Contractor has exceeded some of the significant award-fee criteria and has met overall cost, schedule, and technical performance requirements of the contract as defined and measured against the criteria in the award-fee plan for the award-fee evaluation period. Minor non-conformances to be corrected. |
| Satisfactory | No Greater Than 50%. | Contractor has met overall cost, schedule, and technical performance requirements of the contract as defined and measured against the criteria in the award-fee plan for the award-fee evaluation period. Improvements required. |
| Unsatisfactory | 0% | Contractor has failed to meet overall cost, schedule, and technical performance requirements of the contract as defined and measured against the criteria in the award-fee plan for the award-fee evaluation period. Immediate and substantial corrective action required. |

7.1.2   SLA evaluation

The SLA award fee criteria will be scored based on the number of criteria successfully met in each category as presented in the following table.

| SLA Performance | Corrective Action Required | % of Fee Granted |
| --- | --- | --- |
| Failure to meet Tertiary | Immediate and substantial corrective action required | 0% |
| Tertiary | Improvements required | 75% |
| Secondary | Minor non-conformances to be corrected | 90% |
| Primary | Occasional non-conformances to be corrected | 100% |

Current Service Level Agreements

This table of SLAs represents the Government’s required current level of performance of the enterprise networked services.

Offeror’s performance will be assessed based on the following SLAs and the subjective criteria identified in the Award Fee Determination Plan (AFDP).

Offeror’s proposal shall describe the methods for achieving this level of performance.

| SLA 1: New Site Installation – Small Site |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s installation performance and responsiveness to deployment requests for a small HSDN site. A small HSDN site is defined as 1-5 workstations at a site. Measurement begins upon approval of site installation Request for Change (RFC) submittal by the HSDN Change Management Team. Successful installation is demonstrated by Network Operations Center verification of HSDN services at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). Note: This SLA does not address mobile HSDN and site capability requirements. The Government is responsible for performing any physical site modifications necessary to meet physical site accreditation requirements. Any required site modifications must be completed no later than 14 days prior to the scheduled required service date. The Government will provide site access within 5 business days of request for HSDN personnel performing site surveys and site installation activities. The Government will provide access to telecom personnel on an as required basis. the Contractor will make every effort to provide advance notification of any site visit by LEC personnel. Government orders for MAC-Rs which have a scheduled or requested delivery date or time greater than the target will be excluded from the calculation if delivered to the customer by the requested date or time. An individual event is deemed to have met the target if the new site deployment occurs within 45 Calendar Days. CONDITIONS: If between 5 and 19 events each occur for this SLA and SLA 2, SLAs 1 and 2 shall be combined for the measurement period. |
| EXCEPTIONS: (1) Any site that does not have an approved OSS Letter prior to install date is excluded. (2) Any site that requests a delay in installation beyond the SLA primary target is excluded. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date.. This exception does not apply to regular circuit provisioning. (4) Force Majeure |
| Target | Unit: | Per Occurrence |
| Primary | 95 % of events are completed within 45 Calendar days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 45 Calendar days AND 95% of events are completed within 90 Calendar days | Metric: | Count of small site installations completed within the target period divided by count of all small site installations in the period |
| Tertiary | 70 % of events are completed within 45 Calendar days AND 95% of are completed within 90 Calendar days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |
| SLA 2: New Site Installation – Medium Site |
| DESCRIPTION: This SLA measures the quality of the Contractor’s installation performance and responsiveness to deployment requests for a medium HSDN site. A medium HSDN site is defined as 6-20 workstations at a site. Measurement begins upon approval of site installation Request for Change (RFC) submittal by the HSDN Change Management Team. Successful installation is demonstrated by Network Operations Center verification of HSDN services at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). Note: This SLA does not address mobile HSDN and site capability requirements. The Government is responsible for performing any physical site modifications necessary to meet physical site accreditation requirements. Any required site modifications must be completed no later than 14 days prior to the scheduled required service date. The Government will provide site access within 5 business days of request for HSDN personnel performing site surveys and site installation activities. The Government will provide access to telecom personnel on an as required basis. the Contractor will make every effort to provide advance notification of any site visit by LEC personnel. Government orders for MAC-Rs which have a scheduled or requested delivery date or time greater than the target will be excluded from the calculation if delivered to the customer by the requested date or time. An individual event is deemed to have met the target if the new site deployment occurs within 45 Calendar Days. CONDITIONS: If between 5 and 19 events each occur for this SLA and SLA 1, SLAs 1 and 2 shall be combined for the measurement period. |
| EXCEPTIONS: (1) Any site that does not have an approved OSS Letter prior to install date is excluded. (2) Any site that requests a delay in installation beyond the SLA primary target is excluded. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. This exception does not apply to regular circuit provisioning. (4) Force Majeure |
| Target | Unit: | Per Occurrence |
| Primary | 95% of events are completed within 45 Calendar days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 45 Calendar days AND 95 % of events are completed within 90 Calendar days | Metric: | Count of medium site installations completed within the target period divided by count of all small site installations in the period |
| Tertiary | 70 % of events are completed within 45 Calendar days AND 95 % of events are completed within 90 Calendar days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |
| SLA 3: Simple MOVE, ADD, or CHANGE to Existing Site (National) |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Simple MACs apply to all operational HSDN sites. “Simple MACs” apply to all MACs that occur within the certification and accreditation boundary. Measurement begins upon the Contractor receiving technical direction for the site MAC (RFC) submittal. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 3 Business Days. All events within this SLA must be completed within 6 business days. CONDITIONS: the Contractor has sufficient hardware inventory on hand Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative One Simple MAC per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. The number of site visits per week are limited to available resources Horizontal cabling and infrastructure are in place to support move of equipment If between 5 and 19 events occur for this SLA, it shall be combined with SLAs 4, 5, and/or 6 if those SLAs also have between 5 and 19 events occur. |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (2) Any site that fails to provide access to the site after mutual agreement of service date. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (4) Force Majeure |
| Target (All except Premium Sites) | Unit: | Per MAC |
| Primary | 95 % of events are completed within 4 Business days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 4 Business days AND 95% of events are completed within 6 Business days | Metric: | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| Tertiary | 70 % of events are completed within 3 Business days AND 95% of events are completed within 6 Business days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 4: Complex MOVE, ADD, or CHANGE to Existing Site (National) |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Complex MACs apply to all operational HSDN sites. Complex MACs apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 5 Business Days. CONDITIONS: Open Secret Storage Approval obtained prior to MAC the Contractor has sufficient hardware inventory on hand If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. If between 5 and 19 events occur for this SLA, it shall be combined with SLAs 3, 5, and/or 6 if those SLAs also have between 5 and 19 events occur |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (2) Any site that fails to provide access to the site after mutual agreement of service date. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (4) Force Majeure |
| Target | Unit: | Per MAC |
| Primary | 95 % of events are completed within 5 Business Days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 5 Business Days AND 95% of events are completed within 7 Business Days | Metric: | Count of Complex MACs completed within the target period divided by count of all Complex MACs in each period |
| Tertiary | 70% of events are completed within 4 Business Days AND 95% of events are completed within 7 Business Days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 5: Simple MOVE, ADD, or CHANGE to Existing Site (NCA) |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). All HSDN sites inside the Metropolitan DC area (100 mile radius) are considered to be within the NCA unless otherwise noted. Simple MACs apply to all operational HSDN sites. Simple MACs apply to all MACs that occur within the certification and accreditation boundary. Measurement begins upon the Contractor receiving technical direction for the site MAC (RFC) submittal. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 2 Business Days. CONDITIONS: the Contractor has sufficient hardware inventory on hand Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative One Simple MAC per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. The number of site visits per week are limited to available resources Horizontal cabling and infrastructure are in place to support move of equipment If between 5 and 19 events occur for this SLA, it shall be combined with SLAs 3, 4, and/or 6 if those SLAs also have between 5 and 19 events occur |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (2) Any site that fails to provide access to the site after mutual agreement of service date. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (4) Force Majeure |
| Target (All except Premium Sites) | Unit: | Per MAC |
| Primary | 95% of events are completed within 2 Business days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 2 Business days AND 95% of events are completed within 4 Business days | Metric: | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| Tertiary | 70 % of events are completed within 2 Business days AND 95% of events are completed within 4 Business days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 6: Complex MOVE, ADD, or CHANGE to Existing Site (NCA) |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). All HSDN sites inside the Metropolitan DC area (100 mile radius) are considered to be within the NCA unless otherwise noted. Complex MACs apply to all operational HSDN sites. Complex MACs apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 5 Business Days. CONDITIONS: Open Secret Storage Approval obtained prior to MAC the Contractor has sufficient hardware inventory on hand If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. If between 5 and 19 events occur for this SLA, it shall be combined with SLAs 3, 4, and/or 5 if those SLAs also have between 5 and 19 events occur |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (2) Any site that fails to provide access to the site after mutual agreement of service date. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (4) Force Majeure |
| Target | Unit: | Per MAC |
| Primary | 95% of events are completed within 3 Business Days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 5 Business Days AND 95% of events are completed within 5 Business Days | Metric: | Count of Complex MACs completed within the target period divided by count of all Complex MACs in each period |
| Tertiary | 70% of events are completed within 3 Business Days AND 95% events are completed within 5 Business Days | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 7: Simple MOVE, ADD, or CHANGE to Existing PREMIUM Site |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Simple MACs apply to operational HSDN sites. Simple MACs apply to all MACs that occur within the certification and accreditation boundary Measurement begins upon the Contractor receiving technical direction for the site MAC (RFC) submittal, if required. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 2 hours. CONDITIONS: the Contractor has sufficient hardware inventory on hand Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative Five Simple MACs per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. The number of site visits per week are limited to available resources |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (2) Any site that fails to provide access to the site after mutual agreement of service date. (3) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (4) Force Majeure |
| Target (All except Premium Sites) | Unit: | Per MAC |
| Primary | 95 % of events are completed within 2 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 2 hours AND 95 % of events are completed within 10 hours | Metric: | Count of Simple Premium MACs completed within the target period divided by count of all Simple Premium MACs in each period |
| Tertiary | 70 % of events are completed within 2 hours AND 95 % of events are completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 8: Complex MOVE, ADD, or CHANGE to Existing PREMIUM Site |
| --- |
| DESCRIPTION: This SLA measures the quality of the Contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Complex MACs apply to operational HSDN sites. “Complex MACs” apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, HSDN applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 24 hours. CONDITIONS: Open Secret Storage Approval obtained prior to MAC the Contractor has sufficient hardware inventory on hand If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. |
| EXCEPTIONS: (1) Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. (3) Any site that fails to provide access to the site after mutual agreement of service date. (4) Any site that requires local site infrastructure or telecommunications work performed by a third party not under the Contractor direct control is excluded IF the work is not completed before the negotiated install date. (5) Force Majeure |
| Target | Unit: | Per MAC |
| Primary | 95% of events are completed within 24 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 24 hours AND 95% of events are completed within 48 hours | Metric: | Count of Complex Premium MACs completed within the target period divided by count of all Complex Premium MACs in each period |
| Tertiary | 70% of events are completed within 24 hours AND 95% of events are completed within 48 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 9: Security Event Reporting |
| --- |
| DESCRIPTION: This SLA measures the Contractor’s security event reporting responsiveness. Upon NOC/SOC recognition of a priority security event, the Contractor shall follow the defined event reporting procedures. An “event” is defined as a suspected violation of an explicit or implicit security policy in the HSDN computing or telecommunications system or network. Definitions of DHS Security Incidents include: Unauthorized Access (Intrusion): This includes all successful unauthorized accesses and suspicious unsuccessful attempts. Denial of Service: Denial of service attacks includes incidents that affect the availability of critical resources such as email servers, Web servers, routers, gateways, or communications infrastructure. Malicious Logic: Malicious logic includes active code such as viruses, Trojan horses, worms, and scripts used by crackers/hackers to gain privileges and/or information, capture passwords, and to modify audit logs to hide unauthorized activity. Misuse: A user violates Federal laws or regulations and/or Departmental policies regarding proper use of computer resources, installs unauthorized or unlicensed software, accesses resources and/or privileges that are greater than those assigned. Probes and Reconnaissance Scans: Probes and reconnaissance scans include probing or scanning networks for critical services or security weaknesses. It also includes nuisance scans. Classified System Incident: Any security incident that involves a system used to process national security information. Alteration/Compromise of Information: Any incident that involves the unauthorized altering of information, or any incident that involves the compromise of information. Multiple Component: Any incident involving events considered significant incidents in more than one of the above categories. Service Outage (Critical, Significant): Critical - Critical system or network resources are unavailable for use by the authorized user community. Critical system resources include secure email, organizational messaging, and network access to critical mission resources (e.g., SIPRNet, Directory Services, DNS). Significant - General system or network resources are unavailable on a large scale (systems supporting 20 or more users) for use by the authorized user community. Measurement begins upon recognition of an event. Recognition of events will only occur when SOC personnel are monitoring in real-time or reviewing system logs from un-monitored times, e.g. nights and weekends. All events are logged in Service Desk upon recognition. Next, the Contractor contacts the Government Watch Officer. Success criteria is demonstrated by confirmation of security incident report by Government Watch Officer (GWO) and change in status of trouble report ticket. An individual event is deemed to have met the target if the incident is reported within 15 minutes. CONDITIONS During SOC off-hours, NOC personnel are responsible for reporting Security Incidents of types 1, 3, and 9 above. |
| EXCEPTIONS: (1) Force Majeure |
| Target | Unit: | Per Event |
| Primary | 95 % of events are completed within 15 minutes | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 15 minutes AND 95% of events are completed within 75 Minutes | Metric: | Count of security events reported within the target period divided by count of all security events reported in each period |
| Tertiary | 70 % of events are completed within 15 minutes AND 95 % of events are completed within 75 Minutes | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 10: Incident Response Plan – Priority |
| --- |
| DESCRIPTION: This SLA measures the quality and timeliness of the Contractor’s security incident response. Upon confirmation of a valid security incident by the Government Watch Officer (GWO), the Contractor shall follow the defined incident response procedures. An “Incident” is defined as: “The violation of an explicit or implied security policy in a computing or telecommunications system or network.”. The GWO will confirm the type of incident response (e.g., priority or routine) in accordance with the DHS Security Guidance. Measurement begins upon confirmation of incident. All confirmed incidents should already be logged in Service Desk as events. Status should be changed to Incident and measured upon confirmation by GWO. Success criteria is demonstrated by confirmation of security incident response plan receipt by Government Watch Officer (GWO) and closure of incident report ticket. An individual event is deemed to have met the target it the response plan is generated within 1 hour. CONDITIONS: During SOC off-hours, SLA time shall begin accruing no later than 2 hours after the GWO is notified or upon arriving of SOC personnel, whichever comes first. |
| EXCEPTIONS: (1) Force Majeure |
| Target | Unit: | Per Incident |
| Primary | 95 % of events are completed within 1 hour | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 1 hour AND 95 % of events are completed within 4 hours | Metric: | Count of priority incident response plans generated within target period divided by count of all priority incident response plans in each period |
| Tertiary | 70 % of events are completed within 1 hour AND 95 % of events are completed within 4 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 11: Incident Response Plan – Routine |
| --- |
| DESCRIPTION: This SLA measures the quality and timeliness of the Contractor’s security incident response. Upon confirmation of a valid security incident by the Government Watch Officer (GWO), the Contractor shall follow the defined incident response procedures. An “Incident” is defined as: “The violation of an explicit or implied security policy in a computing or telecommunications system or network.”. The GWO will confirm the type of incident response (e.g., priority or routine) in accordance with the DHS Security Guidance. Measurement begins upon confirmation of incident. All confirmed incidents should already be logged in Service Desk as events. Status should be changed to Incident and measured upon confirmation by GWO. Success criteria are demonstrated by confirmation of security incident response plan receipt by Government Watch Officer (GWO) and closure of incident report ticket. An individual event is deemed to have met the target it the response plan is generated within 4 hours. CONDITIONS: During SOC off-hours, SLA time shall begin accruing no later than 2 hours after the GWO is notified or upon arriving of SOC personnel, whichever comes first. |
| EXCEPTIONS: (1) Force Majeure |
| Target | Unit: | Per Incident |
| Primary | 95% of events are completed within 4 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 4 hours AND 95 % of events are completed within 10 hours | Metric: | Count of routine incident response plans generated within the target period divided by count of all routine incident response plans in each period |
| Tertiary | 70 % of events are completed within 4 hours AND 95 % of events are completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 12: User Site Trouble Ticket – Bronze Site CAT 1 (NATIONAL) |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN sites outside the Metropolitan DC area (100 mile radius from Clarksburg, MD) are “Bronze” sites unless otherwise noted. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 24 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) HSDN site must provide facility access for the Contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95 % of events are completed within 24 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Metric: | Count of Bronze CAT 1 tickets closed out within the target period divided by the total count of Bronze CAT1 tickets in each period |
| Tertiary | 70 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |
| SLA 13: User Site Trouble Ticket – Bronze Site CAT 2 (NATIONAL) |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN sites outside the Metropolitan DC area (100 mile radius) are “Bronze” sites unless otherwise noted. Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target if the ticket is closed out within 36 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) HSDN site must provide facility access for the Contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party are excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95 % of events are completed within 36 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 36 hours AND 95 % of events are completed within 60 hours | Metric (SPM): | Count of Bronze CAT 2 tickets closed out within the target period divided by the total count of Bronze CAT 2 tickets in each period |
| Tertiary | 70 % of events are completed within 36 hours AND 95 % of events are completed within 60 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 14: User Site Trouble Ticket – Silver Site CAT 1 (NCA) |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN sites inside the Metropolitan DC area (100 mile radius) are “Silver” sites unless otherwise noted. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 12 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) HSDN site must provide facility access for the Contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95 % of events are completed within 12 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 12 hours AND 95 % of events are completed within 24 hours | Metric: | Count of Silver CAT 1 tickets closed out within the target period divided by the total count of Silver CAT 1 tickets in each period |
| Tertiary | 70 % of events are completed within 12 hours AND 95 % of events are completed within 24 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 15: User Site Trouble Ticket – Silver Site CAT 2 (NCA) |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN sites inside the Metropolitan DC area (100 mile radius) are “Silver” sites unless otherwise noted. Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket is closed out within 24 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) HSDN site must provide facility access for the Contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95 % of events are completed within 24 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Metric: | Count of Silver CAT 2 tickets closed out within the target period divided by the total count of Silver CAT 2 tickets in each period |
| Tertiary | 70 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 16: User Site Trouble Ticket – Platinum (VVIP) CAT 1 |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN Platinum Very, Very Important Persons (VVIP) users have a higher response time requirement than Bronze or Silver. Platinum service is provided on a user basis, as opposed to a site basis. A list of HSDN users identified as VVIP will be provided by the Government HSDN PMO to the Contractor Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 4 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk HSDN site must provide facility access for the Contractor within primary target time window, no later than 2 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) A VVIP user trouble ticket from a site with a Premium service level is excluded. (2) Any site that requests a delay beyond the SLA primary target is excluded. (3) Force Majeure (4) Scheduled Downtime (5) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (6) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95 % of events are completed within 4 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 4 hours AND 95 % of events are completed within 10 hours | Metric: | Count of Platinum CAT 1 tickets closed out within the target period divided by the total count of Platinum CAT 1 tickets in each period |
| Tertiary | 70 % of events are completed within 4 hour AND 95 % of events are completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 17: User Site Trouble Ticket – Platinum (VVIP) CAT 2 |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN Platinum Very, Very Important Persons (VVIP) users have a higher response time requirement than Bronze or Silver. Platinum service is provided on a user basis, as opposed to a site basis. A list of HSDN users identified as VVIP will be provided by the Government HSDN PMO to the Contractor Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket is closed out within 8 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk HSDN site must provide facility access for the Contractor within primary target time window, no later than 2 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) A VVIP user trouble ticket from a site with a Premium service level is excluded. (2) Any site that requests a delay beyond the SLA primary target is excluded. (3) Force Majeure (4) Scheduled Downtime (5) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (6) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95% of events are completed within 8 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 8 hours AND 95 % of events are completed within 20 hours | Metric: | Count of Platinum CAT 2 tickets closed out within the target period divided by the total count of Platinum CAT 2 tickets in each period |
| Tertiary | 70 % of events are completed within 8 hour AND 95 % of events are completed within 20 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 18: User Site Trouble Ticket – Premium Site CAT 1 |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. HSDN Premium sites have HSDN on-site support personnel, the highest level of service offered. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket originator receives a response to the trouble within 2 hours, and the ticket is closed out within 4 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk HSDN site must provide facility access for the Contractor within primary target time window, no later than 1 hour before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 95% of events are responded to within 2 hours AND completed within 4 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90% of events are responded to within 2 hours AND completed within 4 hour AND 95 % of events are responded to within 4 hours AND completed within 10 hours | Metric: | Count of Premium CAT 1 tickets responded to within the response target period and closed out within the restore target period divided by the total count of Premium CAT 1 tickets in each period |
| Tertiary | 70 % of events are responded to within 2 hours AND completed within 4 hour AND 95 % of events are responded to within 4 hours AND completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 19: User Site Trouble Ticket – Premium Site CAT 2 |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. HSDN Premium sites have HSDN on-site support personnel, the highest level of service offered. Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket originator receives a response to the trouble within 2 hours, and the ticket is closed out within 4 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk HSDN site must provide facility access for the Contractor within primary target time window, no later than 1 hour before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. The number of site visits per week are limited to available resources the Contractor has sufficient hardware inventory on hand. |
| EXCEPTIONS: (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway are excluded. (5) Any site that has all HSDN telecommunication circuits severed by an outside party are excluded. |
| Target | Unit: | Per Trouble Ticket |
| Primary | 100 % of events are responded to within 2 hours AND completed within 4 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are responded to within 2 hours AND completed within 4 hour AND 95 % of events are responded to within 4 hours AND completed within 10 hours | Metric: | Count of Premium CAT 2 tickets responded to within the response target period and closed out within the restore target period divided by the total count of Premium CAT 1 tickets in each period |
| Tertiary | 70 % of events are responded to within 2 hours AND completed within 4 hour AND 95 % of events are responded to within 4 hours AND completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 20: User Site Trouble Ticket – CAT 3 (All Sites) |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All HSDN sites are included in this SLA regardless of service level. CAT 3 includes all trouble tickets that do not require a physical site visit (e.g., password reset, Tier 1 help desk support). An individual event is deemed to have met the target it the ticket is closed out within 3 hours. CONDITIONS: Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) Once a trouble ticket is opened, the time runs continuously until closed. |
| EXCEPTIONS: (1) Any ticket that requests a delay beyond the SLA primary target is excluded. (2) Any ticket that is escalated to CAT 2 or CAT 1. (2) Force Majeure (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the HSDN Gateway is excluded. |
| Target | Unit: | Per Trouble Ticket |
| Stretch | 100 % of events are completed within 3 hours | How measured: | Service Desk |
| Primary | 95% of events are completed within 3 hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 90 % of events are completed within 3 hours AND 95 % of events are completed within 10 hours | Metric: | Count of CAT 3 tickets closed out within the target period divided by the total count of CAT 3 tickets in each period |
| Tertiary | 70 % of events are completed within 3 hours AND 95 % of events are completed within 10 hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 21: Application Servers – SIPRNet Availability |
| --- |
| DESCRIPTION: This SLA provides a measure of the HSDN SIPRNet gateway availability. This measure does not measure SIPRNet availability, as responsibility for SIPRNet is outside the scope of the HSDN task order. The measure is performed by an Internet Control Message Protocol (ICMP) probe of the black side edge router within the HSDN DMZ from a server within the HSDN NOC. This establishes that a network path exists between the NOC server and the edge router, which is the interface point to the DISA provided SIPRNet circuit. The probe executes approximately every 4 minutes. Each time the probe executes it performs 4 ICMP pings, each with a 20 second timeout. The probe returns an availability of “1” if one to four pings are successful, “0” if no pings are successful. Probe responses of “1” count as available, “0” as unavailable. To count as unavailable, the probe must return two consecutive “0” responses. CONDITIONS: The Contractor will not be directed to make changes to the SIPRNet gateway that adversely impacts availability (MTBF) The Contractor possesses spares for critical hardware items The Government approves requested maintenance and support contracts for hardware and software components |
| EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure (3) Government directed configuration changes or security procedures that negatively impact availability (4) False responses from availability probe if negated by other data |
| Target | Unit: |  |
| Stretch | 99.99% | How measured: | HP Openview |
| Primary | 99.97% | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 99.70% | Metric (SPM): | Total downtime divided by (Total time in period minus scheduled downtime) |
| Tertiary | 99.00% | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 22: Application Servers – E-mail Availability |
| --- |
| DESCRIPTION: This SLA provides a measure of the HSDN E-mail server availability. The measure is performed by an Internet Control Message Protocol (ICMP) probe of the E-mail server within the HSDN data center from a server within the HSDN NOC. This establishes that a network path exists between the NOC server and the E-mail server and the server is responding. The probe executes approximately every 4 minutes. Each time the probe executes it performs 4 ICMP pings, each with a 20 second timeout. The probe returns an availability of “1” if one to four pings are successful, “0” if no pings are successful. Probe responses of “1” count as available, “0” as unavailable. To count as unavailable, the probe must return two consecutive “0” responses. CONDITIONS: The Contractor will not be directed to make changes to the E-mail gateway that adversely impacts availability (MTBF) The Contractor possesses spares for critical hardware items The Government approves requested maintenance and support contracts for hardware and software components |
| EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure (3) Government directed configuration changes or security procedures that negatively impact availability (4) False responses from availability probe if negated by other data |
| Target | Unit: |  |
| Stretch | 99.90% | How measured: | HP Openview |
| Primary | 99.70% | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 99.00% | Metric: | Total downtime divided by (Total time in period minus scheduled downtime) |
| Tertiary | 98.50% | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLA 23: Application Servers – Secure Messaging Availability |
| --- |
| DESCRIPTION: This SLA provides a measure of the HSDN Secure Messaging System (SMS) server(s) availability. The measure is performed by an Internet Control Message Protocol (ICMP) probe of the SMS servers within the HSDN data center from a server within the HSDN NOC. This establishes that a network path exists between the NOC server and the SMS servers and at one of the servers is responding. The probe executes approximately every 4 minutes. Each time the probe executes it performs 4 ICMP pings, each with a 20 second timeout. The probe returns an availability of “1” if one to four pings are successful, “0” if no pings are successful. Probe responses of “1” count as available, “0” as unavailable. To count as unavailable, the probe must return two consecutive “0” responses. CONDITIONS: The Contractor will not be directed to make changes to the Secure Messaging Service gateway that adversely impacts availability (MTBF) The Contractor possesses spares for critical hardware items The Government approves requested maintenance and support contracts for hardware and software components |
| EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure (3) Government directed configuration changes or security procedures that negatively impact availability (4) False responses from availability probe if negated by other data |
| Target | Unit: |  |
| Stretch | 99.99% | How measured: | HP Openview |
| Primary | 99.97% | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 99.70% | Metric: | Total downtime divided by (Total time in period minus scheduled downtime) |
| Tertiary | 99.00% | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

SLA 24: HSDN Network Services – IP Services Availability

DESCRIPTION: IP Services availability is defined as the availability of network services for WAN paths. A WAN path is defined as the services from the core and data center(s) up to and including the equipment that comprises a site demarcation point. It is measured in terms of percentage of available time in a month. The outage time includes all unscheduled IP service outages, but does not include scheduled pre-agreed outage time. Scheduled, pre-agreed outage time to be excluded from the availability calculation will be the lesser of the actual outage time or the scheduled outage time. WAN Path Availability by Service Level: Standard: 95% of the WAN paths will achieve the Primary IP Availability target AND 100% of the WAN paths will achieve the Minimum IP Availability target Refer to Standard column in table AVL-1 for Primary and Minimum IP availability High Availability: 95% of the WAN paths will achieve the Primary IP Availability target AND 100% of the WAN paths will achieve the Minimum IP Availability target Refer to High Availability column in table AVL-1 for Primary and Minimum IP availability Mission Critical: 100% of the WAN sites will achieve the Primary IP Availability target AND 100% of the WAN sites will achieve the Minimum IP Availability target Refer to Mission Critical column in table AVL-1 for Primary and Minimum IP availability Service Standard High Availability Mission Critical Primary IP Availability (Stretch) 99.70 % 99.995 % 100 % Primary IP Availability (Primary) 99.50 % 99.99 % 99.999 % Primary IP Availability (Secondary) 99.20 % 99.95 % 99.995 % Minimum IP Availability 95.00 % 99.00 % 99.995 % Table AVL-1 CONDITIONS: Unless explicitly noted in this section, all WAN paths are characterized as Standard Outages will be identified and measured using HSDN Trouble Ticket data

EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure (3) Any site that has all HSDN telecommunication circuits severed by an outside party is excluded. (4) Government directed configuration changes or security procedures that negatively impact availability

| Target | Unit: |  |
| --- | --- | --- |
| Stretch | As stated in Table AVL-1 and Service Level description above | How measured: | Trouble Ticket closeout results from ServiceDesk |
| Primary | As stated in Table AVL-1 and Service Level description above | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | As stated in Table AVL-1 and Service Level description above | Metric: | [Number of hours in the Reporting Period minus the number of hours of outage in the reporting period] divided by the number of hours in the reporting period |
| Tertiary | N/A | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

# Service Level Objectives

| SLO 1: T1 Circuit Installation |
| --- |
| DESCRIPTION: This SLO measures the timeliness of T1 circuit provisioning, installation, and activation for a HSDN site. |
| EXCEPTIONS: None |
| Target | Unit: | Per Occurrence |
| Stretch | N/A | How measured: | Service Desk |
| Primary | 30 Calendar Days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric: | Total time for all T1 installations divided by number of T1s installed |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 2: DS-3 Circuit Installation |
| --- |
| DESCRIPTION: This SLO measures the timeliness of DS-3 circuit provisioning, installation, and activation for a HSDN site. |
| EXCEPTIONS: None |
| Target | Unit: | Per Occurrence |
| Stretch | N/A | How measured: | Service Desk |
| Primary | 45 Calendar Days | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric: | Total time for all DS-3installations divided by number of DS-3s installed |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 3: Site Deactivation |
| --- |
| DESCRIPTION: This SLO measures the timeliness of the Contractor deactivating a HSDN site. Deactivating a site requires that the site be logically disconnected from the HSDN network by either disabling the Taclane or by disabling the router interface to the HSDN network. This action is normally performed in response to a security or network event but the reason to disconnect the site is not associated with this SLO. Upon completion, the NOC/SOC will notify the GWO both verbally and in writing via email. Conditions: In the event that no events occur, the SLA primary target will be deemed as met. |
| EXCEPTIONS: None |
| Target | Unit: | Per Occurrence |
| Stretch | N/A | How measured: | Service Desk |
| Primary | 1 Hour | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric (SPM): | Total time of all deactivations divided by number of occurrences |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 4: Call Handling – Speed of Answer |
| --- |
| DESCRIPTION: This SLO measures the timeliness of the Contractor’s help desk from receipt of call in the help desk to when a operator picks up the call. |
| EXCEPTIONS: None |
| Target | Unit: | Per call |
| Stretch | N/A | How measured: | Service Desk |
| Primary |  | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric (SPM): | Sum of all call waiting minutes divided by number of calls |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 5: Call Handling – Call Length |
| --- |
| DESCRIPTION: This SLO measures the average call length of the Contractor’s help desk. |
| EXCEPTIONS: None |
| Target | Unit: | Per call |
| Stretch | N/A | How measured: | Service Desk |
| Primary |  | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric (SPM): | Total call length of all calls divided by number of calls |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 6: Call Handling – Call Abandonment Rate |
| --- |
| DESCRIPTION: This SLO measures the number of calls to the the Contractor’s help desk that are abandoned, as well as the average time to abandon the call. |
| EXCEPTIONS: None |
| Target | Unit: | Per call |
| Stretch | N/A | How measured: | Service Desk |
| Primary |  | Period: | Six Calendar Months aligned with Award Fee Period |
| Secondary | N/A | Metric (SPM): | Total number of calls abandoned divided by total number of calls |
| Tertiary | N/A | Reported: | Monthly in IPR |

| SLO 7: Core Infrastructure Trouble Ticket – Basic |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to core infrastructure trouble tickets. Basic trouble tickets include the portal, instant messaging, web mail, and file sharing. CONDITIONS: Measurement for trouble tickets opened after routine business hours for HSDN help desk will start at time of trouble ticket. |
| EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure |
| Target | Unit: | Per Trouble Ticket – Service Call |
| Stretch | 8 Hours | How measured: | Service Desk |
| Primary | 16 Hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 24 Hours | Metric: | Total time for all Basic CORE tickets divided by the number of tickets |
| Tertiary | 32 Hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

| SLO 8: Core Infrastructure Trouble Ticket – Priority |
| --- |
| DESCRIPTION: This SLA measures the quality and responsiveness of the Contractor’s operations and maintenance performance and responsiveness to core infrastructure trouble tickets. Basic trouble tickets include SMS, E-mail, Gateways, Directory Services, and DNS. CONDITIONS: Measurement for trouble tickets opened after routine business hours for HSDN help desk will start at time of trouble ticket. |
| EXCEPTIONS: (1) Scheduled Downtime (2) Force Majeure |
| Target | Unit: | Per Trouble Ticket – Service Call |
| Stretch | 4 Hours | How measured: | Service Desk |
| Primary | 8 Hours | Period: | 2 Three Month Periods, aligned with Award Fee Period |
| Secondary | 12 Hours | Metric: | Total time for all Priority CORE tickets divided by the number of tickets |
| Tertiary | 16 Hours | Reported: | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation |

## SLA Waiver Process

The Contractor shall promptly notify the Government in writing whenever it believes there is a possibility of performance conflict involving the SLA event(s) noted in this section.  Possibility of performance may involve labor, tools and/or ODC resource non-availability

Upon receipt of written notification, the Government shall timely decide the course of action that the Contractor shall take.  If no written Government direction is provided within 24 hours, the Contractor Program Manager shall determine and document the course of action selected.

- If the conflict is between two or more SLA events, the Government will make a determination on the priority of the events.  The SLA time stops accruing for the deferred event(s) until the work on the SLA event can be reasonably restarted.

- If the conflict is the result of a resource shortage for a single event, the SLA time shall stop accruing until the work on the SLA event can be reasonably restarted.

- The contractor may be waived of any specific SLA performance requirement if Government action or inaction prevents successfully meeting the SLA.

Future Service Level Agreements

This table of SLAs is the Government’s suggested SLAs future targets.

Offerors are invited to comment upon and offer improvements to these SLAs.

|  |  |  |  |  | Target |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SLA # | Name | Description | Conditions | Exceptions | Stretch | Goal | Threshold | Unit | How Measured | Period Report | Metric |
| 1 | Enterprise Services Availability | The ability any user to access at any time any function of any application or data allowed to them. Includes access to/from external systems. | Failures of suppliers to meet actual or imputed SLAs are to be documented sufficiently for DHS to take remedial action. Root cause analysis accepted by the government is required for any exception request. The actual goal availability is unknown and may be adjusted. An imputed SLA is calculated for OneNet | In the event that this is modified to exclude some part of SLA breach by suppliers (OneNet, JWICS, SIPRNET, etc), the detection and diagnosis time to the allocation of the problem to the group that actually fixes it is counted against availability. The contractor might be relieved of breaches or exceptional circumstances (circuits or power lost for days) | 99.999% | 99.99% | 99.95% | Per Occurrence | A combination of network monitoring, synthetic transactions, and user ticket generation | Monthly | Percent availability |
| 2 | VOIP Availability | The ability any user to access at any time any function of any application or data allowed to them. Includes access to/from external systems. | Failures of suppliers to meet actual or imputed SLAs are to be documented sufficiently for DHS to take remedial action. Root cause analysis accepted by the government is required for any exception request. The actual goal availability is unknown and may be adjusted. An imputed SLA is calculated for OneNet | In the event that this is modified to exclude some part of SLA breach by suppliers (OneNet, JWICS, SIPRNET, etc), the detection and diagnosis time to the allocation of the problem to the group that actually fixes it is counted against availability. The contractor might be relieved of breaches or exceptional circumstances (circuits or power lost for days) | N/A | N/A | 99.999% | Per Occurrence | A combination of network monitoring, synthetic transactions, and user ticket generation | Monthly | Percent availability |
| 3 | Response Time | End-to-end measurement of Network transit and application response times. Combined measures tracking the user experience, not just ping times. | Intended to be a combination of sampled measurements from at least the edges of the network and from desk top to application function. If E-Mail is an HSDN function, opening an email is an example transaction. Average results are expected as long as exception connections, paths or applications are noted. “connection or path” refers to the primary test path through the network or an application end-to-end test. | Known problem area samples, if fixed within a few multiples of the break/fix SLA. |  | Set by analysis confirmed by tracking metric measurement |  | Per Occurrence | Pings, synthetic transactions, application/transaction monitors. Measurements averaged by day & peak hour, but, data should be available for connection/path by hour. | Monthly |  |

| 4 | Security Compliance | Percentage of Network (routers, switches, firewalls, etc.) and System (servers, workstations (virtual or not), etc.) infrastructure that is in compliance with DHS mandated security configurations. | From Risk Management & Control (RMCD) Information Assurance Team Management & Total number of Network Infrastructure managed points. Routers/Switches Firewalls, IDS, Network Appliances, PEPs etc. Total number of System Infrastructure (All varieties of OS platforms) managed points. Servers Workstations Total number of Network Infrastructure devices that are fully compliant. | Any system with an approved waiver from DHS HQ CIO may be waived in total number. | 100 % of events are completed within 7 Calendar days | 95 % of events are completed within 7 Calendar days | 90 % of events are completed within 7 Calendar days AND 95% of events are completed within 10 Calendar days | Per Occurrence | (c/a + d/b)*50 = % compliance Alternately, report c/a and d/b times 100 separately | quarterly | % compliance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 | Patch Management | Percentage of Network (routers, switches, firewalls, etc.) and System (servers, workstations (virtual or not), etc.) infrastructure that is compliant with DHS mandated patch level requirements. | Total number of Network Infrastructure. Routers/Switches Firewalls, IDS, Network Appliances, etc. Total number of System Infrastructure (All varieties of OS platforms). Servers Workstations Total number of Network Infrastructure devices that are fully compliant. Total number of Systems that are fully compliant. | Any system with an approved waiver from DHS HQ CIO may be waived in the total number. | ≥ 99% | 97%- 99% | < 97% | Per Occurrence | SMS, WSUS and McAfee Foundstone scans (c/a + d/b)*50 = % compliance Alternately, report c/a and d/b times 100 separately | Monthly | % compliance |
| 6 | Unplanned Outages | The number of outages or incidents. Incident and outage are used loosely as the same thing. An incident is an event that may impact the ability of DHS Enterprise Networked Services to deliver some part of its functionality. Incidents resulting in actual loss of capability are counted against availability. All incidents are reported (e.g. the ITSO Advisories). | TBD | None | < Goal – 10% | TBD | Goal + 10% | Per Occurrence | Count | Monthly | Number |

| 7 | Supplier SLAs - Government | Measurement of supplier SLAs. Percent of SLA breaches have been addressed directly or through the government. Where a applicable, measure availability, outage numbers and duration (or error count), and per cent on time .delivery. Sample response time | The COTR approves of the SLA to be measured as directly related to meeting HSDN & C-LAN SLAs. | N/A | N/A | 10 % accuracy on each of 3 SLAs | N/A | Various & % | N/A | Monthly |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8 | Supplier SLAs - Contractors | Measurement of supplier SLAs. Percent of SLA breaches have been addressed directly or through the contractor. Where a applicable, measure availability, outage numbers and duration (or error count), and per cent on time delivery. Sample response time | The COTR approves of the SLA to be measured as directly related to meeting HSDN & C-LAN SLAs. | N/A | N/A | 10 % accuracy on each of 3 SLAs | N/A | Various & % | N/A | Monthly |  |
| 9 | Configuration Management Database (CMDB) Audit | Audit the CMDB for correctness and completeness of its description of all operational elements. The operational database should list all instances, their patch, upgrade, security compliance (C&A) etc. status, serial number, location(TBR) … This not an asset management audit. | TBD | TBD | 100 % of discrete managed elements | 99.99 % of discrete managed elements | 99.9 % of discrete managed elements | Per Occurrence | Sampling records and comparing records for structural integrity and agreement with actual operational state. Samples should cover 20% (TBR) with a sampling strategy that would offer full coverage in a few (e.g.3) years. | Quarterly | % Records Correct |
| 10 | New Site Installation – Small and Medium Site | This SLA measures the quality of contractor’s installation performance and responsiveness to deployment requests for a small site. A small site is defined as 1-20 workstations at a site. Measurement begins upon approval of site installation Request for Change (RFC) submittal by the Change Management Team. Successful installation is demonstrated by Network Operations Center verification of services at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). Note: This SLA does not address mobile and site capability requirements. The Government is responsible for performing any physical site modifications necessary to meet physical site accreditation requirements. Any required site modifications must be completed no later than 14 days prior to the scheduled required service date. The Government will provide site access within 5 business days of request for personnel performing site surveys and site installation activities. The Government will provide access to telecom personnel on an as required basis. The contractor will make every effort to provide advance notification of any site visit by Local eXchange Carrier personnel. Government orders for Move, Add, Change MAC-Rs which have a scheduled or requested delivery date or time greater than the target will be excluded from the calculation if delivered to the customer by the requested date or time. An individual event is deemed to have met the target if the new site deployment occurs within 45 Calendar Days. | TBD | Any site that does not have an approved Open Storage Secret or SCIF Letter prior to install date is excluded. Any site that requests a delay in installation beyond the SLA primary target is excluded. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date.. This exception does not apply to regular circuit provisioning. | 100 % of events are completed within 45 Calendar days | 95 % of events are completed within 45 Calendar days | 90 % of events are completed within 45 Calendar days AND 95% of events are completed within 90 Calendar days | Per Occurrence | Service Desk | Monthly in IPR, Semi-Annual in Award Fee Self Evaluation | Count of small site installations completed within the target period divided by count of all small site installations in the period |
| 11 | Simple MOVE, ADD, or CHANGE to Existing Site (United States & Territories excluding the National Capital Area) | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Simple MACs apply to all operational sites. “Simple MACs” apply to all MACs that occur within the certification and accreditation boundary. Measurement begins upon the contractor receiving technical direction for the site MAC (RFC) submittal. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 4 Business Days. All events within this SLA must be completed within 6 business days. | The contractor has sufficient hardware inventory on hand Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative One Simple MAC per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. Horizontal cabling and infrastructure are in place to support move of equipment | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 4 Business days | 95 % of events are completed within 4 Business days | 90 % of events are completed within 4 Business days AND 95% of events are completed within 6 Business days | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| 12 | Complex MOVE, ADD, or CHANGE to Existing Site (National) | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Complex MACs apply to all operational sites. Complex MACs apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 5 Business Days. | Open Secret Storage Approval obtained prior to MAC If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 5 Business Days | 95 % of events are completed within 5 Business Days | 90 % of events are completed within 5 Business Days AND 95% of events are completed within 7 Business Days | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| 13 | Simple MOVE, ADD, or CHANGE to Existing Site (National Capital Region) | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). All sites inside the Metropolitan DC area (100 mile radius) are considered to be within the NCA unless otherwise noted. Simple MACs apply to all operational sites. Simple MACs apply to all MACs that occur within the certification and accreditation boundary. Measurement begins upon the contractor receiving technical direction for the site MAC (RFC) submittal. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 2 Business Days. | Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative One Simple MAC per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. The number of site visits per week are limited to available resources Horizontal cabling and infrastructure are in place to support move of equipment | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 2 Business days | 95% of events are completed within 2 Business days | 90 % of events are completed within 2 Business days AND 95% of events are completed within 4 Business days | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| 14 | Complex MOVE, ADD, or CHANGE to Existing Site (National Capital Region) | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). All sites inside the Metropolitan DC area (100 mile radius) are considered to be within the NCA unless otherwise noted. Complex MACs apply to all operational sites. Complex MACs apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). An individual event is deemed to have met the target if the move, add or change occurs within 5 Business Days. | Open Secret Storage Approval obtained prior to MAC If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 3 Business Days | 95% of events are completed within 3 Business Days | 90 % of events are completed within 3 Business Days AND 95% of events are completed within 5 Business Days | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| 15 | Simple MOVE, ADD, or CHANGE to Existing PREMIUM Site | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Simple MACs apply to operational sites. Simple MACs apply to all MACs that occur within the certification and accreditation boundary Measurement begins upon the contractor receiving technical direction for the site MAC (RFC) submittal, if required. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). DHS Enterprise Networked Services Premium sites have on-site support personnel, the highest level of service offered. An individual event is deemed to have met the target if the move, add or change occurs within 2 hours. | Site Specific Addendum update required, but no HSAWG approval before MAC Two Business Day advance notice of MAC from authorized PMO representative Five Simple MACs per week without prior coordination The MAC does not increase site infrastructure needs from small to medium, or medium to large. | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 2 hours | 95 % of events are completed within 2 hours | 90 % of events are completed within 2 hours AND 95 % of events are completed within 10 hours | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |
| 16 | Complex MOVE, ADD, or CHANGE to Existing PREMIUM Site | This SLA measures the quality of the contractor’s operations and maintenance performance and responsiveness to approved site Moves, Adds, or Changes (MACs). Complex MACs apply to operational sites. “Complex MACs” apply to all MACs that occur outside the certification and accreditation boundary. Measurement begins upon approval of site SSAA by HSAWG, indicated by email from ISSM. Success criteria is demonstrated by Network Operations Center verification of MAC completion at the site (e.g., telecommunications, crypto devices, applications, SIPRNet access {if applicable}). DHS Enterprise Networked Services Premium sites have on-site support personnel, the highest level of service offered An individual event is deemed to have met the target if the move, add or change occurs within 24 hours. | Open Secret Storage Approval obtained prior to MAC If Site Specific Addendum update is required, HSAWG approval within 10 Business Days 15 Calendar Day advance notice of MAC from approved PMO representative One Complex MAC per week without prior coordination Site provides protective distribution system Request For Change for site previously approved. | Any site that requests a delay in MAC delivery beyond the SLA primary target is excluded. Any site that fails to provide access to the site after mutual agreement of service date. Any site that requires local site infrastructure or telecommunications work performed by a third party not under the contractor’s direct control is excluded IF the work is not completed before the negotiated install date. | 100 % of events are completed within 24 hours | 95% of events are completed within 24 hours | 90 % of events are completed within 24 hours AND 95% of events are completed within 48 hours | Per MAC | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Simple MACs completed within the target period divided by count of all Simple MACs in each period |

| 17 | Security Event Reporting | This SLA measures the contractor’s security event reporting responsiveness. Upon NOC/SOC recognition of a priority security event, the contractor shall follow the defined event reporting procedures. An “event” is defined as a suspected violation of an explicit or implicit security policy in the computing or telecommunications system or network. Definitions of DHS Security Incidents include: Unauthorized Access (Intrusion): This includes all successful unauthorized accesses and suspicious unsuccessful attempts. Denial of Service: Denial of service attacks includes incidents that affect the availability of critical resources such as email servers, Web servers, routers, gateways, or communications infrastructure. Malicious Logic: Malicious logic includes active code such as viruses, Trojan horses, worms, and scripts used by crackers/hackers to gain privileges and/or information, capture passwords, and to modify audit logs to hide unauthorized activity. Misuse: A user violates Federal laws or regulations and/or Departmental policies regarding proper use of computer resources, installs unauthorized or unlicensed software, accesses resources and/or privileges that are greater than those assigned. Probes and Reconnaissance Scans: Probes and reconnaissance scans include probing or scanning networks for critical services or security weaknesses. It also includes nuisance scans. Classified System Incident: Any security incident that involves a system used to process national security information. Alteration/Compromise of Information: Any incident that involves the unauthorized altering of information, or any incident that involves the compromise of information. Multiple Component: Any incident involving events considered significant incidents in more than one of the above categories. Service Outage (Critical, Significant): Critical - Critical system or network resources are unavailable for use by the authorized user community. Critical system resources include secure email, organizational messaging, and network access to critical mission resources (e.g., SIPRNet, Directory Services, DNS). Significant - General system or network resources are unavailable on a large scale (systems supporting 20 or more users) for use by the authorized user community. Measurement begins upon recognition of an event. Recognition of events will only occur when SOC personnel are monitoring in real-time or reviewing system logs from un-monitored times, e.g. nights and weekends. All events are logged in Service Desk upon recognition. Next, the contractor’s contacts the Government Watch Officer. Success criteria is demonstrated by confirmation of security incident report by Government Watch Officer (GWO) and change in status of trouble report ticket. An individual event is deemed to have met the target if the incident is reported within 15 minutes. | TBD | TBD | 100 % of events are completed within 15 minutes | 95 % of events are completed within 15 minutes | 90 % of events are completed within 15 minutes AND 95% of events are completed within 75 Minutes | Per Event | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of security events reported within the target period divided by count of all security events reported in each period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | Security Incident Response Plan – Priority | This SLA measures the quality and timeliness of the contractor’s security incident response. Upon confirmation of a valid security incident by the Government Watch Officer (GWO), the contractor shall follow the defined incident response procedures. An “Incident” is defined as: “The violation of an explicit or implied security policy in a computing or telecommunications system or network.”. The GWO will confirm the type of incident response (e.g., priority or routine) in accordance with the DHS Security Guidance. Measurement begins upon confirmation of incident. All confirmed incidents should already be logged in Service Desk as events. Status should be changed to Incident and measured upon confirmation by GWO. Success criteria is demonstrated by confirmation of security incident response plan receipt by Government Watch Officer (GWO) and closure of incident report ticket. An individual event is deemed to have met the target it the response plan is generated within 1 hour. | TBD | TBD | 100 % of events are completed within 1 hour | 95 % of events are completed within 1 hour | 90 % of events are completed within 1 hour AND 95 % of events are completed within 4 hours | Per Incident | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of priority incident response plans generated within target period divided by count of all priority incident response plans in each period |
| 19 | Security Incident Response Plan – Routine | This SLA measures the quality and timeliness of the contractor’s security incident response. Upon confirmation of a valid security incident by the Government Watch Officer (GWO), the contractor shall follow the defined incident response procedures. An “Incident” is defined as: “The violation of an explicit or implied security policy in a computing or telecommunications system or network.”. The GWO will confirm the type of incident response (e.g., priority or routine) in accordance with the DHS Security Guidance. Measurement begins upon confirmation of incident. All confirmed incidents should already be logged in Service Desk as events. Status should be changed to Incident and measured upon confirmation by GWO. Success criteria are demonstrated by confirmation of security incident response plan receipt by Government Watch Officer (GWO) and closure of incident report ticket. An individual event is deemed to have met the target it the response plan is generated within 4 hours. | TBD | TBD | 100 % of events are completed within 4 hours | 95% of events are completed within 4 hours | 90 % of events are completed within 4 hours AND 95 % of events are completed within 10 hours | Per Incident | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of routine incident response plans generated within the target period divided by count of all routine incident response plans in each period |
| 20 | User Site Trouble Ticket – Bronze Site CAT 1 (United States & Territories excluding the National Capital Area) | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All sites outside the Metropolitan DC area (100 mile radius from Clarksburg, MD) are “Bronze” sites unless otherwise noted. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, Plain Old Telephone Service (POTS) failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 24 hours. | site must provide facility access for the contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet) beyond the Gateway are excluded site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are completed within 24 hours | 95 % of events are completed within 24 hours | 90 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Bronze CAT 1 tickets closed out within the target period divided by the total count of Bronze CAT1 tickets in each period |
| 21 | User Site Trouble Ticket – Bronze Site CAT 2 (NATIONAL) | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All sites outside the Metropolitan DC area (100 mile radius) are “Bronze” sites unless otherwise noted. Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure,1 printer at a medium or large site). An individual event is deemed to have met the target if the ticket is closed out within 36 hours. | site must provide facility access for the contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet and JWICS) beyond the Gateway are excluded. Any site that has all telecommunication circuits severed by an outside party are excluded. | 100 % of events are completed within 36 hours | 95 % of events are completed within 36 hours | 90 % of events are completed within 36 hours AND 95 % of events are completed within 60 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Bronze CAT 2 tickets closed out within the target period divided by the total count of Bronze CAT 2 tickets in each period |
| 22 | User Site Trouble Ticket – Silver Site CAT 1 (National Capital Region) | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All sites inside the Metropolitan DC area (100 mile radius) are “Silver” sites unless otherwise noted. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 12 hours. | site must provide facility access for the contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | (1) Any site that requests a delay beyond the SLA primary target is excluded. (2) (3) Scheduled Downtime (4) Any external network availability issues (e.g. SIPRNet) beyond the Gateway are excluded. (5) Any site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are completed within 12 hours | 95 % of events are completed within 12 hours | 90 % of events are completed within 12 hours AND 95 % of events are completed within 24 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Silver CAT 1 tickets closed out within the target period divided by the total count of Silver CAT 1 tickets in each period |
| 23 | User Site Trouble Ticket – Silver Site CAT 2 (NCA) | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All sites inside the Metropolitan DC area (100 mile radius) are “Silver” sites unless otherwise noted. Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket is closed out within 24 hours. | site must provide facility access for the contractor within primary target time window, no later than 8 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet) beyond the Gateway are excluded. Any site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are completed within 24 hours | 95 % of events are completed within 24 hours | 90 % of events are completed within 24 hours AND 95 % of events are completed within 48 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Silver CAT 2 tickets closed out within the target period divided by the total count of Silver CAT 2 tickets in each period |
| 24 | User Site Trouble Ticket – Platinum (VVIP) CAT 1 | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All Platinum Very, Very Important Persons (VVIP) users have a higher response time requirement than Bronze or Silver. Platinum service is provided on a user basis, as opposed to a site basis. A list of users identified as VVIP will be provided by the Government PMO to the contractor Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). An individual event is deemed to have met the target it the ticket is closed out within 4 hours. | Recognition of events will occur when first reported to the Help Desk and entered into Service Desk site must provide facility access for the contractor within primary target time window, no later than 2 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | A VVIP user trouble ticket from a site with a Premium service level is excluded. Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet) beyond the Gateway are excluded. Any site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are completed within 4 hours | 95 % of events are completed within 4 hours | 90 % of events are completed within 4 hours AND 95 % of events are completed within 10 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Platinum CAT 1 tickets closed out within the target period divided by the total count of Platinum CAT 1 tickets in each period |
| 25 | User Site Trouble Ticket – Platinum (VVIP) CAT 2 | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All Platinum Very, Very Important Persons (VVIP) users have a higher response time requirement than Bronze or Silver. Platinum service is provided on a user basis, as opposed to a site basis. A list of users identified as VVIP will be provided by the Government PMO to the contractor Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket is closed out within 8 hours. | Recognition of events will occur when first reported to the Help Desk and entered into Service Desk site must provide facility access for the contractor within primary target time window, no later than 2 hours before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | A VVIP user trouble ticket from a site with a Premium service level is excluded. Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet) beyond the Gateway are excluded. Any site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are completed within 8 hours | 95% of events are completed within 8 hours | 90 % of events are completed within 8 hours AND 95 % of events are completed within 20 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Platinum CAT 2 tickets closed out within the target period divided by the total count of Platinum CAT 2 tickets in each period |
| 26 | User Site Trouble Ticket – Premium Site CAT 1 and CAT 2 | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. Premium sites have on-site support personnel, the highest level of service offered. Category 1 includes all trouble tickets that exceed CAT 2 and CAT 3 thresholds and may require a physical site visit. CAT 1 user site trouble tickets involve a mission service outage (e.g., 1 workstation failure at a 1 workstation site, non-redundant circuit failure, POTS failure, crypto device failure). Category 2 includes all trouble tickets that exceed CAT 3 thresholds and may require a physical site visit. CAT 2 user site trouble tickets involve a non-mission service outage (e.g., 1 workstation failure out of 20 workstations at a site, 1 redundant infrastructure device failure, 1 printer at a medium or large site). An individual event is deemed to have met the target it the ticket originator receives a response to the trouble within 2 hours, and the ticket is closed out within 4 hours. | Recognition of events will occur when first reported to the Help Desk and entered into Service Desk Site must provide facility access for the contractor within primary target time window, no later than 1 hour before primary target window expires. Once a trouble ticket is opened, the time runs continuously until closed. | Any site that requests a delay beyond the SLA primary target is excluded. Scheduled Downtime Any external network availability issues (e.g. SIPRNet and JWICS) beyond the Gateway are excluded. Any site that has all telecommunication circuits severed by an outside party is excluded. | 100 % of events are responded to within 2 hours AND completed within 4 hours | 95% of events are responded to within 2 hours AND completed within 4 hours | 90% of events are responded to within 2 hours AND completed within 4 hour AND 95 % of events are responded to within 4 hours AND completed within 10 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of Premium CAT 1 tickets responded to within the response target period and closed out within the restore target period divided by the total count of Premium CAT 1 tickets in each period |
| 27 | User Site Trouble Ticket – CAT 3 (All Sites) | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to user site calls that generate help desk trouble tickets. All sites are included in this SLA regardless of service level. CAT 3 includes all trouble tickets that do not require a physical site visit (e.g., password reset, Tier 1 help desk support). An individual event is deemed to have met the target it the ticket is closed out within 3 hours. | Recognition of events will occur when first reported to the Help Desk and entered into Service Desk, during Help Desk hours of operation (M-F, 8:00 AM to 5:00 PM Eastern Time) Once a trouble ticket is opened, the time runs continuously until closed. | Any ticket that requests a delay beyond the SLA primary target is excluded. Any ticket that is escalated to CAT 2 or CAT 1. Scheduled Downtime Any external network availability issues (e.g. SIPRNet) beyond the Gateway is excluded. | 100 % of events are completed within 3 hours | 95% of events are completed within 3 hours | 90 % of events are completed within 3 hours AND 95 % of events are completed within 10 hours | Per Trouble Ticket | Service Desk | Six Calendar Months aligned with Award Fee Period | Count of CAT 3 tickets closed out within the target period divided by the total count of CAT 3 tickets in each period |
| 28 | SIPRNet DMZ Availability | This SLA provides a measure of the SIPRNet gateway availability. This metric does not measure SIPRNet availability, as responsibility for SIPRNet rests with the Department of Defense (DoD). The measure is performed by an Internet Control Message Protocol (ICMP) probe of the black side edge router within the DMZ from a server within the NOC. This establishes that a network path exists between the NOC server and the edge router, which is the interface point to the DISA provided SIPRNet circuit. The probe executes approximately every 4 minutes. Each time the probe executes it performs 4 ICMP pings, each with a 20 second timeout. The probe returns an availability of “1” if one to four pings are successful, “0” if no pings are successful. Probe responses of “1” count as available, “0” as unavailable. To count as unavailable, the probe must return two consecutive “0” responses. | The contractor will not be directed to make changes to the SIPRNet gateway that adversely impacts availability (MTBF) The Government approves requested maintenance and support contracts for hardware and software components | Scheduled Downtime Government directed configuration changes or security procedures that negatively impact availability False responses from availability probe if negated by other data | 99.999% | 99.99% | 99.95% |  | HP Openview | Six Calendar Months aligned with Award Fee Period | Total downtime divided by (Total time in period minus scheduled downtime) |
| 29 | JWICS Gateway Availability | This SLA provides a measure of the CLAN JWICS gateway availability. This metric does not measure JWICS availability, as responsibility for JWICS rests with the Defense Intelligence Agency (DIA). The measure is performed by an Internet Control Message Protocol (ICMP) probe of the JWICS gateway router within at the termination point with CLAN. This establishes that a network path exists between the NOC server and the JWICS router, which is the interface point to the DISA provided connection. The probe executes approximately every 4 minutes. Each time the probe executes it performs 4 ICMP pings, each with a 20 second timeout. The probe returns an availability of “1” if one to four pings are successful, “0” if no pings are successful. Probe responses of “1” count as available, “0” as unavailable. To count as unavailable, the probe must return two consecutive “0” responses. | The contractor will not be directed to make changes to the SIPRNet gateway that adversely impacts availability (MTBF) The Government approves requested maintenance and support contracts for hardware and software components | Scheduled Downtime Government directed configuration changes or security procedures that negatively impact availability False responses from availability probe if negated by other data | 99.999% | 99.99% | 99.95% |  | HP Openview | Six Calendar Months aligned with Award Fee Period | Total downtime divided by (Total time in period minus scheduled downtime) |
| 30 | Application Servers – E-mail Availability | This SLA provides a measure of the E-mail server availability. The measure is performed by an Internet Control Message Protocol (ICMP) probe of the E-mail server within the data center from a server within the NOC. This establishes that a network path exists between the NOC server and the E-mail server and the server is responding. The probe executes approximately every 4 minutes. | The contractor will not be directed to make changes to the E-mail gateway that adversely impacts availability (MTBF) The Government approves requested maintenance and support contracts for hardware and software components | Scheduled Downtime Government directed configuration changes or security procedures that negatively impact availability False responses from availability probe if negated by other data | 99.999% | 99.99% | 99.95% |  | Automated test message passing capability and the measurement of success passing those messages. | Six Calendar Months aligned with Award Fee Period | Total downtime divided by (Total time in period minus scheduled downtime) |
| 31 | Application Servers – Secure Messaging Availability | This SLA provides a measure of the Secure Messaging System (SMS) server(s) availability. The measure is performed by an Internet Control Message Protocol (ICMP) probe of the SMS servers within the data center from a server within the NOC. This establishes that a network path exists between the NOC server and the SMS servers and at one of the servers is responding. | The contractor will not be directed to make changes to the Secure Messaging Service gateway that adversely impacts availability (MTBF) The Government approves requested maintenance and support contracts for hardware and software components | Scheduled Downtime Government directed configuration changes or security procedures that negatively impact availability False responses from availability probe if negated by other data | 99.999% | 99.99% | 99.95% |  | Automated test message passing capability and the measurement of success passing those messages. | Six Calendar Months aligned with Award Fee Period | Total downtime divided by (Total time in period minus scheduled downtime) |
| 32 | Network Services – IP Services Availability | IP Services availability is defined as the availability of network services for WAN paths. A WAN path is defined as the services from the core and data center(s) up to and including the equipment that comprises a site demarcation point. It is measured in terms of percentage of available time in a month. The outage time includes all unscheduled IP service outages, but does not include scheduled pre-agreed outage time. Scheduled, pre-agreed outage time to be excluded from the availability calculation will be the lesser of the actual outage time or the scheduled outage time. | Unless explicitly noted in this section, all WAN paths are characterized as Standard Outages will be identified and measured using Trouble Ticket data | Scheduled Downtime Any site that has all telecommunication circuits severed by an outside party is excluded. Government directed configuration changes or security procedures that negatively impact availability | 99.999% | 99.99% | 99.95% |  | Trouble Ticket closeout results from Service Desk | Six Calendar Months aligned with Award Fee Period | Number of hours in the Reporting Period minus the number of hours of outage in the reporting period] divided by the number of hours in the reporting period |
| 33 | Circuit Installation | This SLA measures the timeliness of circuit provisioning, installation, and activation for a site. | TBD | TBD | 30 Calendar Days | 60 Calendar Days | 90 Calendar Days | Per Occurrence | Service Desk | Six Calendar Months aligned with Award Fee Period | Total time for all T1 installations divided by number of T1s installed |
| 34 | Site Deactivation | This SLA measures the timeliness of the contractor deactivating a site. Deactivating a site requires that the site be logically disconnected from the network by either disabling the in-line encryptor (INE) or by disabling the router interface to the network. This action is normally performed in response to a security or network event but the reason to disconnect the site is not associated with this SLA. Upon completion, the NOC/SOC will notify the GWO both verbally and in writing via email. | N/A | N/A | N/A | N/A | 1 Hour | Per Occurrence | Service Desk | Six Calendar Months aligned with Award Fee Period | Total time of all deactivations divided by number of occurrences |
| 35 | Call Handling – Speed of Answer | This SLA measures the timeliness of the contractor’s help desk from receipt of call in the help desk to when a operator picks up the call. | N/A | N/A | N/A | N/A | ≤ 30 Seconds | Per call | Service Desk | Six Calendar Months aligned with Award Fee Period | Sum of all call waiting minutes divided by number of calls |
| 36 | Call Handling – Call Abandonment Rate | This SLA measures the number of calls to the contractor’s help desk that are abandoned, as well as the average time to abandon the call. | N/A | N/A | N/A | N/A | ≤ 3% | Per call | Service Desk | Six Calendar Months aligned with Award Fee Period | Total number of calls abandoned divided by total number of calls |
| 37 | Data Center and Core Infrastructure Trouble Ticket – Basic | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to core infrastructure trouble tickets. Basic trouble tickets include the portal, instant messaging, web mail, and file sharing. | TBD | Scheduled Downtime | 8 Hours | 16 Hours | 24 Hours | Per Trouble Ticket – Service Call | Service Desk | Six Calendar Months aligned with Award Fee Period | Total time for all Basic CORE tickets divided by the number of tickets |
| 38 | Data Center and Core Infrastructure Trouble Ticket – Priority | This SLA measures the quality and responsiveness of the contractor’s operations and maintenance performance and responsiveness to core infrastructure trouble tickets. Basic trouble tickets include SMS, E-mail, Gateways, Directory Services, and DNS. | TBD | Scheduled Downtime | 4 Hours | 8 Hours | 12 Hours | Per Trouble Ticket – Service Call | Service Desk | Six Calendar Months aligned with Award Fee Period | Total time for all Priority CORE tickets divided by the number of tickets |
| 39 | Customer Satisfaction | Percentage of customers who have indicated overall satisfaction with service received. Some extra weight is given to negative responses. | An automatic survey is generated on the closure of a ticket by the help desk. One question will be: “Reopen the ticket?” An affirmative answer reopens the ticket. | Applies to tickets requesting services within the scope of the help desk contractor. | >97 % | 95% | >93% | percent | Summary percentage of the responses for each of the questions asked in the independent survey: Was the issue resolved? Was the outcome satisfactory? Was the response timely? Was the technician knowledgeable? Was the technician courteous? Was the issue correctly resolved?<yes=0; no = 1> Is this a repeat ticket/issue (for open tickets?) <yes = 1; no=0> | monthly | Average (100*((A + B + C + D) / 4)-E-F )= % Customer Satisfaction |
| 40 | Extensibility | Extensibility is a quality of a design that makes it easier expand in size and function. With a large growth, extensibility applies to the cost of installing a site (average per site size) and the cost per seat or server. Site installation cost should be stable or decline on average. Per seat and per server costs for a network should grow no faster than the number. | The rate of site installations is relatively even and constant. The mix of seat, server, and site equipment remains stable. | This is an average, not an individual site metric. | Site installation costs decline 5% per period for each site size class Per seat, and server are >5% below growth rates in numbers. | Site costs are stable, +/- 5% Seat and server costs proportional to seat & server costs +/- 5% | Site cost rise > 5% Per seat & server cost grow faster than 5% above growth rates. | % growth | Average cost of installation per site size class per quarter compared to cumulative average for such installations. Installation and O&M costs for servers and seat count will be calculated and compared to previous TBD quarters trend line | quarterly | % growth compared to goal |

NON-DISCLOSURE AGREEMENT

BETWEEN

U.S. GENERAL SERVICES ADMINISTRATION (GSA)

FEDERAL SYSTEMS INTEGRATION AND MANAGEMENT (FEDSIM)

AND

[CONTRACTOR]

This agreement, made and entered into this ______ day of __________, 2010 (the “Effective Date”), is by and between GSA and [CONTRACTOR].

WHEREAS, [CONTRACTOR] and GSA FEDSIM have entered into [Contract No.], Task Order No. [INSERT] for services supporting the [CLIENT AGENCY AND PROGRAM/PROJECT NAME];

WHEREAS, [CONTRACTOR] is providing [DESCRIPTION, e.g., consulting/professional IT, engineering] services under the Task Order;

WHEREAS, the services required to support [PROGRAM/PROJECT NAME] involve certain information which the Government considers to be "Confidential Information" as defined herein;

WHEREAS, [CONTRACTOR] GSA desires to have [CONTRACTOR]’s support to accomplish the Task Order services and, therefore, must grant access to the Confidential Information;

WHEREAS, [CONTRACTOR] through its work at a Government site may have access to Government systems or encounter information unrelated to performance of the Task Order which also is considered to be Confidential Information as defined herein;

WHEREAS, GSA on behalf of [CLIENT AGENCY] desires to protect the confidentiality and use of such Confidential Information;

NOW, THEREFORE, for and in consideration of the mutual promises contained herein, the parties agree as follows:

- Definitions.  “Confidential Information” shall mean any of the following: (1) "contractor bid or proposal information" and "source selection information" as those terms are defined in 41 U.S.C. § 423(f); (2) the trade secrets or proprietary information of other companies; (3) other information, whether owned or developed by the Government, that has not been previously made available to the public, such as the requirements, funding or budgeting data of the Government; and for contracts/orders providing acquisition assistance, this term specifically includes (4) past performance information, actual/proposed costs, overhead rates, profit, award fee determinations, contractor employee data of offerors/contractors, methods or procedures used to evaluate performance, assessments, ratings or deliberations developed in an evaluation process, the substance of any discussions or deliberations in an evaluation process, and any recommendations or decisions of the Government unless and until such decisions are publicly announced.  This term is limited to unclassified information.

- Limitations on Disclosure.  [CONTRACTOR] agrees (and the [CONTRACTOR] Task Order personnel must agree by separate written agreement with CONTRACTOR) not to distribute, disclose or disseminate Confidential Information to anyone beyond the personnel identified in the [ATTACHED LIST], unless authorized in advance by the GSA Contracting Officer in writing.  The Contracting Officer and [CLIENT POC] will review the List to ensure it includes only those individuals to be allowed access to the information.  The list, which may be updated from time to time, is approved when signed by the GSA Contracting Officer and [CLIENT POC].

- Agreements with Employees and Subcontractors.  [CONTRACTOR] will require its employees and any subcontractors or subcontractor employees performing services for this Task Order to sign non-disclosure agreements obligating each employee/subcontractor employee to comply with the terms of this agreement.  [CONTRACTOR] shall maintain copies of each agreement on file and furnish them to the Government upon request.

- Statutory Restrictions Relating to Procurement Information.  [CONTRACTOR] acknowledges that certain Confidential Information may be subject to restrictions in Section 27 of the Office of Federal Procurement Policy Act (41 U.S.C. § 423), as amended, and disclosures may result in criminal, civil, and/or administrative penalties.  In addition, [CONTRACTOR] acknowledges that 18 U.S.C. § 1905, a criminal statute, bars an employee of a private sector organization from divulging certain confidential business information unless authorized by law.

- Limitations on Use of Confidential Information.  [CONTRACTOR] may obtain Confidential Information through performance of the Task Order orally or in writing.  These disclosures or this access to information is being made upon the basis of the confidential relationship between the parties and, unless specifically authorized in accordance with this agreement, [CONTRACTOR] will:

- Use such Confidential Information for the sole purpose of performing the  [PROGRAM/PROJECT] support requirements detailed in the Task Order and for no other purpose;

- Not make any copies of Confidential Information, in whole or in part;

- Promptly notify GSA in writing of any unauthorized misappropriation, disclosure, or use by any person of the Confidential Information which may come to its attention and take all steps reasonably necessary to limit, stop or otherwise remedy such misappropriation, disclosure, or use caused or permitted by a [CONTRACTOR] employee.

- Duties Respecting Third Parties. If [CONTRACTOR] will have access to the proprietary information of other companies in performing Task Order support services for the Government, [CONTRACTOR] shall enter into agreements with the other companies to protect their information from unauthorized use or disclosure for as long as it remains proprietary and refrain from using the information for any purpose other than that for which it was furnished.  [CONTRACTOR] agrees to maintain copies of these third party agreements and furnish them to the Government upon request in accordance with 48 C.F.R. § 9.505-4(b).

- Notice Concerning Organizational Conflicts of Interest. [CONTRACTOR] agrees that distribution, disclosure or dissemination  of Confidential Information (whether authorized or unauthorized) within its corporate organization or affiliates, may lead to disqualification from participation in future Government procurements under the organizational conflict of interest rules of 48 C.F.R. § 9.5.

- Entire Agreement.  This Agreement constitutes the entire agreement between the parties and supersedes any prior or contemporaneous oral or written representations with regard to protection of Confidential Information in performance of the subject Task Order.  This Agreement may not be modified except in writing signed by both parties.

- Governing Law.  The laws of the United States shall govern this agreement.

- Severability.  If any provision of this Agreement is invalid or unenforceable under the applicable law, the remaining provisions shall remain in effect.

In accordance with Public Law No. 108-447, Consolidated Act, 2005, the following is applicable:

These restrictions are consistent with and do not supersede, conflict with, or otherwise alter the employee obligations, rights, or liabilities created by Executive Order No. 12958; section 7211 of title 5, United States Code (governing disclosures to Congress); section 1034 of title 10, United States Code, as amended by the Military Whistleblower Protection Act (governing disclosure to Congress by members of the military); section 2302(b)(8) of title 5, United States Code, as amended by the Whistleblower Protection Act (governing disclosures of illegality, waste, fraud, abuse or public health or safety threats); the Intelligence Identities Protection Act of 1982 (50 U.S.C. 421 et seq.) (governing disclosures that could expose confidential Government agents); and the statutes which protect against disclosure that may compromise the national security, including sections 641, 793, 794, 798, and 952 of title 18, United States Code, and section 4(b) of the Subversive Activities Act of 1950 (50 U.S.C. 783(b)). The definitions, requirements, obligations, rights, sanctions, and liabilities created by said Executive order and listed statutes are incorporated into this agreement and are controlling.

- Beneficiaries.  If information owned by an individual or entity not a party to this agreement is disclosed or misappropriated by [CONTRACTOR] in breach of this agreement, such information owner is a third party beneficiary of this agreement.  However, nothing herein shall create an independent right of action against the U.S. Government by any third party.

IN WITNESS WHEREOF, GSA and [CONTRACTOR] have caused the Agreement to be executed as of the day and year first written above.

UNITED STATES GENERAL SERVICES ADMINISTRATION

_________________________			_____________

Name							Date

_________________________

Title

[CONTRACTOR]

_________________________			_____________

Name							Date

_________________________

Title

SECTION 508 COMPLIANCE

| Product Accessibility Template Contact for more Information:__________ Date:________ |
| --- |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| Section 1194.21 Software Applications and Operating Systems |  |  |
| Section 1194.22 Web-based internet information and applications |  |  |
| Section 1194.23 Telecommunications Products |  |  |
| Section 1194.24 Video and multi-media products |  |  |
| Section 1194.25 Self-contained Products |  |  |
| Section 1194.26 Desktop and Portable Computers |  |  |
| Section 1194.31 Functional Performance Criteria |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) When software is designed to run on a system that has a keyboard, product functions shall be executable from a keyboard where the function itself or the result of performing a function can be discerned textually. |  |  |
| (b) Applications shall not disrupt or disable activated features of other products that are identified as accessibility features, where those features are developed and documented according to industry standards. Applications also shall not disrupt or disable activated features of any operating system that are identified as accessibility features where the application programming interface for those accessibility features has been documented by the manufacturer of the operating system and is available to the product developer. |  |  |
| (c) A well defined on-screen indication of the current focus shall be provided that moves among interactive interface elements as the input focus changes. The focus shall be programmatically exposed so that Assistive Technology can track focus and focus changes. |  |  |
| (d) Sufficient information about a user interface element including the identity, operation and state of the element shall be available to Assistive Technology. When an image represents a program element, the information conveyed by the image must also be available in text. |  |  |
| (e) When bitmap images are used to identify controls, status indicators, or other programmatic elements, the meaning assigned to those images shall be consistent throughout an application's performance. |  |  |
| (f) Textual information shall be provided through operating system functions for displaying text. The minimum information that shall be made available is text content, text input caret location, and text attributes. |  |  |
| (g) Applications shall not override user-selected contrast and color selections and other individual display attributes. |  |  |
| (h) When animation is displayed, the information shall be displayable in at least one non-animated presentation mode at the option of the user. |  |  |
| (i) Color-coding shall not be used as the only means of conveying information, indicating an action, prompting a response, or distinguishing a visual element. |  |  |
| (j) When a product permits a user to adjust color and contrast settings, a variety of color selections capable of producing a range of contrast levels shall be provided. |  |  |
| (k) Software shall not use flashing or blinking text, objects, or other elements having a flash or blink frequency greater than 2 Hz and lower than 55 Hz. |  |  |
| (l) When electronic forms are used, the form shall allow people using Assistive Technology to access the information, field elements, and functionality required for completion and submission of the form, including all directions and cues. |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) A text equivalent for every non-text element shall be provided (e.g., via "alt", "longdesc", or in element content). |  |  |
| (b) Equivalent alternatives for any multimedia presentation shall be synchronized with the presentation. |  |  |
| (c) Web pages shall be designed so that all information conveyed with color is also available without color, for example from context or markup. |  |  |
| (d) Documents shall be organized so they are readable without requiring an associated style sheet. |  |  |
| (e) Redundant text links shall be provided for each active region of a server-side image map. |  |  |
| (f) Client-side image maps shall be provided instead of server-side image maps except where the regions cannot be defined with an available geometric shape. |  |  |
| (g) Row and column headers shall be identified for data tables. |  |  |
| (h) Markup shall be used to associate data cells and header cells for data tables that have two or more logical levels of row or column headers. |  |  |
| (i) Frames shall be titled with text that facilitates frame identification and navigation |  |  |
| (j) Pages shall be designed to avoid causing the screen to flicker with a frequency greater than 2 Hz and lower than 55 Hz. |  |  |
| (k) A text-only page, with equivalent information or functionality, shall be provided to make a web site comply with the provisions of this part, when compliance cannot be accomplished in any other way. The content of the text-only page shall be updated whenever the primary page changes. |  |  |
| (l) When pages use scripting languages to display content, or to create interface elements, the information provided by the script shall be identified with functional text that can be read by Assistive Technology. |  |  |
| (m) When a web page requires that an applet, plug-in or other application be present on the client system to interpret page content, the page must provide a link to a plug-in or applet that complies with §1194.21(a) through (l). |  |  |
| (n) When electronic forms are designed to be completed on-line, the form shall allow people using Assistive Technology to access the information, field elements, and functionality required for completion and submission of the form, including all directions and cues. |  |  |
| (o) A method shall be provided that permits users to skip repetitive navigation links. |  |  |
| (p) When a timed response is required, the user shall be alerted and given sufficient time to indicate more time is required. |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) Telecommunications products or systems which provide a function allowing voice communication and which do not themselves provide a TTY functionality shall provide a standard non-acoustic connection point for TTYs. Microphones shall be capable of being turned on and off to allow the user to intermix speech with TTY use. |  |  |
| (b) Telecommunications products which include voice communication functionality shall support all commonly used cross-manufacturer non-proprietary standard TTY signal protocols. |  |  |
| (c) Voice mail, auto-attendant, and interactive voice response telecommunications systems shall be usable by TTY users with their TTYs. |  |  |
| (d) Voice mail, messaging, auto-attendant, and interactive voice response telecommunications systems that require a response from a user within a time interval, shall give an alert when the time interval is about to run out, and shall provide sufficient time for the user to indicate more time is required. |  |  |
| (e) Where provided, caller identification and similar telecommunications functions shall also be available for users of TTYs, and for users who cannot see displays. |  |  |
| (f) For transmitted voice signals, telecommunications products shall provide a gain adjustable up to a minimum of 20 dB. For incremental volume control, at least one intermediate step of 12 dB of gain shall be provided. |  |  |
| (g) If the telecommunications product allows a user to adjust the receive volume, a function shall be provided to automatically reset the volume to the default level after every use. |  |  |
| (h) Where a telecommunications product delivers output by an audio transducer which is normally held up to the ear, a means for effective magnetic wireless coupling to hearing technologies shall be provided. |  |  |
| (i) Interference to hearing technologies (including hearing aids, cochlear implants, and assistive listening devices) shall be reduced to the lowest possible level that allows a user of hearing technologies to use the telecommunications product. |  |  |
| (j) Products that transmit or conduct information or communication, shall pass through cross-manufacturer, non-proprietary, industry-standard codes, translation protocols, formats or other information necessary to provide the information or communication in a usable format. Technologies, which use encoding, signal compression, format transformation, or similar techniques shall not remove information needed for access or shall restore it upon delivery. |  |  |
| (k)(1) Products which have mechanically operated controls or keys shall comply with the following: Controls and Keys shall be tactilely discernible without activating the controls or keys. |  |  |
| (k)(2) Products which have mechanically operated controls or keys shall comply with the following: Controls and Keys shall be operable with one hand and shall not require tight grasping, pinching, twisting of the wrist. The force required to activate controls and keys shall be 5 lbs. (22.2N) maximum. |  |  |
| (k)(3) Products which have mechanically operated controls or keys shall comply with the following: If key repeat is supported, the delay before repeat shall be adjustable to at least 2 seconds. Key repeat rate shall be adjustable to 2 seconds per character. |  |  |
| (k)(4) Products which have mechanically operated controls or keys shall comply with the following: The status of all locking or toggle controls or keys shall be visually discernible, and discernible either through touch or sound. |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| a) All analog television displays 13 inches and larger, and computer equipment that includes analog television receiver or display circuitry, shall be equipped with caption decoder circuitry which appropriately receives, decodes, and displays closed captions from broadcast, cable, videotape, and DVD signals. As soon as practicable, but not later than July 1, 2002, widescreen digital television (DTV) displays measuring at least 7.8 inches vertically, DTV sets with conventional displays measuring at least 13 inches vertically, and stand-alone DTV tuners, whether or not they are marketed with display screens, and computer equipment that includes DTV receiver or display circuitry, shall be equipped with caption decoder circuitry which appropriately receives, decodes, and displays closed captions from broadcast, cable, videotape, and DVD signals. |  |  |
| (b) Television tuners, including tuner cards for use in computers, shall be equipped with secondary audio program playback circuitry. |  |  |
| (c) All training and informational video and multimedia productions which support the agency's mission, regardless of format, that contain speech or other audio information necessary for the comprehension of the content, shall be open or closed captioned. |  |  |
| (d) All training and informational video and multimedia productions which support the agency's mission, regardless of format, that contain visual information necessary for the comprehension of the content, shall be audio described. |  |  |
| (e) Display or presentation of alternate text presentation or audio descriptions shall be user-selectable unless permanent. |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) Self-contained products shall be usable by people with disabilities without requiring an end-user to attach Assistive Technology to the product. Personal headsets for private listening are not Assistive Technology. |  |  |
| (b) When a timed response is required, the user shall be alerted and given sufficient time to indicate more time is required. |  |  |
| (c) Where a product uses touch screens or contact-sensitive controls, an input method shall be provided that complies with §1194.23 (k) (1) through (4). |  |  |
| (d) When biometric forms of user identification or control are used, an alternative form of identification or activation, which does not require the user to possess particular biological characteristics, shall also be provided. |  |  |
| (e) When products provide auditory output, the audio signal shall be provided at a standard signal level through an industry standard connector that will allow for private listening. The product must provide the ability to interrupt, pause, and restart the audio at anytime. |  |  |
| (f) When products deliver voice output in a public area, incremental volume control shall be provided with output amplification up to a level of at least 65 dB. Where the ambient noise level of the environment is above 45 dB, a volume gain of at least 20 dB above the ambient level shall be user selectable. A function shall be provided to automatically reset the volume to the default level after every use. |  |  |
| (g) Color-coding shall not be used as the only means of conveying information, indicating an action, prompting a response, or distinguishing a visual element. |  |  |
| (h) When a product permits a user to adjust color and contrast settings, a range of color selections capable of producing a variety of contrast levels shall be provided. |  |  |
| (i) Products shall be designed to avoid causing the screen to flicker with a frequency greater than 2 Hz and lower than 55 Hz. |  |  |
| (j) (1) Products which are freestanding, non-portable, and intended to be used in one location and which have operable controls shall comply with the following: The position of any operable control shall be determined with respect to a vertical plane, which is 48 inches in length, centered on the operable control, and at the maximum protrusion of the product within the 48 inch length on products which are freestanding, non-portable, and intended to be used in one location and which have operable controls. |  |  |
| (j)(2) Products which are freestanding, non-portable, and intended to be used in one location and which have operable controls shall comply with the following: Where any operable control is 10 inches or less behind the reference plane, the height shall be 54 inches maximum and 15 inches minimum above the floor. |  |  |
| (j)(3) Products which are freestanding, non-portable, and intended to be used in one location and which have operable controls shall comply with the following: Where any operable control is more than 10 inches and not more than 24 inches behind the reference plane, the height shall be 46 inches maximum and 15 inches minimum above the floor. |  |  |
| (j)(4) Products which are freestanding, non-portable, and intended to be used in one location and which have operable controls shall comply with the following: Operable controls shall not be more than 24 inches behind the reference plane. |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) All mechanically operated controls and keys shall comply with §1194.23 (k) (1) through (4). |  |  |
| (b) If a product uses touch screens or touch-operated controls, an input method shall be provided that complies with §1194.23 (k) (1) through (4). |  |  |
| (c) When biometric forms of user identification or control are used, an alternative form of identification or activation, which does not require the user to possess particular biological characteristics, shall also be provided. |  |  |
| (d) Where provided, at least one of each type of expansion slots, ports and connectors shall comply with publicly available industry standards |  |  |
| Criteria | Name of Product and Supporting Features | Remarks and explanations |
| (a) At least one mode of operation and information retrieval that does not require user vision shall be provided, or support for Assistive Technology used by people who are blind or visually impaired shall be provided. |  |  |
| (b) At least one mode of operation and information retrieval that does not require visual acuity greater than 20/70 shall be provided in audio and enlarged print output working together or independently, or support for Assistive Technology used by people who are visually impaired shall be provided. |  |  |
| (c) At least one mode of operation and information retrieval that does not require user hearing shall be provided, or support for Assistive Technology used by people who are deaf or hard of hearing shall be provided |  |  |
| (d) Where audio information is important for the use of a product, at least one mode of operation and information retrieval shall be provided in an enhanced auditory fashion, or support for assistive hearing devices shall be provided. |  |  |
| (e) At least one mode of operation and information retrieval that does not require user speech shall be provided, or support for Assistive Technology used by people with disabilities shall be provided. |  |  |
| (f) At least one mode of operation and information retrieval that does not require fine motor control or simultaneous actions and that is operable with limited reach and strength shall be provided. |  |  |

PROBLEM NOTIFICATION REPORT

| TASK ORDER NUMBER: |  | DATE: |  |
| --- | --- | --- | --- |

1.	Nature and sources of problem:

2.	CR was verbally notified on: (date) ___________________

3.	Is action required by the Government?    Yes_____  No_____

4.	If  YES, describe Government action required and date required:

5.	Will problem impact delivery schedule?    Yes_____  No_____

6.	If YES, identify what deliverables will be affected and extent of delay:

7.	Can required delivery be brought back on schedule?    Yes_____  No_____

8.	Describe corrective action needed to resolve problems:

9.	When will corrective action be completed?

10.	Are increased costs anticipated?    Yes_____  No_____

11.	Identify amount of increased costs anticipated, their nature, and define Government responsibility for problems and costs:

MONTHLY STATUS REPORT FOR (MONTH AND YEAR)

Contractor Name

Task Order Number

Prepared by:

Reporting Period:

Page 1 of __

The MSR shall include the following (organize the topics in a logical manner)

- Activities during reporting period, by task (Include:  On-going activities, new activities, activities completed; progress to date on all above mentioned activities).  Start each section with a brief description of the task;

- Problems and corrective actions taken. Also include issues or concerns and proposed resolutions to address them;

- Personnel gains, losses and status (security clearance, etc.);

- Government actions required;

- Schedule (Shows major tasks, milestones, and deliverables; planned and actual start and completion dates for each);

- Summary of trips taken, conferences attended, etc.  (Attach trip reports to the MSR for reporting period);

- EVM statistics;

- Accumulated invoiced cost for each CLIN up to the previous month;

- Projected cost of each CLIN for the current month;

- Breakdown of labor hours by labor category;

- Breakdown costs (labor, tools, ODCs, travel) by individual DHS component and other Government agencies to include engineering costs, development costs, operations and maintenance costs ; and

- Comparison data and monthly performance reports.

Information Technology Services and Hardware (catalog).

(External Attachment)

Mandatory Security Management Tools List

- Enterprise security management (ArcSight)

- Vulnerability Analysis (Harris STAT Analyzer, ISS Network Scanner, DISA STIG and Gold Disks)

- Firewalls (Cyberguard and Netscreen)

- Intrusion Detection System (Enterasys Dragon Network IDS)

- Cryptographic File Integrity Checking (Tripwire)

- Cryptography (COMSEC) Management: (GEM)

- Anti-Virus (Symantec, Sophos, Trend Micro)

- Forensics (Air Magnet, Encase)

The DHS Personnel Security Process

(Includes Suitability Requirements)

(Provided on CD)

Policies, Directives, Regulations, Standards, and References (Separate CD)

| Number | Title |
| --- | --- |
| DHS Management Directive 4300B | DHS National Security Systems Policy Directive 4300B Version 7.1, Information Technology Security Program |
| DHS 4300B NSS Handbook | DHS 4300B National Security Systems Handbook, Information Security Program, Version 6.0, |
| DCID 1/19 | Security Policy for Sensitive Compartmented Information and Security Policy Manual |
| DCID 6/3 | Protecting Sensitive Compartmented Information Within Information Systems |
| ISL 01L2007-01-1 | Industrial Security Letter, Compliment to DCID 6/3, Clarification of NISPOM, Chapter 8 |
| DoDI 8510.01 | DoD Information Assurance Certification and Accreditation Process (DIACAP) |
| DoD 5220.22M | National Industrial Security Program Operating Manual (NISPOM) |
| DoD 5220.22-M Sup 1 | National Industrial Security Program Operating Manual Supplement |
| DoDI 5200.40 | DoD Information Technology Security Certification and Accreditation Process (DITSCAP) |
| FIPS 46-3 | Data Encryption Standard (DES) and Triple Data Encryption Standard (3DES) |
| FIPS 140-2 | Security Requirements for Cryptographic Modules |
| FIPS 171 | Key Management Using ANSI X9.17 |
| FIPS 180-2 | Secure Hash Standard (SHA-1, 256, 384 and 512) |
| FIPS 186-2 | Digital Signature Standard (DSS) |
| FIPS 197 | Advanced Encryption Standard (AES) |
| NCSC-TGC-015 | Guide to Understanding Trusted Facility Management |
| NIST SP 800-2653A Rev 1 | Security Self Assessment Guide for Information Technology SystemsGuide for Assessing the Security Controls in Federal Information Systems and Organizations |
| NIST SP 800-53, Rev 3 | Recommended Security Controls for Federal Information Systems and Organizations |
| NST ISSP No. 11 | National Policy Governing the Acquisition of Information Assurance (IA) and IA-Enabled Information Technology (IT) ProductsRevised Fact Sheet National Information Assurance Acquisition Policy |
| OMB A-130, Appendix III Revised, transmittal Memorandum No. 4 | Management of Federal Information Resources |
| PL-100-235 | Computer Security Act of 1987 |
| HSDN TSPA Service Request | HSDN Service Request, Temporary Secret Processting Area (TSPA) Installation |
| HSDN OSS/SCIF Service Request | HSDN Service Request, Open SECRET Storage/ SCIF Facility Installation |
| Drawing | HSDN Network Summary – unclassified - October 2010 |
| Presentation | HSDN Overview (FOUO) November 2010 |

Other Publications, available publicly (not provided under this solicitation)

| Book | Critical Chain Project Management, 2nd Ed, by Lawrence Leach |
| --- | --- |
| Book | A Guide to the Project Management Body of Knowledge (PMBOK Guide) – 4th Edition, by Project Management Institute |

Industry Day Briefing

(External Attachment)

STAFFING PLAN TEMPLATE

(This will be removed at award)

| Name | Proposed Labor Category | Alliant Labor Category Number | Key Personnel (Yes or No) | Qualifications | Estimated Hours Proposed for Each Task |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Task 1 | Task 2 | Task 3 | Task 4 | Task 5 | Task 6 |
| Year X | Total Hours by Task Area |  |  |  |  |  |  |

Key Personnel Qualification Matrix

(To be removed at time of award)

EXAMPLE - The following is an example of how the matrix shall map to Section H of the task order.  The example detailed below describes a case in which the task order requires a Senior Network Engineer:

H.X.X.X  Senior Network Engineer

It is desirable that the Senior Network Engineer have significant experience managing the design, development, implementation, testing, and maintenance of large (over 100 servers, 1000 workstations, and 10 locations) local and wide area networks in a secure Federal Government environment.  The Senior Network Expert should have IRM experience managing an integrated network with a diversity of users.  The individual should be functionally proficient in the operations and maintenance of local, metropolitan, and wide area networks using automated network management tools, responding to both client and user requests for applications assistance and network modifications and enhancements. The Senior Network Engineer should have experience supervising at least thirty network support staff of various job categories and skills.  The Senior Network Engineer should have broad-based skills and experience managing the migration of separate networks into single WAN, performing routine system maintenance and troubleshooting, managing the installation of software upgrades, maintaining network performance, and recommending enhancements.

The offeror for this example is proposing John Smith as a Senior IT Analyst.  The Key Qualification Matrix would be formatted as follows:

KEY PERSONNEL QUALIFICATIONS MATRIX

Proposed Personnel Name:  John Smith

Proposed meets the TO requirements (per H.X.X.X) for:  Senior Network Engineer

Proposed meets the requirements of the Basic Contract for Labor Category:  Senior IT Analyst

Proposed meets the TO Clearance Level requirements: Not a requirement for this position

Proposed person is available to begin work on the start date designated in Section F.

| Requirements | Years of Experience | Description of qualifications and experience |
| --- | --- | --- |
| Task Order Request Section H.9.8.2 |  |  |
| Experience managing the design, development, implementation, testing, and maintenance of large (over 100 servers, 1000 workstations, and 10 locations) local and wide area networks in a secure Federal Government environment |  |  |
| IRM experience managing an integrated network with a diversity of users |  |  |
| Functionally proficient in the operations and maintenance of local, metropolitan, and wide area networks using automated network management tools, responding to both client and user requests for applications assistance and network modifications and enhancements |  |  |
| Experience supervising at least thirty network support staff of various job categories and skills |  |  |
| Broad-based skills and experience managing the migration of separate networks into a single WAN, performing routine system maintenance and troubleshooting, managing the installation of software upgrades, maintaining network performance, and recommending enhancements |  |  |

Note:  Multiple pages for qualifications are acceptable.

END OF EXAMPLE

(This will be removed at award)

Corporate EXPERIENCE REFERENCE SHEETS

## Complete one sheet for each reference

| Program or Task Order Title |  |
| --- | --- |
| Contractor Performing the Work |  |
| Percent of Work Performed by the Contractor |  |
| Customer Name |  |
| Customer Address | Street: |
|  | City, State: | Zip Code: |
| Phone Numbers | Phone: | Fax: |
| Contract Points of Contact: |  |
| Contractual | Technical |
| Name | Name |
| Title | Title |
| Organization | Organization |
| Address | Address |
| Phone | Phone |
| Fax | Fax |
| Email | Email |
| Contract Type | Contract Value |
| Contract Number | Period of Performance |
| If Award Fee - % of Fee Received | Performance measures: |
| Program Description (Size, scope, requirements, complexity as related to the TO) | IT systems supported: (hardware/software configuration) |
| Awards or Acknowledgement Received |  |
| Major Deliverables: | Task Order Start Date |  |
|  | Original Completion Date |  |
|  | Estimated/Actual Completion Date |  |
|  | Explanation of Delay (If applicable) |  |
| Problems encountered and solutions provided: | Original Value |  |
|  | Current Value |  |
|  | Estimated/Actual Completion Date |  |
|  | Explanation of Cost Growth (If applicable) |  |

NOTE:  The section numbers in this Task Order correspond to the section numbers in the Alliant Contract.  Section K of the contractor’s Alliant Contract is applicable to this Task Order and is hereby incorporated by reference.

L.1	52.252-1 SOLICITATION PROVISIONS INCORPORATED BY

REFERENCE (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation of offer.  The solicitation provisions and/or contract clauses are available in either HTML or PDF format at http://www.arnet.gov/far/.

CLAUSE NO	CLAUSE TITLE		DATE

52.215-1   	Instructions to Offerors-Competitive Acquisition	(JAN 2004)

52.215-20 	Requirements for Cost or Pricing Data or Information

Other Than Cost or Pricing Data – Alternate IV	(OCT 1997)

      - Submission of Electronic Funds Transfer

Information with Offer	(MAY 1999)

L.2	GENERAL INSTRUCTIONS

- Offerors shall furnish the information required by this solicitation.  A Standard Form 33, "Solicitation, Offer, and Award," completed and signed by the offeror, Block 17, constitutes the offeror's acceptance of the terms and conditions of the proposed Task Order.  Therefore, the form must be executed by a representative of the offeror authorized to commit the offeror to contractual obligations.

- Offerors are expected to examine this entire solicitation document including the Contract.  Failure to do so will be at the offeror's own risk.

- The Government may make award based on initial offers received, without discussion of such offers.  Proposals shall set forth full, accurate, and complete information as required by this solicitation package (including Attachments).  The penalty for making false statements in proposals is prescribed in 18 USC. 1001.

- Offerors submitting restrictive data will mark it as follows in accordance with the FAR Clause 52.215-1 Instructions to Offerors—Competitive Acquisition which is incorporated by reference.  Clause 52.215-1 states:  "Offerors who include in their proposals data they do not want disclosed to the public for any purpose or used by the Government except for evaluation purposes, shall –

Mark the title page with the following legend:

"This proposal includes data that shall not be disclosed outside the Government and shall not be duplicated, used or disclosed--in whole or in part--for any purpose other than to evaluate this proposal or quotation.  If, however, a Task Order is awarded to this offeror as a result of--or in connection with--the submission of this data, and the Government incorporates the proposal as part of the award, the Government shall have the right to duplicate, use, or disclose the data.  Also, this restriction does not limit the Government's right to use information contained in this data if it is obtained from another source without restriction.  The data subject to the restriction is contained in sheets (insert numbers or other identification of sheets)"; and

Mark each sheet of data it wishes to restrict with the following legend:

"Use or disclosure of data contained on this sheet is subject to the restriction on the title page of this proposal or quotation."

- The Government assumes no liability for disclosure or use of unmarked data and may use or disclose the data for any purpose.  Unless restricted, information submitted in response to this request may become subject to disclosure to the public pursuant to the provisions of the Freedom of Information Act (5 USC. 551).

- The authorized negotiator or the signatory of the SF-33 will be notified of the date and time of the oral technical proposal presentation.  Offerors shall provide the name of the individual, the position title, telephone number, FAX number and electronic mail address of that individual.

- This procurement is conducted under the procedures of FAR Subpart 16.5.  The policies and procedures of FAR Subpart 15.3 do not apply.

L.3	SUBMISSION OF QUESTIONS

Offerors are requested to submit their questions grouped by solicitation section and make reference to the particular Section/subsection number.  Questions must be received before the date specified for receipt of questions.  Questions or requests for extension submitted after the cut-off date will not be considered.

Any information given to a prospective offeror concerning this solicitation will be furnished promptly to other prospective offerors as an amendment to the solicitation.

L.4	AVAILABILITY OF EQUIPMENT AND SOFTWARE

All commercial hardware and software proposed in response to this solicitation document shall have been formally announced for general release on or before the closing date of the solicitation.  Failure to have equipment or software announced prior to submission of proposal

may render the offeror’s proposal unacceptable.

L.5	GENERAL INFORMATION

The total cost plus award fee of the Task Order is between $1.1 billion and $1.3 billion, including all transition costs, fees, ODCs, and Travel.

L.6	SUBMISSION OF OFFERS

Each offer shall be in 3 parts.

The offeror shall submit all on the due date indicated on Standard Form 33.

Part I is the written Cost/Price proposal and shall contain the following:

- Solicitation, Offer and Award (SF33) (TAB A),

- Section B – Supplies or Services and Prices/Costs (TAB B),

- Cost/Price Supporting Documentation (TAB C),

- Subcontractor Supporting Documentation (TAB D),

- Assumptions (TAB E),

- Organizational Conflict of Interest Statement (TAB F), and

- Contract Registration (TAB G)

Part II is the written Technical Proposal and shall contain the following:

- Project Staffing Plan Table

- Key Personnel Qualification Matrix

- Corporate Experience

- Quality Control Plan (QCP)

- Section 508 Compliance Statement

- Transition In Plan

- Copy of Oral Technical Presentation Slides

- Assumptions (if Any)

Part III is the oral technical proposal presentation and shall contain the following:

- Management Approach

- Technical Approach

- Key Personnel and Project Staffing

- Corporate Experience

The Contracting Officer will schedule the oral technical proposal presentation after all proposals are received.  The oral technical proposal presentation shall contain the information shown in paragraph L.10 below.

L.7	SUBMISSION OF the written COST/PRICE PROPOSAL (PART I)

Written Cost/Price Proposals shall be submitted in an original and an electronic copy.  The proposal shall contain the following tabs:

- Solicitation, Offer and Award (SF 33) (Tab A).  When completed and signed by the offeror constitutes the offeror's acceptance of the terms and conditions of the proposed Task Order.  Therefore, the form must be executed by representatives of the offeror authorized to commit the offeror to contractual obligations.  Offerors shall sign the SF 33 in Block #17.

- Section B – Supplies or Services and Prices/Costs (Tab B).  The offeror shall indicate the price to be charged for each item in Section B rounded to the nearest whole dollar.

- Cost/Price Supporting Documentation (Tab C).  Offerors shall map their proposed labor categories and labor rates under this effort to those labor rates and categories currently and actively contained within existing Government-wide contractual vehicles shall state the existing contractual vehicle i.e., specific GWAC or Schedule of which the Prime contractor is utilizing to propose their labor categories and costs.  A copy of the contractual vehicle’s ceiling rates corresponding to the labor categories being proposed, for each applicable task order period, shall also be provided. The proposal shall state whether profit is already included in the ceiling rate. In the event profit is included in the ceiling rate of the contractual vehicle being utilized, the Offeror must disclose the percent of profit built into the applicable rates for Government adjustment purposes. In the event the Contractor proposes any labor category/rate that is not based upon an existing contractual vehicle, the offeror must provide documentation (in the form of commercial invoices and/or approved forward pricing rate agreements) to verify the commerciality and/or fairness and reasonableness of the rate being proposed for the applicable labor category.

- Subcontractor Supporting Documentation (Tab D).  The offeror shall also provide supporting cost/price documentation for all proposed subcontractors, to include the proposed type of subcontract and if the contract with the subcontractor is a Time and Material provide justification.   If subcontracting is being proposed, the Government strongly desires that the subcontractor labor categories and rates either be based upon the subcontractor’s own existing contractual vehicles or be mapped to and utilize the Prime’s labor categories and labor rates. If the subcontractor proposes to utilize its own contractual vehicle to support its labor categories and rates, the Offeror shall state the existing contractual vehicle which the Subcontractor is utilizing to propose their labor categories and rates.  A copy of the contractual vehicle’s ceiling rates corresponding to the labor categories being proposed, for each applicable task order period, shall also be provided. The proposal shall state whether profit is already included in the ceiling rate. In the event profit is included in the ceiling rate of the contractual vehicle being utilized, the Offeror must disclose the percent of profit built into the applicable rates for Government adjustment purposes.  In the event the Subcontractor proposes any labor category/rate that is not based upon an existing Government-wide contractual vehicle possessed by the Subcontractor, the offer must provide documentation (in the form of commercial invoices and/or approved forward pricing rate agreements) to verify the commerciality and/or fair and reasonableness of the subcontractor rate being proposed for the applicable labor category.  In addition to the cost back-up cited previously, Defense Contract Audit Agency contact information and relevant cost/pricing data should be provided for all subcontractors.  Failure to provide complete supporting documentation may result in no further consideration of the offeror’s proposal. Subcontractors may submit proprietary data directly to the Contracting Officer or through the prime contractor in a separate, sealed envelope.

- Assumptions (Tab E).  Offerors must submit, under a separate tab, all (if any) assumptions upon which the Cost/Price Proposal is based.

- Organizational Conflict of Interest Statement (Tab F).  The contractor shall complete and sign an Organizational Conflict of Interest Statement in which the contractor (and any Subcontractors, consultants or teaming partners) disclose information concerning the actual or potential conflict with any proposal for any solicitation relating to any work in this TOR.  All actual or potential OCI situations shall be handled in accordance with FAR Subpart 9.5.

- .  Contract Registration (TAB G).  The contractor shall submit a statement that the contract vehicle under which this proposal is being submitted has been registered in TOS (https:enable.its.gsa.gov) and that all information in TOS is up-to date.

L.8	SUBMISSION OF THE WRITTEN TECHNICAL PROPOSAL, PART II

Each offeror shall submit all information described below.  The offeror shall provide sixteen (16) copies and an electronic copy containing all required sections of this Part.

L.8.1	PROJECT STAFFING PLAN TABLE

The offeror shall provide a Project Staffing Plan Table in accordance with the Project Staffing Plan Table Template contained in Section J, Attachment 1.  The submission shall contain all individuals that will be working on this effort.  All key personnel proposed shall be available to begin work immediately at Task Order Award.

If the names of all non-key personnel are not known prior to offer submission, the offeror may indicate “to be determined” in the Project Staffing Plan Table.  The name of non-key personnel is the only identifier that may remain unspecified in the Project Staffing Plan Table.  The names of all non-key personnel that can be provided shall be provided.

L.8.2		KEY PERSONNEL QUALIFICATION MATRIX

The offeror shall submit a Key Personnel Qualification Matrix for each key person proposed relating the specialized experience identified in Section H.2 of this TO and the qualifications of the person or persons being proposed for that position.  For those additional key personnel proposed, the offeror shall identify the specialized experience and the corresponding qualifications for this experience.  Each Key Personnel Qualification Matrix shall be limited to three (3) pages.

The offeror shall represent the following:

- All key personnel meet the requirements of the Alliant Contract.

- All key personnel meet the requirements of the TO, including security

clearance requirements.

- All key personnel named are available to begin work at Task Order Award.

- All key personnel provide a letter of commitment.

L.8.3	corporate experience

The offeror shall provide Corporate Experience References, as the prime contractor, for three (3) projects performed within the last three (3) years by the business unit that will perform this effort.  These three (3) corporate experiences must be similar in size, scope, and complexity to the requirements identified in Section C.  The Corporate Experience information must be submitted in the format provided in Section J, Attachment 3.  The contractor should ensure that all of the points of contact, in the Corporate Experience References, are aware that they may be contacted.

L.8.4	QUALITY CONTROL PLAN (QCP)

The Contractor shall provide a QCP that the offeror shall use to assure that a quality product is produced, delivered and accepted by the Government. The offeror shall describe its quality assurance methodology.

L.8.5	SECTION 508 COMPLIANCE REQUIREMENTS

The offeror’s written proposal shall include a statement indicating its capability to comply with Section 508 requirements throughout its performance of this task order.   The offeror’s proposal will be evaluated to determine whether it includes a statement indicating its capability to comply with Section 508 requirements throughout its performance of this task order.  Any proposal that does not include a statement indicating the offeror’s capability to comply with Section 508 requirements throughout its performance of this task order shall be eliminated from further consideration for award.

L.8.6	TRANSITION IN PLAN

The offeror shall provide a Transition-In Plan.  The offeror shall include in the Transition-In Plan an approach that provides for a seamless transition from the incumbent to the new contractor.

The Plan shall identify the roles and responsibilities of the offeror including proposed schedule(s) and milestones to ensure no disruption of service.  The Plan shall also identify and discuss the roles and responsibilities of the incumbent contractor and information expected from the incumbent.  The offeror shall also identify any actions contemplated on the part of the Government.

L.8.7	ASSUMPTIONS

Offerors shall identify and address assumptions within the description of the factor(s) or subfactor(s) to which they pertain.

The Government reserves the right to reject any proposal that includes any assumption that adversely impacts the Government’s requirements.

L.9	DELIVERY INSTRUCTIONS

Offerors shall deliver written proposals (to include Oral Presentation Slides) and receive acceptance from:

Proposals not received by the time stated in cover letter will not be considered.

L.10	PART III – ORAL TECHNICAL PROPOSAL PRESENTATION

Each offeror shall make an oral technical proposal presentation and participate in a question and answer (Q&A) session led by the Contracting Officer and participated in by the Technical Evaluation Board Members and other representatives of the Government.  The oral technical proposal presentation and Q&A session will be held at the unclassified level.  The oral technical proposal presentation will be used to assess the offeror’s capability to satisfy the requirements set forth in the TOR.  The offeror’s oral technical proposal presentation shall contain the information in Section L.10.5.

The contents of all proposals will be delivered to FEDSIM at the same time.  The oral presentation slides will be distributed to the Technical Evaluation Board the morning of the oral presentation.

L.10.1   ORAL TECHNICAL PROPOSAL PRESENTATION CONSTRAINTS

The offeror shall identify the authors of the presentation by name and association with the offeror.  Attendance at the presentation and the subsequent Q&A session shall be limited to the offeror’s key personnel (all key personnel are highly encouraged to attend) and no more than three additional corporate representatives of the offeror.  An offeror’s “key personnel” includes only those persons who will be assigned to the Task Order as key personnel as described in Section H.2.  The three additional people (e.g., CEO’s, company presidents, or contract representatives) from the offeror may attend, but will not be allowed to participate in the presentation.  Any of the three additional personnel may make a brief introduction which will not be evaluated, but will count towards the offeror’s allotted time.  For the remainder of the presentation, only key personnel shall present.

The offeror will be given 15 minutes for set up.  After opening remarks by the Government, the offeror will be given up to 90 minutes to present.  The presentation will be stopped precisely after 90 minutes.

Upon completion of the presentation, the Government will caucus to formulate any questions regarding the technical proposal.  The approximate length of time the offeror can expect the Government to caucus is 60 minutes.  The Government and offeror will then address any questions or clarifications posed by the Contracting Officer or the TEB Chairman.  The clarification session, if necessary, is expected to last about 1 hour.  The offeror may briefly caucus to coordinate responses to specific requests for clarification.  The total presentation, caucus and clarification session are expected to last approximately 4 hours.  The Contracting Officer and the TEB Chairman will be responsible for ensuring the schedule is met and that all offerors are given the same opportunity to present and answer questions.  Offerors shall provide ten (10) appropriately bound hard copies of the presentation materials (including slides, transparencies).  Only those slides actually presented will be considered in the technical evaluation.

L.10.2   ORAL TECHNICAL PROPOSAL PRESENTATION MEDIA

There is no limit to the number of slides that can be presented during the oral technical proposal presentation, but only those slides presented during the oral presentation will be considered for evaluation (oral technical proposal presentation slides shall be submitted in advance with the written submission).  Any slides over and above those presented during the oral presentation will be returned to the offeror and will not be evaluated as part of this source selection.  No other media may be used.  Presentation media is limited to computer-based graphics of the offeror’s choice or normal viewgraph slides displayed using an appropriate projector.  Unobtrusive company logos or names can be inserted in any or all slides.  Slides should be sequentially numbered in the lower right corner.  Transition effects shall not be used.  The slides shall not contain any fonts smaller than a proportionally spaced font (such as Times New Roman) of at least 12 points.

Except for the screen provided in the conference room, the Government will provide no equipment.  The offeror shall be responsible for any equipment necessary for the presentation.

L.10.3	   ORAL TECHNICAL PROPOSAL PRESENTATION SCHEDULING

The Contracting Officer will schedule the oral technical proposal presentation with the authorized negotiator or the signatory of the SF-33.  Time slots will be assigned randomly and may not be changed or traded.  The Government reserves the right to reschedule any offeror’s oral technical proposal presentation at its sole discretion.

Oral Technical Proposal Presentations will be given at facilities designated by the Contracting Officer.  The exact location, seating capacity, and any other relevant information will be provided when the presentations are scheduled.

L.10.4   RECORDING OF THE ORAL TECHNICAL PROPOSAL PRESENTATION

The offeror may not record any of the oral presentation process.

L.10.5   ORAL TECHINCAL PROPOSAL PRESENTATION TOPICS

The Government does not expect the offeror to provide a thorough presentation of those items already submitted in writing in Part II.  Instead, the offeror shall address this information under the topics below.  The oral technical proposal presentation shall include the following topics, and be organized in the following order:

- Topic 1: Management Approach

- Topic 2: Technical Approach

- Topic 3: Key Personnel and Project Staffing

- Topic 4: Corporate Experience

L.10.5.1   MANAGEMENT APPROACH (TOPIC 1)

The offeror shall clearly describe its management approach in fulfilling the requirements identified in the TOR.  The offeror’s proposal should be relevant to this TOR.  The offeror should tailor its management approach to achieve the requirements as identified in Section C, Section F and Section H of the TOR.  The management approach shall describe the following:

- The offeror’s understanding and approach for supporting requirements in Section C, task 1;

- Identify risks and challenges that face DHS ENSS and recommendations to mitigate or eliminate those risks and challenges;

- The offeror’s approach and ability to react to the DHS ENSS dynamic requirements from internal (DHS) and external (other Government Agencies) entities;

- The offeror’s approach to controlling costs;

- The offeror’s organizational structure for providing services, interfacing with internal and external organizations and methodology for managing lines of authority to include subcontractors;

- The offeror’s approach for customer relationship management and problem escalation;

- The offeror’s approach to finding and retaining qualified, cleared project personnel throughout the Task Order Period of Performance; and

- The offeror’s approach for replacing prime and subcontractor personnel to include timelines.

- The offeror’s experience in applying the proposed management approach to similar requirements.  The offeror shall cite examples of implementing their proposed approach on similar projects/requirements.

L.10.5.2   TECHNICAL APPROACH (Topic 2)

The offeror shall clearly describe its technical approach in fulfilling the technical requirements identified in the TOR.  The offeror’s proposal should be relevant to this TOR.  The offeror should tailor its technical approach to achieve the requirements as identified in Section C, Section F and Section H of the TOR.  The technical approach shall describe the following:

- The offeror’s understanding of the DHS ENS environment;

- The offeror’s understanding and approach for completing requirements of task 2;

- The offeror’s understanding and approach for completing requirements of task 3;

- The offeror’s understanding and approach for completing requirements of task 4;

- The offeror’s understanding and approach for completing optional requirements of task 5;

- The offeror’s understanding and approach for completing optional requirements of task 6;

- The offeror’s understanding and approach for completing requirements of task 7;

- The offeror’s understanding and approach for completing requirements of task 8;

- The offeror’s understanding and approach for completing requirements of task 9;

- The offeror’s approach to complying with Information Assurance requirements identified in Section H.7 of the TOR;

- The offeror’s experience in applying the proposed technical approach to similar requirements.  The offeror shall cite examples of implementing their proposed approach on similar projects/requirements.

L.10.5.3	KEY PERSONNEL AND PROJECT STAFFING (TOPIC 3)

The offeror shall clearly describe its key personnel and staffing approach in fulfilling the technical requirements identified in the TOR.  The offeror’s proposed approach should be relevant to this TOR.  The offeror shall discuss its project staffing strategy specifically addressing the following:

- Describe rationale for proposed labor categories and proposed functional labor mix for each TOR task;

- Describe how each Key Person would be involved in each task/subtask and how their qualifications and experience uniquely qualify them for the key positions described in Section H.2.1;

- Describe how each non-Key Person would be involved in each task/subtask and how their qualifications and experience uniquely qualify them for the General Personnel Requirements described in Section H.2.2;

- Describe how the proposed project team will interface with both the offeror’s corporate structure and the Government;

- Strategy for maintaining required 24x7 support with the minimum number of permanent staff;

- If subcontractors are included in the staffing plan, describe how the offeror will address subcontractor management (team compositions, resolving disputes, etc); and

- Describe your approach for retaining Key Personnel.

- The offeror’s experience in applying the proposed personnel approach to similar requirements.  The offeror shall cite examples of implementing their proposed approach on similar projects/requirements.

L.10.5.4   CORPORATE EXPERIENCE (TOPIC 4)

The offeror shall discuss at least three (3) current (within last 3 years) business unit level Corporate Experiences, as a Prime Contractor, that reflect experience on projects that are similar in size, scope, and complexity to the objectives contained in Section C of the TOR.   The offeror shall clearly describe its business unit level corporate experience at the business unit level pertaining to:

- Providing support services on projects that are similar in size, scope, and complexity to this TOR;

- Providing support for Cost Plus Award Fee (CPAF) based service contracts/task orders on projects that are similar in size, scope, and complexity to this TOR;

- Providing and maintaining a large staff of TS/SCI cleared personnel on projects that are similar in size, scope, and complexity to this TOR; and

- Successfully transitioning Task Orders similar in size, scope, and complexity to this effort from an incumbent contractor.

M.1	METHOD OF AWARD

The Government anticipates awarding a Task Order to the offeror whose proposal is the most advantageous to the Government, price and other factors considered.  Technical proposals will be evaluated based on the factors described in Section M.3.  All evaluation factors other than cost or price, when combined, are significantly more important than cost.  A Best Value award may be made to other than the lowest priced technically acceptable proposal.

This acquisition is being conducted under FAR Subpart 16.5; principles and procedures of Subpart 15.3 do not apply.  Accordingly, the Government reserves the right to do any or all of the following:

- Award on initial proposals, without discussions;

- Have communications with some but not all offerors and consider the response without allowing proposal revisions;

- Have communications with some offerors that may lead to revised proposals, without establishing a formal competitive range;

- Have communications with only the most highly ranked offeror(s)

Quotes shall set forth full, accurate, and complete information as required by this solicitation package (including Attachments).  The penalty for making false statements in quotes is prescribed in 18 USC. 1001.

M.2	COST/PRICE PROPOSAL EVALUATION

The offeror’s written cost proposals (Section L, Part I, TABS A through E) will be evaluated to determine cost realism and reasonableness.  Costs that are excessively high or low (without sufficient justification) outside the range in L.5 may be considered unrealistic and unreasonable and may receive no further consideration.  Any proposal that is not within the total estimated CPAF cited in Section B and in L.5 shall include an explanation.  The Government reserves the right to reject any proposal that includes any assumption or condition that adversely impacts the Government’s requirements.

Tab F will be evaluated to assess whether or not an actual or potential Organizational Conflict of Interest exists as defined by FAR Part 9.5.  If a disclosed conflict of interest is found to exist that cannot be mitigated, avoided, or waived in accordance with FAR Part 9.5, that offeror will be ineligible for award.

M.3	TECHNICAL EVALUATION FACTORS

The Government will evaluate technical proposals (Section L, Part II and Part III) based on the factors shown below:

Factor 1:  Management Approach to include the written Transition Plan (See L.8.6) as well as the information presented under the management approach topic (See L.10.5.1) as part of the oral technical presentation.

Factor 2:  Technical Approach to include the written Quality Control Plan (QCP) (See L.8.4), as well as, the information presented under the technical approach topic (See L.10.5.2) as part of the oral technical presentation.

Factor 3:  Key Personnel and Project Staffing to include the written Project Staffing Plan Table (See L.8.1) and Key Personnel Qualifications Matrix (See L.8.2), as well as, the information in the staffing plan/key personnel qualifications oral technical proposal presentation topic (See L.10.5.3).

Factor 4:  Corporate Experience to include the written Corporate Experience (See

L.8.3), as well as, the information in the Corporate Experience oral technical proposal presentation topic (See L.10.5.4).

The technical proposal evaluation factors are listed in descending order of importance.  All four (4) technical factors are significantly more important than cost.  The Government will combine the results of the written and oral submissions to arrive at a rating for the technical evaluation factors as a whole. The receipt of an evaluation rating of Not Acceptable in any single Factor will result in the overall proposal being determined Not Acceptable and therefore ineligible for award. A failure on any single Pass/Fail criteria will also make the proposal ineligible for award, with no further evaluation of the technical and pricing proposal accomplished by the Government.

Pass/Fail Elements:

- The Government will reject any proposal that does not provide a name for each Key Person proposed at the proposal submission due date.  A proposal that states, “To Be Determined” (TBD) for a proposed Key Person, or omits a Key Person, will be rejected by the Government (See Section L.8.2).  This will be evaluated on a Pass/Fail basis.

- The Government will reject any proposal that does not provide a Letter of Commitment, signed by each proposed Key Person at the proposal submission due date (See Section L.8.2).  This will be evaluated on a Pass/Fail basis.

- The Government will reject any proposal that does not provide fully adjudicated and approved TS/SCI cleared Key Personnel at proposal submission due date (See Section L.8.2).  This will be evaluated on a Pass/Fail basis.

- The Government will reject any proposal that does not provide a Section 508 Compliance Statement (See Section L.8.5).  This will be assessed on a Pass/Fail basis.

M.3.1	FACTOR 1:  MANAGEMENT APPROACH

The offeror’s Management Approach will be evaluated on its clarity, relevance, comprehensiveness, detail and to the level it responds to the instructions and requirements identified in Section L.10.5.1.

The offeror’s Transition Plan is expected to be clear and relevant.  The Transition Plan will be evaluated based on the degree in which it is comprehensive and detailed. The Transition Plan will also be evaluated to the degree it complies with Section L.8.6.

M.3.2	 FACTOR 2:  TECHNICAL APPROACH

The Government will evaluate the technical approach factor based on its relevance to the TOR, feasibility, clarity, comprehensiveness and detail.  In addition, the Government will evaluate the technical approach factor based on how responsive the approach is to the instructions and requirements identified in Section L.10.5.2.

The offeror’s QCP is expected to be clear and relevant to each requirement in the statement of work.  The QCP will be evaluated based on the degree in which it is comprehensive and detailed. The QCP will also be evaluated to the degree it complies with Section L.8.4.

M.3.3	 FACTOR 3:  KEY PERSONNEL AND PROJECT STAFFING

The offeror’s Key Personnel and Project Staffing approach will be evaluated on its clarity, relevance, comprehensiveness, detail and to the level it responds to the instructions/and requirements identified in Section L.10.5.3.

The offeror’s Project Staffing Plan (L.8.1) will be evaluated on its level of completeness of the information requested in the Project Staffing Plan template identified in Section J, Attachment 1.

The offeror’s Key Personnel Qualification Matrix (L.8.2) will be evaluated on its adherence to the Key Personnel Qualification Matrix template identified in Section J, Attachment 2.  In addition the Key Personnel Qualification Matrix will be assessed with respect to Section H.2.1 criteria as well as how clear, relevant, comprehensive and detailed it is.

M.3.4		 FACTOR 4:  CORPORATE EXPERIENCE

The offeror’s Corporate Experience will be evaluated based on its clarity, relevance and similarity to the TOR requirements, comprehensiveness, detail and to the level of completeness of the information requested in the template in Section J, Attachment 3 as well as responds to the instructions and requirements identified in Section L.8.4 and Section L.10.5.4. The Government will evaluate the offeror’s business unit level project experience that occurred in the last three (3) years on the degree to which the offeror’s projects reflect/identify experience on projects that are similar in size, scope, and complexity to the requirements of the solicitation and to the offeror’s solution.  In addition, the cited projects will be evaluated based on the degree that the offeror’s roles and responsibilities are similar in size, scope, and complexity to the requirements of the solicitation.

M.4		ASSUMPTIONS

Contractor assumptions, while not a separate evaluation factor, will be reviewed in the context of the technical factor to which they apply.  The Government reserves the right to reject any proposal that includes any assumption that may adversely impact satisfying the Government’s requirements.

# Text boxes

EXAMPLE